Supplementary data for

Emerging Technologies for the Control of Biological Contaminants in Water Treatment: A Critical Review

Rui Gaoa,b, Shu-Hong Gaoa,*, Jun Lia, Yiyi Sua, Fang Huanga,b, Bin Lianga, Lu Fanc, Jianhua Guod, Aijie Wanga,b,*

a State Key Laboratory of Urban Water Resource and Environment, School of Civil and Environmental Engineering, Harbin Institute of Technology, Shenzhen 518055, China

b State Key Laboratory of Urban Water Resource and Environment, School of Environment, Harbin Institute of Technology, Harbin 150090, China

c Department of Ocean Science and Engineering, Southern University of Science and Technology (SUSTech), Shenzhen 518055, China

dAustralian Centre for Water and Environmental Biotechnology (ACWEB, formerly AWMC), The University of Queensland, Brisbane 4072, Australia

*Corresponding authors

E-mail addresses: gaoshuhong@hit.edu.cn (S. Gao), waj0578@hit.edu.cn (A. Wang)

List of supplementary material

| Table S1 | Persistent biological contaminants (BCs) in the effluents of wastewater/drinking water treatment |
| --- | --- |
| Table S2 | The prevalence of VBNC in the wastewater/drinking water treatment system |
| Table S3 | Inactivation efficiency of pathogenic microbes for the advanced treatment strategies in recent works |
| Table S4 | Main characteristics of antimicrobial nanomaterials |
| Table S5 | Common photosensitizers and their absorption wavelength |
| Table S6 | The ARGs removal of conventional disinfection, AOP and integrated techniques |
| Text S1 | Antimicrobial mechanisms of the emerging technologies |
| Text S2 | Electrical energy per order (EEO) calculation of the emerging technologies |
| Text S3 | Collection and Calculation of the indices in the semi-quantitative framework |
| Text S4 | AHP method and expert scoring to determine weights |
| Figure S1 | Antibacterial mechanisms of nanomaterials |
| Figure S2 | Various obstacles presented in the phage-host interactions |
| Figure S3 | Inactivation rate constants based on Chick model of (a) bacteria;(b) viruses; (c) fungi and (d) protozoa during emerging and conventional disinfection process |
| Figure S4 | Comparison of EEO and overall inactivation rate among different disinfection technologies for wastewater system |

Table S1. Persistent BCs in the effluents of wastewater·d^-1rinking water treatment

| Major type of BCs | Dominant BCs |  |
| --- | --- | --- |
| Wastewater treatment effluent |  |  |
| Potential human pathogenic bacteria [1-10] | Phylum level | Genus level |
|  | Proteobacteria | Arcobacter, Acinetobacter, Shewanella, Serratia, Aeromonas, Pseudomonas, Haemophilus, Legionella, Vibrio, Campylobacter, Salmonella, Shigella, Yersinia, Roseomonas, Burkholderia, Escherichia, Plesiomonas, Klebsiella, Enterobacter, Enterococcus, Stenotrophomonas, Luteimonas, Pseudoxanthomonas, Coxiella, Piscirickettsia |
|  | Bacteroidetes | Flavobacterium, Chryseobacterium, Prevotella |
|  | Actinobacteria | Mycobacterium, Gordonia |
|  | Spirochaetes | Leptospira, Treponema |
|  | Firmicutes | Clostridium, Streptococcus, Blautia |
|  | Synergistes | Synergistaceae |
| Waterborne human pathogenic virus [11-19] | Family level | Genus level (subgenus or species level) |
|  | Adenoviridae | Adenoviruses, astroviruses |
|  | Caliciviridae | Noroviridae (Norovirus GI, GII and GIV, sapovirus) |
|  | Picornaviridae | Enteroviruses (echoviruses, polioviruses, hepatitis A virus and coxsackieviruses), Kobuvirus (Aichi virus 1) |
|  | Hepeviridae | Orthohepevirus (hepatitis E virus), Cytomegalovirus, Lymphocryptovirus (Epstein-Barr virus) |
|  | Reoviridae | Rotaviruses |
|  | Coronaviridae | Cosavirus (Human coronavirus), Betacoronavirus (SARS-CoV-2) |
| Human pathogenic fungi [20, 21] | Phylum level | Genus level |
|  | Zoopagomycota | Olpidium, Mucor |
|  | Ascomycota | Paecilomyces, Aspergillus, Penicillium, Phyllosticta, Fusarium, Sporothrix |
|  | Basidiomycota | Rhodotorula, Candida, Cryptococcus |
|  | Chytridiomycota | Synchytrium |
| Human pathogenic protozoa (genus level) [22-26] | Acanthamoeba, Giardia, Cryptosporidium, Entamoeba, Blastocystis, Naegleria, Endolimax, Entamoeba, Enterobius, Iodamoeba |  |
| ARGs [9, 27-32] | Type | Subtype |
|  | MLS | ereA, ereD, ermB, ermF, lnuD, lnuE, lnuG, lsaE, macB, mefA, mphB, mphD, mphE, mphF, mphG, mphN, msrB, msrE… |
|  | Aminoglycoside | aac(6')-Ib, aac(6')-Iia, aadA, aadA2, aadA5, aadA6, aadA13, aadA14, aadA16, aadS, ant(2'')-Ia, ant(3'')-IIa, ant(3'')-IIc, aph(3')-Ia, aph(3'')-Ib, aph(6)-Id… |
|  | Sulfonamide | sul2, sul1, sul3, sul4… |
|  | Tetracycline | tet35, tet39, tet36, tetA, tetA(P), tetC, tetE, tetG, tetH, tetL, tetM, tetO, tetQ, tetW… |
|  | β-lactam | blaAER-1, blaBEL-2, blaCAU-1, blaCARB-12, blaCARB-16, cfxA2, cfxA3, cfxA3, cfxA6, class A beta-lactamase, blaGES-1, blaGES-2, blaGES-15, blaIMP-9, blaIMP-19, blaMCA, blaOXA-1, blaOXA-10, blaOXA-129, blaOXA-13, blaOXA-20, blaOXA-21, blaOXA-211, blaOXA-212, blaOXA-226, blaOXA-296, blaOXA-3, blaOXA-309, blaOXA-333, blaOXA-334, blaOXA-464, blaPAU-1, blaPER-1, blaPER-6, blaRCP-1, blaRCP-1, blaRSC1, blaTEM-1, blaVEB-3… |
|  | Multidrug | aacA2, acr, adeB, adeG, adeJ, adeK, cpxR, crp, emrA, emrE, mexB, mexF, mexK, mexT, mdtB, mdtC, mdtK, multidrug efflux protein, multidrug transporter, msbA, muxB, oprM, qacEdelta1… |
|  | Bacitracin | bacA, bcrB, bcrC, undecaprenol kinase, undecaprenyl-diphosphatase… |
|  | Quinolone | abaQ, qnrA, qnrB, qnrS, qnrS2… |
| MGEs [9, 27-32] | Transposase | IS1, IS110, IS1182, IS1592, IS1595, IS1634, IS2, IS200/IS605, IS21, IS256, IS26, IS3, IS30, IS4, IS481, IS5, IS6, IS605, IS6100, IS630, IS66, IS91, IS982, ISBbi1, ISCR1, ISEnca1, ISKpn19, ISL3, ISPa14, ISPa25, ISSko1, IstB, ISUnCu17, ISVsa5, InsA, InsO, Tn3, TnAs1, TniA, TniB, TniC, TniQ, TnpA, TnpB, TnpR, TnpV, TnpW, TnsA, TnsD, TnsE, Tn1403, Mu transposase… |
|  | Integrase | Integrase, IntI, IntI1, IntI2, phage integrase, site-specific integrase, YoeC… |
| Intracellular pathogens and their parasite (genus level) [33] | Legionella – Rhogostoma, Cochliopodium, Amoeba, Naegleria, Fisculla, Rhogostoma, Thecofilosea, Echinamoeba, ... Pseudomonas – SBB Aeromonas – Goniomonas, Cyclidium, Bodo, … Arcobacter – Acanthamoeba, … Flavobacterium – Sappinia, Ichthyophthirius, Alexandrium, Gyrodinium, ... Hydrogenophaga – Paramecium, ... Sphingomonas – Saccamoeba, ... Pedobacter – Sappinia, ... Acidovorax – Naegleria, ... Rickettsiaceae – Nuclearia, Paramecium, Pseudomicrothorax, Spirostomum, Trachydiscus, Rhogostoma, Carteria, Pleodorina, Euplotes, Ichtyophthirius, Hydra, Euplotes, Spirostomum, Diophrys, Colpidium, Pleodorina, Carteria, Volvox, Mesostigma, Hyalodiscus, metazoans, Acanthamoeba, Eutreptiella, Peranema, Petalomonas, Stachyamoeba, Rhogostoma, Spirostomum, ... Variovorax – Saccamoeba, ... Microcystis – Penardochlamys, Ochromonas, ... Synechococcus – Fursenkoina, Globigerina, Dictyocoryne, ... Devosia – Euplotes, ... Stenotrophomonas – Noctiluca, Acanthamoeba, Dictyostelium, Naegleria, … Serratia – Ochromonas, Tetrahymena, Chilodonella, ... Mycobacterium –Acanthamoeba, Echinamoeba, ... |  |
| Drinking water treatment effluent or tap water |  |  |
| Potential human pathogenic bacteria [34-37] | Phylum level | Genus level |
|  | Proteobacteria | Acinetobacter, Escherichia, Legionella, Pseudomonas, Salmonella, Campylobacter, Francisella, Shigella, Vibrio, Burkholderia, Enterococcus |
|  | Actinobacteria | Mycobacterium |
|  | Sphingobacteria | Sphingomonas |
|  | Bacteroidetes | Chryseobacterium, unclassified (Bacteroidales-like HumM2, Bacteroidales-like Cow M3, Human Bacteroides HF183) |
| Waterborne human pathogenic virus [38-43] | Family level | Genus level (subgenus or species level) |
|  | Adenoviridae | Adenoviruses (group A, C, D, F), astroviruses |
|  | Caliciviridae | Noroviridae (Norovirus GI, GII, sapovirus) |
|  | Picornaviridae | Enteroviruses (echoviruses, polioviruses, hepatitis A virus, Parechoviruses) |
|  | Hepeviridae | Orthohepevirus (hepatitis E virus) |
|  | Reoviridae | Rotaviruses |
| Human pathogenic fungi [44-46] | Phylum level | Genus level |
|  | Ascomycota | Aspergillus, Fusarium, Sporothrix |
|  | Basidiomycota | Rhodotorula, Candida, Cryptococcus |
| Human pathogenic protozoa (genus level) [25, 38, 42, 47] | Giardia, Cryptosporidium, Acanthamoeba, Entamoeba, Naegleria, Cyclospora |  |
| ARGs [34, 48-50] | Type | Subtype |
|  | MLS | ereA, ereB, erm(38), erm(TR), ermA, ermB, ermF, ermG, ermX, lnuB, macA, macB, mefA, mphA, mphB, vatB, vatG… |
|  | Aminoglycoside | aac(2')-I, aac(3)-II, aac(6')-31, aac(6')-I, aac(6')-II, aad(6), aadA, aadB, aadE, ant(2'')-I, ant(3'')-Ih-aac(6')-IId, ant(9)-I, aph(2'')-Ie, aph(2'')-IV, aph(3')-I, aph(3'')-I, aph(3''')-III, aph(6)-I… |
|  | Sulfonamide | sul1, sul2, sul3… |
|  | Tetracycline | tet39, tetA, tetM, tetO, tetP, tetracycline resistance protein-encoding gene, tetX… |
|  | β-lactam | class A beta-lactamase-encoding gene, class B beta-lactamase-encoding gene, class C beta-lactamase-encoding gene, metallo-beta-lactamase-encoding gene, blaFOX-5, blaOXA-12, blaOXA-21, blaOXA-247, blaOXA-3, blaOXA-54, blaVEB-1, blaVEB-3, blaOXA-163… |
|  | Multidrug | acrA, acrB, acrF, adeB, adeC, adeJ, adeK, amrB, bcr, bpeF, ceoB, cmeB, emrA, emrB, EmrB-QacA family major facilitator transporter-encoding gene, emrD, emrE, MFS transporter-encoding gene, marR, mdfA, mdtA, mdtB, mdtC, mdtD, mdtE, mdtF, mdtG, mdtH, mdtK, mdtL, mdtM, mdtN, mdtO, mexA, mexB, mexC, mexD, mexE, mexF, mexI, mexT, mexW, mexX, mexY, ABC transporter-encoding gene, multidrug transporter-encoding gene, omp36, ompF, ompR, opmD, oprA, oprC, oprJ, oprM, oprN, pmrA, sdeY, smeB, smeE, tolC… |
| MGEs [34, 48-50] | Bacitracin | bacA, bcrA... |
|  | Transposase | TnpA-02, TnpA-03, TnpA-04, TnpA-05, IS613… |
|  | Intergron | Integrase, IntI, IntI1, IntI2… |
| Intracellular pathogens and their parasite (genus level) [51-53] | Legionella - Acanthamoeba, Hartmanella, Naegleria, Echinamoeba, Neoparamoeba, ... Mycobacterium - Acanthamoeba, Vermamoeba, Phreatobacter, ... Microbacterium -Acanthamoeba, Vermamoeba, Phreatobacter, ... Escherichia - Acanthamoeba, Tetrahymena, ... Enterobacter - Acanthamoeba, Tetrahymena, ... Aureimonas - Acanthamoeba, Vermamoeba, Phreatobacter, ... Rhizozobium - Acanthamoeba, Vermamoeba, Phreatobacter, ... Pseudomonas - Acanthamoeba, ... Francisella - Tetrahymena, ... |  |

Table S2. The prevalence of VBNC in the wastewater drinking water treatment system

|  | Detection methods | Bacterial concentration in the influent | VBNC concentration in the effluent | Treatment | Dosage of the disinfectants | Treatment time | Enrichment factor | Ref. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Wastewater |  |  |  |  |  |  |  |  |
| Bacillus atrophaeus endospores | Cultivation method | About 106 CFU·mL-1 | Not detected | Electrochemical oxidation (lab scale) | Current density 10 mA·cm-2 | 40 min | --- | [54] |
| E. coli HM016 | Flow cytometry | 3.60×107 CFU·mL-1 | 4.53×101 CFU·mL-1 | NaClO (full-scale) | 3-8 mg·L-1 residual chlorine | 60 min | --- | [55] |
| E. coli HM016 | Flow cytometry | 3.60×107 CFU·mL-1 | 1.51×107-6.66 × 106 cells·mL-1 | UV irrdiation (full-scale) | 30-40 mJ·cm-2 | --- | --- | [55] |
| E. coli | Cultivation method and qPCR | 5.26-5.57 log cells·mL-1 | 3.97-5.25 log cells·mL-1 | Biological treatment NaClO (full-scale) | 0.30-1.99 mg·L-1 residual chlorine | --- | 6.01-9.05 log in municipal pipe network/effluent | [56] |
| E. coli K12 | Propidium monoazide-qPCR | 1.05-3.06 log CFU/10 mL | 0-0.41 log CFU/10 mL | Chlorine disinfection (full-scale) | 2 mg·L-1 | --- | --- | [57] |
| E. coli K12 | LIVE/DEAD BacLight bacterial viability kit | 6.9 log CFU·mL-1 | 1.4 log CFU·mL-1 | Chlorine disinfection (full-scale) | 0.5 mg·L-1 | 30 min | 0.16% after 3d in the river water | [58] |
| E. coli | Flow cytometry | 6.05 log cells·mL-1 | 3.00 log cells·mL-1 | Fe (VI) (lab scale) | 300 μM | 10 min | --- | [59] |
| Listeria monocytogenes | Fluorescent in situ hybridization and PCR | --- | >10 CFU·mL-1 | Secondary treatment and UV disinfection (full-scale) | --- | --- | --- | [60] |
| P. aeruginosa | Flow cytometry | About 6 × 105 CFU·mL-1 | 2.41 and 2.31 log cells·mL-1 | UV/H2O2 UV/PS (lab scale) | [PS]0= [H2O2]0= 1 mM | 60 min | OD600 0.6-0.9 (logarithmic phase) after 5 d in LB broth | [61] |
| E. coli | PMA-qPCR | 108 cells·mL-1 | 104 and 106 cells·mL-1 | Chlorine disinfection and atmospheric-pressure plasma (lab scale) | Input power of 60 W and a gas flow rate of 10 L·min-1 1 mg·L-1 | 10 min and 30 min | --- | [62] |
| E. coli | Flow cytometry | 108 cells·mL-1 | 103 - 104 cells·mL-1 | Electrochemical treatment (lab scale) | Voltage: 3V | 150 min | --- | [63] |
| E. coli | LIVE/DEAD BacLight bacterial viability kit | 4×108 CFU·mL-1 | 8×107 CFU·mL-1 | silver nanoparticles (lab scale) | 80 mg·L-1 | 90 min | --- | [64] |
| P. aeruginosa | LIVE/DEAD BacLight bacterial viability kit | 106-107 CFU·mL-1 | 104 CFU·mL-1 | UV/Chlorine (lab scale) | UV irradiation (360 mJ·cm-2) and chlorination (1 mg·L-1) | 10 min | --- | [65] |
| Drinking water |  |  |  |  |  |  |  |  |
| E. coli, E. faecalis, P. aeruginosa, Salmonella sp., and Shigella sp. | Cultivation method and PMA-qPCR | 0-103 cells·100 mL-1 | 0-102 cells·100 mL-1 | Chlorine and Sodium thiosulfate (full-scale) | --- | --- | --- | [66] |
| E. coli, S. enterica, P. aeruginosa and V. cholerae | PMA-qPCR, qPCR and heterotrophic plate count | 4.28-4.55, 3.43-3.49, 2.26-2.66 and 3.06-3.42 log cell equivalents·cm-2 | 4.07 ± 0.02, 3.26 ± 0.01, 2.72 ± 0.05 and 4.91 ± 0.03 log cell equivalents·L-1 | Chlorine disinfection | --- | --- | --- | [67] |

Table S3. Microbial inactivation efficiency and EEO values for the emerging and conventional antimicrobial strategies

|  | Water type (treatment scale) | Sterilization techniques | Dosage | Treatment time | Removal efficiency | EEO (×10-3 kWh·m-3) | Ref. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| I. Nanotechnology |  |  |  |  |  |  |  |
| E. coli | Sterile saline (Lab-scale) | BiOCl nanoparticles | 1 mM | 4 h | 5.4 log | 47.7424 | [68] |
| E. coli | Sterile saline (Lab-scale) | Polydopamine-coated magnetic cellulose nanofiber-loaded silver nanoparticles | 99 mg·L-1 | 16.5 h | 0.295 log (cell grow reduced) | / | [69] |
| RP4-E. coli DH5α and HLS-6 | Sterile saline (Lab-scale) | Zerovalent iron nanoparticles | 1120 mg·L-1 | 1 h | 3.36 ± 0.38 log, 3.66 ± 0.06 log | 17.0024 | [70] |
| Multidrug-resistant B. subtilis, S. aureus, and E. coli | Kitchen wastewater (Lab-scale) | Cu/Zn nanoparticles | 15 mg·L-1 | 100 min | 5.1 log, 5.4 log and 5.7 log | 0.0697 | [71] |
| E. coli, S. aureus and B. subtilis | Sterile saline (Lab-scale) | Ag@Wood | One piece (3 mm × 4 mm × 2 mm)·mL-1 | 2 h | 3.52 log, 3.70 log and 3.70 log | 895.1912 | [72] |
| B. subtilis and E. coli | Tris-HCl solution (Lab-scale) | ZnO nanoparticles | 10 mg·L-1 | 15 min | 1.5-3.5 log 1.9-4.2 log | 0.05035 | [73] |
| E. coli and S. aureus | Isotonic saline solution (Lab-scale) | Fe3O4@SiO2/GO/CS/MPTS | 75 mg·L-1 | 2 h | Up to 8 log | 28.196 | [74] |
| B. subtilis and E. coli | LB-agar (Lab-scale) | Oxidized viscose fiber modified with ε-polylysine | 250 mg·L-1 | 24 h | 0.9 log and 1.13 log (cell grow reduced) | / | [75] |
| E. coli, S. enterica and P. aeruginosa | Nile water, the raw wastewater, or synthetic contaminated water samples (Lab-scale) | Co2O3/Cu2O3: Al2O3: SiO2 | 50 mg·L-1 | 15 min | >3.6 log | 404.86 | [76] |
| E. coli and S. aureus | LB-agar (Lab-scale) | M-NP@Zn-BIF | 50 mg·L-1 | 24 h | About 3 log | / | [77] |
| E. coli and S. aureus | Sterile saline (Lab-scale) | MgO microspheres | 1000 mg·L-1 | 12 h | Both 2.0 log | / | [78] |
| E. coli, S. aureus and A. flavus | Sterile saline (Lab-scale) | Chitosan/Ag/Cu/carbon nanocomposites | 2% | 30 min | 5.4 log, 6.5 log and 5.5 log | 390.28 | [79] |
| R. solanacearum | Sterile saline and PBS (Lab-scale) | Carbon nanomaterials (CNMs) | 250 mg·L-1 | 720min | Inhibiting bacterial growth | 4147.83 | [80] |
| Candida albicans | YPL broth (Lab-scale) | Ag@ Pleurotus sajor-caju | 250 mg·L-1 | 48 h | 5.4 log | / | [81] |
| Human adenovirus | LB-agar (Lab-scale) | Polylactide and silver nanoparticles | -- | 1 h | 0.46 log | / | [82] |
| Herpes simplex virus | LB-agar (Lab-scale) | Polylactide and silver nanoparticles | -- | 1 h | 3.44 log | / | [83] |
| II. Biological treatment |  |  |  |  |  |  |  |  |
| Biological treatment- bacteriophages |  |  |  |  |  |  |  |
| E. coli and Salmonella typhi | Disinfected sewage (Pilot scale) | E. coli specific bacteriophages | 3×104 PFU·mL-1 | 14 h | 4.0 log (cell grow reduced) | / | [84] |
| Salmonella typhi | Wastewater (Pilot scale) | Salmonella typhi specific bacteriophages | 105 PFU·mL-1 | 2 h | 2.75 log | 0.00255 | [85] |
| E. coli biofilm | PBS (Lab-scale) | Indigenous Prophage Activation Using Low-Intensity Cold Atmospheric Plasma | peak-to-peak voltage: 12 kV | 10 min | 0.29 log | / | [86] |
| P. aeruginosa | Sterile saline (Lab-scale) | P. aeruginosa specific bacteriophages isolated from hospital wastewater | MOI=1000 | 24 h | 5.1 log | 0.001374 | [87] |
| A. hydrophila Ah-138 biofilm | LB broth (Lab-scale) | Phage cocktail isolated from a sewer system | 107 PFU·mL-1 | 6 h | Up to 0.57 log | 0.0122 | [88] |
| Dual-species biofilm (P. aeruginosa PAO1 and E. coli NDM-1) | PBS (Lab-scale) | Polyvalent Phages Delivered by Peptide-Modified M13 Coliphages | 1010 PFU·mL-1 | 30 min | 0.80 log | 0.88 | [89] |
| Pseudomonas aeruginosa PAO1 | PBS (Lab-scale) | Encapsulating specific bacteriophages isolated from wastewater | 107 PFU·mL-1 | 30 d | 1.17±0.01 log | 0.00597 | [90] |
| Biological treatment- TA systems |  |  |  |  |  |  |  |
| Elizabethkingia meningosepticum | Sterile saline (Lab-scale) | Plasmid PNJR6, Graphene Oxide and biological flocculant | Unknown | 72 h | 0.67 log | / | [91] |
| Influenza-virus | River water (Lab-scale) | Living Engineered Biofilm Materials (E. coli biofilm matrix protein CsgA) and quorum sensing-enabled suicide gene | 1.86 mg CsgA-C5 biofilms | - | >7 log | / | [92] |
| Biological treatment- microalgae |  |  |  |  |  |  |  |
| Total coliform, fecal coliform, E. coli, somatic coliphages, human adenovirus, Cryptosporidium spp. and Giardia intestinalis | Wastewater (Pilot scale) | A facultative pond (FP), a high-rate algal pond (HRAP), and a rock filter (RF) | Cchlorophyll a= 9.16 mg·L-1 | 5 d | 5.67 log, 5.62 log, 5.69 log, 0.88 log, 1.65 log, 0.52 log and 2.42 log | 0.0000564 | [93] |
| C. perfringens and Staphylococcus sp. | Wastewater (Pilot scale) | Inoculate Chlorella sp. | 0.15 g TSS·L-1 | 3 d | 2.5-3.2 log and 1.8-2.0 log | 0.0000674 | [94] |
| E. coli | Wastewater (Pilot scale) | Microalgae treatment for anaerobically-digested black water | 0.7±0.3 g·L-1 | 7 d | 2.73 log | 0.000164 | [95] |
| Biological treatment- Vermifiltration |  |  |  |  |  |  |  |
| E. coli | Swine wastewater (Pilot scale) | Vermifiltration | 10 to 12 g·dm-3 | 10.4 d | 0.34 log | 1239.91 | [96] |
| E. coli and Salmonella | Clinical laboratory wastewater (Pilot scale) | Vermifiltration | 10000 worms·m-3 | 7-8 h | 2.0 log and 2.0 log | 6.2778 | [97] |
| Total bacteria, Total fungi and actinomyces | Wastewater (Pilot scale) | Vermifiltration | 10000 worms·m-2 | 6 h | 1.91-3.35 log | / | [98] |
| III. Advanced oxidation process (AOP) |  |  |  |  |  |  |  |
| Electrochemical process |  |  |  |  |  |  |  |
| Bacteriophage MS2 | Synthetic wastewater (Pilot scale) | Electrooxidation Anode: Si¦ boron-doped diamond (BDD) Cathode: AISI 304 stainless-steel plate | Voltage 12V | 10 min | 8 log | / | [99] |
| E. coli | Sterile distilled water (Pilot scale) | Electro-oxidation reactor with 6 graphite electrodes | Voltage 0-30 V Current 0-10 A | 2 min | 3.70 log | 0.0003 | [100] |
| RP4-E. coli K-12 | PBS (Lab scale) | Electrochemical disinfection Anode: platinum sheet Cathode: PVDF-based carbon catalysts reference electrode: Ag/AgCl | Current density 2.25 mA·cm-2 | 40 min | 5.0 log | 0.000337 | [101] |
| Psychrophilic and mesophilic bacteria | Landfill leachate (Lab-scale) | Electrooxidation Anode: BDD Cathode: stainless-steel plates | Current density 25-100 mA· cm-2 | 120 min | 2.7 log and 1.12 log | 0.0665 | [102] |
| E. coli | Sterile saline (Lab-scale) | Electrochemical disinfection Anode & Cathode: Mo2C | 5.86 mA·cm-2 | 15 min | >5.0 log | 0.16 | [103] |
| E. coli | Physiological solution (Lab-scale) | Electrooxidation Anode: BDD | 10 mA·cm-2 | 10.4±7.1 min in PBS | >16 log | 0.0000194 | [104] |
| E. coli | 25 mM Na2SO4 (Lab-scale) | Electrooxidation Anode: Ti/Sb–SnO2/PbO2 Cathode: Stainless steel | 30 mA·cm-2 | 75 min | >7.0 log | 0.00643 | [105] |
| Non-Thermal Plasma |  |  |  |  |  |  |  |
| E. coli K-12, P. aeruginosa and S. aureus | DI water (Lab-scale) | Microwave plasma system working gases: oxygen- and nitrogen-swirl | 1000 µM (NO) | 12 h | 1.5, 0.9, and 1 log (cell grow reduced) | / | [106] |
| E. coli | DI water (Lab-scale) | working gases: helium (He) or argon (Ar) | Flow rate: 2.0 standard L· min-1 | 3 min | About 5 log | 0.0025 | [107] |
| Multidrug-resistant E. coli | Sterile saline (Lab-scale) | Multiple pin HV electrode | High voltage pulses of magnitude 15 kV | 30 min | 9.05 log | 1.455 | [108] |
| S. aureus | Sterile saline (Lab-scale) | Surface dielectric barrier discharge | High-voltage with a frequency of 20 kHz | 5 min | > 6 log | 0.006944 | [109] |
| E. coli TISTR 527 | Sterile saline (Lab-scale) | Pinhole plasma jet discharge system working gases: Ar and O2 | Flow rate: 10 L·min-1 | 60 min | 1.18 log | 1.059 | [110] |
| Yeast S. cerevisiae BY4741 | Sterile saline (Lab-scale) | Cold atmospheric plasma working gases: pure He | Voltage 12 kV Frequency 100 kHz | 5 min | 2.40 log | / | [111] |
| T4 bacteriophage | Sterile saline (Lab-scale) | Cold atmospheric plasma working gases: artificial air | Discharge power density 0.2 W·cm-2 | 80 s | 8.34 log | / | [112] |
| Acanthamoeba sp. | Sterile distilled water (Lab-scale) | Cold atmospheric plasma | Voltage 9 kV Current 350 μA | 40 min | 6 log | / | [113] |
| E. coli and S. aureus | PBS (Lab-scale) | High-Voltage Atmospheric Cold Plasma | High voltage level of 80 kV | 5min | ≥6 log for E. coli and ≥8 log for S. aureus | 0.00141 | [114] |
| E. coli ATCC 25922 | DI water (Lab-scale) | Cold atmospheric plasma | High voltage level of 10 kV | 30s | 4 log | 0.0083 | [115] |
| Photodynamic reaction |  |  |  |  |  |  |  |
| S. aureus | Sterile saline (Lab-scale) | Curcumin was combined with a hydrophilic extract (olive leaf extract) using a biphasic system | curcumin concentration 3.19 mg·mL-1 | 5 min | about 5 log | / | [116] |
| V. campbellii, V. cholerae and V. harveyi | PBS (Lab-scale) | Curcumin | 5 μM & LED | 30 min irradiation | About 0.46 log, 2.00 log and 2.00 log | / | [117] |
| E. coli ART-2 and S. aureus P03616 | LB-agar (Lab-scale) | 1,2,3-benzenetriol, C6H3(OH)3 & LED | 0.156 mg·mL-1 and 0.078 mg·mL-1 | 80 min | Both 6.55 log | / | [118] |
| Staphylococcus saprophyticus subsp. bovis | Mueller Hinton broth (Lab-scale) | Hypericin β-cyclodextrin complex (Hyp-βCD) were encapsulated in thermosensitive liposomes irradiated by the Weberneedle Endo Laser | 0.5 mg·mL-1 | 100 min | >4.2 log | / | [119] |
| C. albicans and A. nidulans | PBS (Lab-scale) | Thiopyridinium phthalocyanine & LED | 5 μM | 30 min | About 5 log and 2 log | / | [120] |
| T4-like bacteriophage | Wastewater (Lab-scale) | Mixture of five cationic meso-tetraarylporphyrins & artificial white light | 10 μM | 30 min | About 5 log | / | [121] |
| VI. Integrated techniques |  |  |  |  |  |  |  |
| E. coli | Sterile saline (Lab-scale) | BiOCl nanoparticles | 1 mM | 4 h | 5.4 log | 47.7424 | [68] |
| E. coli | Sterile saline (Lab-scale) | Fe3O4@MnO2 nanoparticles & photocatalysis | 500 mg·L-1 | 90 min | >7 log | / | [122] |
| E. coli and S. aureus | PBS (Lab-scale) | CdO nanoparticles & photocatalysis | 100 mg·L-1 | 20 min | Both 6.55 log | 1.127 | [123] |
| Bacteriophage MS2 | Saline solution (Lab-scale) | Graphene–WO3 film & photocatalysis | - | 3 h | 5 log | / | [124] |
| E. coli | LB broth (Lab-scale) | Ag@SiO2 & photocatalysis | 666.67 mg·L-1 | 20 min | >10 log in actual tannery wastewater | / | [125] |
| E. asburiae, E. tabaci, and K. quasipneumoniae | Wastewater (Lab-scale) | 5-bromoindole-capped zinc nanoparticles & photocatalysis | 50 mg·L-1 | 37 h | 0.66 log, 1.30 log, and 1.52 log (cell grow reduced) | / | [126] |
| RP4-E. coli | PBS (Lab-scale) | ZnO@Al2O3 & photocatalysis | 50 mg·L-1 | 2 min | >6 log | / | [127] |
| E. coli | Sterile saline (Lab-scale) | Ch.@FeO@BiOCl & photocatalysis | 1000 mg·L-1 | 30 min | 4.4 log | / | [128] |
| E. coli K-12 | Sterile saline (Lab-scale) | MoS/BiOBr & photocatalysis | 600 mg·L-1 | 3 h | 6.5 log | / | [129] |
| E. coli | Sterile saline (Lab-scale) | Al2O3@v-MoS2 & photocatalysis | 18 mg·L-1 | 120 min | About 6 log | / | [130] |
| E. coli | Sterile saline (Lab-scale) | (Al2O3@v-MoS2)/Cu/Fe3O4 & photocatalysis | 18 mg·L-1 | 1 min | About 6 log | / | [130] |
| E. coli, Fusarium graminearum, Colletotrichum gloeosporioides, Botryosphaeria dothidea, Fusarium moniliforme, and Fusarium oxysporum f. sp. | PBS (Lab-scale) | TiO co-modified with carbon dots & photocatalysis | 1 g·L-1 | 30 min 60 min | 7 log 1.99 log, 2.00 log, 5.00 log, 3.15 log and 2.95 log | / | [131] |
| Extended-spectrum β-lactamase E. coli and P. aeruginosa | PBS (Lab-scale) | Prepared electrolytic CuSe (E-CuSe) nanosheets at the cathode | 1 μg·mL-1 CuSe | 30 min | >3 log | / | [132] |
| E. coli K-12 | Electrolyte (Lab-scale) | Electrolysis & UVA-LEDs Anode: BDD Cathode: reticulated vitreous carbon | UV optical power 1.2 W Current 10 mA | 80 min | >6.3 log | / | [133] |
| E. coli | Sterile saline (Lab-scale) | Self-powered triboelectric nanogenerator & electrochemical disinfection Working electrode: Co (OH)2/Pt nanosheetsCounter electrode: Pt wire Reference electrode: saturated calomel | 50 μg·mL-1 | 30 min | >2 log | / | [134] |
| Staphylococcus aureus | Sterile distilled water (Lab-scale) | Electrolysis Working electrodes: Glassy carbon modified with β-cyclodextrin and copper nanoparticle and copper-β-cyclodextrin-graphene oxide nanocomposite | 1.93 μg·mL-1 and 7.4 μg·mL-1 | 18 h | 7.0 log (cell grow reduced) | / | [135] |
| E. coli | DI water (Lab-scale) | Locally enhanced electric field treatment Gold nanowedges modified electrodes | Pulses at 40 kV cm−1 | 20 ns | 1.31 log | / | [136] |
| E. coli ATCC 25922 | Sterile saline (Lab-scale) | Encapsulation of Zn/Co nanocrystals into sponge‐like 3D porous carbon & ultrasound | 40 mg·L-1 | 40 min | 1.02 log | / | [137] |
| S. aureus | Sterile saline (Lab-scale) | Atmospheric pressure plasma jet & electrochemical disinfection | Flow rate: 0.2 L·min-1 | 5 min | >7 log | / | [138] |
| ɸX174 bacteriophages, rotavirus (Rov) and adenovirus (AdV) | Sterile saline (Lab-scale) | Cold plasma & Ag/TiO2-rGO nanoparticles | 0.1 % Ag/TiO2-rGO | 2 min | 5.5 log, 0.8 log and >4.7 log | / | [139] |
| E. coli ATCC 25922 | Ringer’s solution (Lab-scale) | Ag- and Cu-functionalized UF membrane | 0.05 MPa pressure | - | 6.02±0.99 log | / | [140] |
| E. coli ATCC 25922 | PBS (Lab-scale) | N-Fe(III)@PCN-222/PDA/PVDF composite membrane & photocatalysis | Membrane: 1 cm2 | 20 min | About 6.0 log | / | [141] |
| E. coli ATCC 25922 and B. subtilis CMCC (B) 63501 | Sterile saline (Lab-scale) | Molybdenum disulfide - copper modification of NF membrane | Membrane: 9 cm2 MoS2: Cu 1:1 | 120 min | About 5.0 log | / | [142] |
| E. coli and S. aureus | PBS (Lab-scale) | PCN-224 Nanoparticle/Polyacrylonitrile Nanofiber Membrane & Xe lamp | 0.6% | 45 min | 3.00 log and 4.70 log | / | [143] |
| E. coli, P. aeruginosa and S. aureus | PBS (Lab-scale) | AgNP@SiO2 particles decorated on polyamide thin film | Membrane: 4 cm2 | 120 min | 1.14±0.01 log, 2.30±0.001 log and 0.57±0.01 log | / | [144] |
| P. aeruginosa and E. coli form the mixed biofilm | PBS (Lab-scale) | Polyvalent phages conjugated with magnetic colloidal nanoparticle clusters | 4×105 PFU·mL-1 | 6 h | 0.95±0.01 log | 0.00795 | [145] |
| E. coli | Sterile saline (Lab-scale) | A new carbon-based nanomaterial composed of single-walled carbon nanotubes (SWCNTs) and iron oxides | 500 mg·L-1 | 2 min | 1.13 log | 140 | [146] |
| E. coli | PBS (Lab-scale) | Caged Iodine-modified ZnO (I-ZnO-n) catalyst with nano-structure and surface oxygen vacancy | 1 g·L-1 | 240 min | About 2.0 log | 47.5 | [147] |
| E. coli | Lake water (Lab-scale) | Silver nanoparticles | 80 mg·L-1 | 90 min | 1.15 log | 4147.83 | [148] |
| E. coli | Sterile saline (Lab-scale) | GO suspensions of average sheet area ranging from 0.01 to 0.65 μm2 | 200 mg·L-1 | 180 min | 1.98 log | 312.04 | [149] |
| E. coli, S. aureus | Sterile saline (Lab-scale) | Cu2WS4 nanocrystals (CWS NCs) | 2 mg·L-1 | 120 min | 0.96 log | 6.095 | [150] |
| E. coli, S. aureus | PBS (Lab-scale) | Ag-CoFe2O4-graphene oxide (Ag-CoFe2O4-GO) nanocomposite | 0.625 mg·L-1 | 120 min | 1.92 log | 0.3125 | [151] |
| E. coli, S. aureus | Sterile saline (Lab-scale) | GO–Ag nanocomposites with different AgNPs to GO ratios | 10 mg·L-1 | 150 min | 0.097 log | 21.77 | [152] |
| E. coli | River water (Lab-scale) | Plasma treatment | 58.67 W | 6 min | 1 log | 113.7 | [153] |
| E. coli | Sterile saline (Lab-scale) | Plasma Treated Sodium Chloride Solution | --- | 15 min | ≥7 log | 0.0117 | [154] |
| E. coli, S. aureus | Sterile saline (Lab-scale) | High-Voltage Atmospheric Cold Plasma Differ | --- | 5 min | 1 log | 0.00141 | [155] |
| Vibrio (V.) cholerae, V. harveyi, and V. campbellii | PBS (Lab-scale) | Photoactivation of curcumin | --- | 30 min | 1 log | 39.78 | [156] |
| E. coli, S. aureus | Sterile saline (Lab-scale) | Photodynamic treatment with green phytochemicals | 17 mW·cm-2 | 80 min | 1 log | 53.15 | [157] |
| Staphylococcus saprophyticus | Liposomes (Lab-scale) | near-infrared (NIR)-activated thermosensitive liposomes (TSL) | 65 μM, NIR (λ = 785 nm, 500 mW) | 30 min | ＞4 log | 204762.5 | [158] |
| E. coli | Sterile saline (Lab-scale) | Nontoxic bismuth oxychloride (BiOCl) photocatalysts with different nanoscale thicknesses | 500 mg·L-1 | 240 min | 5.4 log | 47.7424 | [159] |
| E. coli and Salmonella ebony | Sterile saline (Lab-scale) | Fe3O4@MnO2 nanocomposite | 500 mg·L-1 | 90 min | 7.02 log | 7.0232 | [160] |
| E. coli and S. aureus | PBS (Lab-scale) | Unique CdO nanoparticles (NPs) | 100 mg·L-1 | 20 min | 4.03 log | 1.127 | [161] |
| E. coli | Sterile saline (Lab-scale) | Collagen-Supported Amino-Functionalized Ag@SiO2 Core–Shell Nanoparticles | 666.7 mg·L-1 | 20 min | About 7.0 log | 1083.56 | [162] |
| E. coli | PBS (Lab-scale) | Heterogeneous UV disinfection aided by ZnO/Al2O3 composites | 50 mg·L-1 | 2 min | 5.72 log | 0.152 | [163] |
| E. coli | Sterile saline (Lab-scale) | A novel ternary biohybrid photocatalytic microrobot based on Chlorella (Ch.) cells | 1 g·L-1 | 30 min | 2.20 log | 22.386 | [164] |
| Escherichia coli (E.coli, ATCC25922) | Sterile saline (Lab-scale) | MoS2/Bi4O5Br2 heterojunction | 600 mg·L-1 | 180 min | 7 log | 12.077 | [129] |
| E. coli | Sterile saline (Lab-scale) | Encapsulation of Zn/Co nanocrystals into sponge‐like 3D porous carbon | 40 mg·L-1 | 40 min | 1.02 log | 58.19 | [165] |
| MDR Escherichia coli , MDR Staphylococcus aureus | Sterile saline (Lab-scale) | A new near-infrared II (NIR-II) light responsive nanozyme (Cu2MoS4 nanoplates, CMS NPs) | 40 mg·L-1 | 10 min | 8 log for MDR E. coli, 6 log for MDR S. aureus | 0.076 | [166] |
| E. coli and S. aureus | Sterile saline (Lab-scale) | Antibacterial nanorobots by loading super small gold nanorods (sAuNR) onto the surface of MXene nanosheets (MXene@sAuNR) | 5 mg·L-1 | 30 min | 3.70 log of E. coli and 1.73 log of S. aureus | 4.257 | [167] |
| S. aureus | PBS (Lab-scale) | Rational design of multifunctional nitrogen-rich carbon-coated bismuth/cobalt nanoparticles | 200 mg·L-1 | 20 min | 5 log | 18.15 | [168] |
| Staphylococcus aureus (MRSA) | Sterile saline (Lab-scale) | NIR-responsive MoS2–Cu2WS4 nanosheets | 80 mg·L-1 | 120 min | 4.4 log | 0.631 | [169] |
| E. coli, Enterococcus faecalis | DI water (Lab-scale) | Vertically aligned MoS2 nanofilms and visible light | 1.6 mg·L-1 | 20 min | 5 log | 0.0657 | [170] |
| ARB | Sterile saline (Lab-scale) | A novel AOP catalyst, Ag/TiO2/graphene oxide (GO) | 100 mg·L-1 | 30 min | About 7.0 log | 7.232 | [171] |
| E. coli | Sterile saline (Lab-scale) | A novel photoelectrochemical three-dimensional reactor | 100 g·L-1 | 120 min | ＞2.0 log | 2926.7 | [172] |
| E. coli and S. aureus | Sterile saline (Lab-scale) | ZnO materials with different morphologies | 20 mg·L-1 | 20 min | 3.3 log | 0.232 | [173] |
| E. coli | Sterile saline (Lab-scale) | An electrocatalytic system using Ni-Fe/Fe3O4 nanocomposite | 0.111 kWh·m-3 | 60 min | About 5.0 log | 0.099 | [174] |
| E. hormaechei, E. durans, and B. subtilis in deionized water and for E. coli in lake water | Sterile saline (Lab-scale) | A new Cu3P nanowire-assisted copper mesh (Cu3PNW–Cu) electrode | --- | 0.0036 min | 6 log | 12.77 | [175] |
| E. coli, Salmonella, and Pseudomonas aeruginosa | Sterile distilled water (Lab-scale) | A high-throughput, flow-through silver-magnetite (Ag-Fe3O4)-modified electrochemical system | 0.75 mg·L-1 | 1 min | 5.71 log | 0.058 | [176] |
| Escherichia coli K12 strain (CECT 4624, corresponding to ATCC 23631) | Sterile saline (Lab-scale) | A novel photoelectrochemical three-dimensional reactor (photoelectrocatalytic inactivation) | 0.014 kWh m−3 | 120 min | 2 log | 3643.75 | [172] |
| E. coli | Sterile saline (Lab-scale) | High-efficient Co(OH)2/Pt electrocatalyst | 50 mg·L-1 | 30 min | 2.01 log | 3.871 | [177] |
| P. aeruginosa and E. coli | Sterile saline (Lab-scale) | Polyvalent (broad host-range) phages attached to magnetic colloidal nanoparticle clusters (CNCs) | 2.5 mg·L-1 | 720 min | 0.9432 log | 21.15 | [178] |
| E. coli and S. aureus | Sterile saline (Lab-scale) | MoS2 nanocomposite & photothermal | 40mg·L-1 | 10min | About 7.0 log for E. coli and 0.67 log for S. aureus | 0.767 | [179] |
| Deincocccus soli strain | Wastewater (Lab-scale) | UV disinfection | 40mJ·cm-2 | --- | ＜1 log | 21.68 | [180] |
| - coli O157:H7 (CECT 4972) | Wastewater (Lab-scale) | UV disinfection | 0.03 kJ·L-1 | 15min | 4 log | 0.25 | [181] |
| E. coli K12 (ATCC 29425) | PBS (Lab-scale) | UV disinfection | 11 mJ·cm-2 | --- | 5.1 log | 0.04 | [182] |
| Heterotrophic plate count bacteria | Drinking water (Pilot scale) | Chlorine disinfection | 0.45mg·L-1 | 30min | 4.6 log | 0.000074 | [183] |
| Coliform bacteria | Wastewater (Pilot scale) | Ozonation | 0.3mg·min-1 | --- | 2.0 log | 0.1485152 | [184] |
| HPC bacteria | Bore well water (Pilot scale) | Ozonation | 4mg·L-1 | 15min | 1.15 log | 0.014 | [185] |
| Burkholderia agricolaris B1qs70 in amoeba spores | KK2 buffer (Lab-scale) | Chlorine disinfection | 5 mg·L-1 | 6 min | 2.1 log | / | [186] |
| E. coli, Citrobacter freundii, E.agglomerans, E.cloacae, K.oxytoca and K. Pneumoniae in T. pyriformis and A.castellanii | Chlorine-demand-free buffer (Lab-scale) | Chlorine disinfection | 0.5-10mg·L-1 | 56.3±15.9 min 58.6±29.2 min 46.9±17.3 min 100.8±35.6 min 32.3±5.4 min 58.5±23.6 min 58.7±38.7 min 89.1±39.4 min 77.6±44.7 min 79.4±44.8 min 86.1±36.1 min 118.2±1.9 min | 4.0 log | / | [53] |
| Burkholderia agricolaris B1qs70 in amoeba spores | KK2 buffer (Lab-scale) | UV disinfection | 100 mJ·cm-2 | --- | 3.0 log | / | [186] |
| Burkholderia agricolaris B1qs70 in amoeba spores | KK2 buffer (Lab-scale) | Chlorine dioxide | 5 mg·L-1 | 7 min | 1.8 log | / | [186] |

PBS: Sterile phosphate buffer solution; Lab-scale: laboratory scale; DI: deionized.

Table S4. Main characteristics of antimicrobial nanomaterials

| Core materials | Shapes | Antimicrobial mechanisms | Advantages (√) & Disadvantages (×) | Reference |
| --- | --- | --- | --- | --- |
| Ag | Nano sphere, nanosheet, nanorod, triangular, hexagonal, enneahedral plates, nanocube, polyhedrons… | i) Kill by the released Ag+ ions ii) Cause membrane dysfunction and nanoparticles internalization, reacting with the thiol groups in proteins (enzymes) iv) Increase endogenous ROS induction | (√) Highly efficient, broad-spectrum and persist inactivation effects (×) Cytotoxicity, biotoxicity, instability (easy to agglomerate), HGT facilitation and newly developing resistance to nano-sliver | [187, 188] |
| Cu | Nano sphere, nanosheet, nanocube, raspberry-like particles and cages, brick, cylinder, plates… | i) Kill by the released Cu2+ ions ii) Cause membrane dysfunction and nanoparticles internalization ii) Increase endogenous ROS induction | (√) Efficient, broad-spectrum and persist inactivation effects (×) Cytotoxicity, biotoxicity and instability (rapid air oxidation) | [189-191] |
| Au | Nano sphere, triangular nanoprisms, hexagonal, nanocube, elliptical, nanorod… | Cause membrane dysfunction and nanoparticles internalization, inhibiting of tRNA binding to ribosome | (√) Good biocompatibility, polyvalent effects, photothermal properties; nontoxicity (×) Low antibacterial efficiency | [192-194] |
| Ni | Nano sphere, ellipsoidal, cylindrical, hexagonal, polyhedral… | i) Kill by the released Ni+ ions ii) Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication and protein formation iii) Increase endogenous ROS induction | (√) Magnetic, easy to separate and recycle; relatively efficient and persist inactivation effects (×) Cytotoxicity and biotoxicity | [195, 196] |
| Fe | Nano sphere, elliptical, nanorod, plates, needle-like, amorphous… | i) Released Fe ions participate in Fenton system and induce external ROS ii) Cause membrane dysfunction and nanoparticles internalization | (√) Good biocompatibility; magnetism; easily to combine with coagulation (×) Less effective | [197, 198] |
| Pd | Nano sphere, icosahedral, dodecahedral, cuboctahedral, triangular shaped… | i) Kill by the released Pd2+ ions ii) Catalytic killing | (√) Highly efficient, broad-spectrum and persist inactivation effects; low costs (×) Cytotoxicity and biotoxicity | [199, 200] |
| Ag2O | Nano sphere, octahedron, truncated octahedron, nanocube, truncated cubes, concave rhombic dodecahedra, and rhombic dodecahedra, coating… | i) Cause membrane dysfunction and nanoparticles internalization ii) Inhibit of DNA replication and arrest cell cycle in G2/ M phase iii) Increase endogenous ROS induction | (√) Highly efficient, broad-spectrum and persist inactivation effects; relatively controllable release of Ag+ (×) Cytotoxicity and biotoxicity | [199, 201] |
| ZnO | Nano sphere, nanosheets, nanorods, nanowires, crystalline, flower-shaped, hexagonal, spiny-shaped, coating, amorphous, quantum dots… | i) Produce H2O2 ii) Kill by the released Zn2+ ions iii) Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication and protein formation iv) Increase endogenous ROS induction | (√) Good biocompatibility; Highly efficient, broad-spectrum and persist inactivation effects; low costs; certain photoactivity (×) Instability (easy to agglomerate) and HGT facilitation | [202-204] |
| CuO | Nano sphere, irregular nanoparticles, nanobelts, plates, flower-shaped, star-shaped, heterogeneous… | i) Kill by the released Cu2+ ions ii) Cause membrane dysfunction and nanoparticles internalization iii) Increase endogenous ROS induction | (√) Highly efficient and persist inactivation effects; low costs; weak magnetism and photoactivity (×) Cytotoxicity, biotoxicity and HGT facilitation | [199, 205] |
| NiO | Nano sphere, nanosheet, nanocube, diamond, coating… | i) Kill by the released Ni+ ions ii) Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication and protein formation iii) Increase endogenous ROS induction | (√) Relatively efficient and persist inactivation effects; low cost; photoactivity (×) Cytotoxicity and biotoxicity | [206] |
| MgO | Halite or cubic structure, coating… | i) Hydrate to induce external ROS and increase surrounding pH ii) Cause membrane dysfunction | (√) Good biocompatibility; relatively efficient and persist inactivation effects; chemical stability (×) Instability (easy to agglomerate) | [199, 207, 208] |
| Gd2O3 | Nano sphere, plates, curved rods, coating… | i) Kill by the released Gd2+ ions ii) Cause membrane dysfunction iii) Increase endogenous ROS induction | (√) Magnetism; relatively efficient and persist inactivation effects; chemical stability (×) Unknown | [209, 210] |
| SnO2 | Coating, nanocube, needle-like, nanorod, hexagonal… | i) Kill by the released Sn2+ ions ii) Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication iii) Increase endogenous ROS induction | (√) Relatively efficient and persist inactivation effects; photoactivity; chemical stability; low cost (×) Potential cytotoxicity and biotoxicity | [211] |
| Fe2O3/ Fe3O4 | Nano sphere, coating, nanorod, nanocube, hexagonal microdisks, drum-like, spindles, amorphous… | i) Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication ii) Released Fe ions participate in Fenton system and induce external ROS iii) Increase endogenous ROS induction | (√) Great biocompatibility; magnetism; chemical stability (×) Less effective and HGT facilitation | [212, 213] |
| CeO2 | Nanocubes, nanorods, octahedrons, truncated octahedral, coating… | i) Kill by the released Ce3+ ions ii) Cause membrane dysfunction and nanoparticles internalization iii) Participate in the redox reaction and induce external ROS iv) Increase endogenous ROS induction | (√) Highly efficient, broad-spectrum and persist inactivation effects; photoactivity; (×) Potential cytotoxicity, biotoxicity and HGT facilitation | [199, 214] |
| Al2O3 | Nano sphere, coating, nanorod, nanosheet, brick… | i) Cause membrane dysfunction and nanoparticles internalization ii) Increase endogenous ROS induction | (√) Good biocompatibility; low costs and strong specificity (×) Less effective (only exhibit antimicrobial effects at high loads) and HGT facilitation | [199, 215] |
| Bi2O3 | Irregular granular shape, spherical-like shape… | i) Increase ionic strength and build alkaline centers ii) Cause membrane dysfunction and nanoparticles internalization | (√) Low cytotoxicity; photoactivity (×) Less effective (only exhibit antimicrobial effects at high loads) | [216-218] |
| MoS2 | Plates, quantum dots, flower-shaped, chain, triangular, hexagonal, coating… | i) Cause membrane dysfunction and nanoparticles internalization ii) Increase endogenous ROS induction | (√) Good biocompatibility; relatively efficient and persist inactivation effects; photoactivity; easy to modify (×) Relatively high cost | [219] |
| CdS | Quantum dot, nano sphere, nanoplate, nanorod, nanobelt, coating… | i) Kill by the released Cd2+ ions i) Cause membrane dysfunction and nanoparticles internalization ii) Increase endogenous ROS induction iv) Disrupt cell division | (√) Relatively efficient and persist inactivation effects; photoactivity (×) Severe cytotoxicity and biotoxicity | [220, 221] |
| CuS | Trigonal, hexagonal, micro-flower, intersect-hexagonal, ball-flowers, coating… | i) Kill by the released Cu2+ ions ii) Cause membrane dysfunction and nanoparticles internalization ii) Increase endogenous ROS induction | (√) Highly efficient and persist inactivation effects; low costs; photoactivity (×) Cytotoxicity and biotoxicity | [222] |
| Graphene and its derivatives | Coating, thin films, quantum dot, nanosheets (single or multiple layers) … | i) Cause membrane dysfunction and disrupt electron transport ii) Increase endogenous ROS induction | (√) Good biocompatibility; broad-spectrum and persist inactivation effects; photoactivity; easy to modify (×) Less effective for single graphene | [223] |
| Cadmium dots | Quasi spherical | i) Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication and protein formation ii) Increase endogenous ROS induction | (√) Good chemical stability; high water solubility; low toxicity; excellent biocompatibility (×) Complex and energy-consuming preparation methodology | [224, 225] |
| Chitosan | Coating, thin films, nano sphere, droplet like, irregualar… | Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication and electron transport | (√) Good biocompatibility; green and renewable; low cost (×) Difficult to control molecular weight and purity, less effective (resulting from its hydrophobicity) | [226] |
| Cellulose | Coating, thin films, tunicin whiskers… | Cause membrane dysfunction | (√) Good biocompatibility; green and renewable; low cost; easy to modify (×) Poor self-antibacterial ability, requiring the combination of efficient antibacterial materials | [227] |
| Metal-organic frameworks (MOFs) | Granules, pellets, thin films, foams, gels, paper sheets, hollow structures, coating… | Combined mechanisms of corresponding metallic nanomaterials and further optimized by modifying organic linkers | (√) Highly efficient and persist inactivation effects; relatively controllable release of metal ions; easy to modify; photothermal properties (×) High cost | [228, 229] |
| MXene materials | 2D ultra-thin nanosheets | Cause membrane dysfunction and nanoparticles internalization, disrupting DNA replication and metabolic process | (√) Highly efficient and persist inactivation effects; easy to modify; photoactivity (×) Complex material preparation and high cost | [167, 230] |

Table S5. Common photosensitizers and their absorption wavelength

|  | Photosensitizer type | Wavelength (nm) |
| --- | --- | --- |
| Natural photosensitizer | Chlorophyll a | 600-700 |
|  | Bacteriochlorophyll a | 500-850 |
|  | Curcumin | 350-550 |
|  | Riboflavin | 460 |
|  | Aloe-emodin | 400-780 |
|  | Hypericin | 590-660 |
|  | Berberine | 200-600 |
|  | Coumarin | 200-400 |
|  | Flavone | 300-400 |
| Artificial photosensitizer | Methylene blue | 400-700 |
|  | Rose bengal | 500-600 |
|  | Cationic porphyrin | UV-vis |
|  | Phthalocyanines | 650-800 |
|  | Indocyanine green | 750-800 |
|  | Phenazine | 300-600 |
|  | Aggregation-induced emission substances | 200-600 |

Table S6. The ARGs removal of conventional disinfection, AOP and integrated techniques

| ARGs subtypes | Wastewater treatment | Dosage of the oxidants | Treatment time | Removal efficiency | Ref. |
| --- | --- | --- | --- | --- | --- |
| Conventional disinfection |  |  |  |  |  |
| 291 subtypes | O3 | About 0.4 mg·L-1 | --- | -52% | [231] |
| sul1, sul2, ermB, qnrD, qnrS, tetM, tetO, and intI | O3 | 1.5 mg·L-1 | --- | -0.07-0.59 log | [232] |
| sul1, sul2, ermA, qnrD, qnrS, tetM, tetO, tetW and intI | Chlorine | --- | --- | -1.3-1.57 log | [233] |
| intI1, sul1, tetM, qnrS and blaTEM | Chlorine | 10 mg·L-1 | 180 min | 32% for intI1, 8% for sul1, tetM, qnrS and 4% for blaTEM | [234] |
| sul1, sul2, ermB, ampC, tetA, vanA and 16S rRNA | O3 | 1 mg·L-1 | 5 min | >4.3 log | [233] |
| sul1, sul2, ermB, ampC, tetA, vanA and 16S rRNA | Chlorine | 0-1.5 mg·L-1 | 30 min | 0.8-0.9 log | [233] |
| sul1, sul2, ermB, ampC, tetA, vanA and 16S rRNA[233] | UV | 600 mJ·cm-2 | --- | 0.33 log | [233] |
| 16S rRNA, intI1, qnrS, blaCTX-M, sul1, blaTEM and vanA | Solar- H2O2 | [H2O2]: 20 mg·L-1 | 300 min | 1-3 log | [235] |
| intI1, sul1, tetM, qnrS and blaTEM | Solar- H2O2 | Neutral pH, [Fe2+]: 0.1 mM, [H2O2]: 1.47 mM | 180 min | 23% for intI1, 26% for sul1, 0% for tetM and qnrS, 2% for blaTEM | [234] |
| Advanced oxidation process |  |  |  |  |  |
| Plasmid-encoded tetA and blaTEM-1 | Photo-Fenton process | Visible LED light (425–525 nm, light intensity 2 W/ m2), [Fe2+]: 20 mM; [H2O2]: 400 mM | 60 min | 7.85-8.67 log, 8.12-8.86 log | [236] |
| tetA and ampC | Electro-Fenton | Current density: 21.42 mA·cm-2, Fe2+: 1.0 mM/ | 120 min | 3.8-4.1 log | [237] |
| ermB, ermC, ermG | Microbial electro-Fenton, Anodes: carbon cloth, Cathode: stainless steel | Effective filter area: 28.26 cm2, Voltage: -1.2-0.2 V | --- | 1.96, 0.65 and 0.44 log | [238] |
| tetQ，tetW，tetX，tetM，tetA，tetC and tetO | UV/NH2Cl | UV intensity: 50 μW∙cm−2, [NH2Cl]0 =5 mg∙L−1 | 5 min | 57.71 % (total 7 ARGs) | [239] |
| pUC19 extracellular DNA | Solar/free chlorine | Solar irradiation intensity: 700 W·m-2 | 15 min | ~5 log | [237] |
| 16S rRNA, intI1 sul1, sul2, tetQ，tetW and tetO | KMnO4 & Synthesized hydrated manganese oxide (HMO) | [KMnO4]: 10 mg·L-1, [HMO]: 10 mg·L-1 | 60 min | 2.46-4.23 log | [240] |
| tetA-02，aac480-lb，strA，acrB，tetA-2，sulI and mexF | Pre-acidied, Zero-valent iron/ H2O2, Zero-valent iron/peroxydisulfate (PDS) | pH: 2.5, [Zero-valent]: 0.1 g·L-1, [H2O2]: 2.0 mM | 120 min | 2.48-2.97 log | [241] |
| 18 ARGs, 16S rRNA, intI1 and intI2 | Magnetic resin-mediated UV-Fenton process | Catalyst: 0.2 g·L-1, H2O2: 15 mM, UV intensity: 46.4 W·m-2 | 120 min | 1.63-3.58 log | [242] |
| Plasmid-encoded blaTEM and tet | Non-thermal atmospheric pressure plasma | Plasma dose: 1.41 kJ·cm-2, | 8 min | >1 log | [243] |
| tetA, tetR, aphA and tnpA | Glow discharge plasma | Voltage: 500 V, Current: 100 mA | 30 min | 5.8, 5.4, 5.3, and 5.5 log | [244] |
| tetC, TetW, blaTEM-1, aac(3)-I, and intI1 | Mesoporous plasma | Voltage: 9 kV | 10 min | >95%, up to 3.34 log | [245] |
| Integrated techniques |  |  |  |  |  |
| sul1, sul2 and intI1 | N-Doped carbon quantum dots modified TiO2 Nanospheres & Photocatalysis, | N-SCQDs@TiO2: 0.1 g·L-1, UV265 lamp: 20W | 120 min | 52.91-83.52%·L-1og, 32.10-68.23%·L-1og and 46.29-76.55%·L-1og | [246] |
| NPTII | Post-pyrolysis bio-hybridcarbon /peroxymonosulfate (PMS) | Default material dosage: 10 mg·L-1 | 4 min | 4.48 log | [247] |
| sul1, intI1, and 16SrRNA of Pseudomonas sp. HLS-6, tetA, intI1, and 16SrRNA of E. coli TOP10F | Electrified carbon nanotube membrane-NaClO system | Effective filter area: 20 cm2, Current of 2.5 mA·cm-2 | 30 min | 3.5, 4.1, and 2.6 log, 1.7, 4.7, and 3.68 log | [248] |
| floR、tetC、sul1 and intI1 | TiO2-incorporated PVDF membrane | Effective filter area: 4.1 cm2, UV intensity:12 μW·cm-2 | --- | 93.07%, 15.06%, 99.29% and 88.86% | [249] |
| mecA and ampC | TiO2-thin films | UV254 intensity: 20 mJ·cm-2 H2O2: 0.1 M | --- | 4.4-5.2 log | [250] |
| Plasmid-encoded tetA and ampC | Ag/TiO2/rGO | Xenon lamp irradiation | 60 min | 5.39-5.51 log | [251] |
| 16S rRNA, intI1, qnrS, blaCTX-M, sul1, blaTEM and vanA | TiO2 and GO-TiO2 | Catalyst load: 200 mg L−1 | 300 min | 1-3 log | [235] |
| cat | Photo-electrocatalytic, Anode: TNTs-Ag/SnO2-Sb, Cathode: Ti-Pd/SnO2-Sb | Effective surface area: 6 cm2, 250 W xenon lamp | 30 min | 2.74 log | [252] |

Text S1. Antimicrobial mechanisms of the emerging technologies

1. Nanotechnology

Nanotechnology is attracting much attention in terms of antimicrobial practice [253, 254]. The most studied nanomaterials, are mainly classified as metallic based (metal, metal oxide and metal sulfide), carbon-based and their integrated treatment. NPs can inactivate BCs via direct physical damages, indirect ions releasing, NPs internalization and subsequent chemical reactions. (1) Physical antimicrobial effects. NPs, with sharp edges, large specific surface and positive charges, can aggregate and adsorb the microbial cells through electrostatic forces, causing shading effects and contact injuries [203]. The physical effects minimally induce the generation of new heritable NPs resistance or co-selective antibiotic resistance [255], which are typically highlighted in carbon-based nanomaterials for the growth inhibition capacity with limited ecotoxicity. For instance, the reduction of fungal hyphae and the reproductive inhibition by graphene oxide (GO) are attributed to physical contact effects [256]. (2) Ions releasing. For metallic based nanomaterials, the released metal ions significantly contribute to the antimicrobial efficacy, though with controversy regarding their status compared to the nano-scale effects [257]. Evidence suggests that the release of Ag+ plays an important role in the inactivation of BCs [258, 259], depending on the bioaccessibility [260]. Ag constituents react with thiol groups in key enzymes and proteins [261, 262], damaging the cell membrane with wide spectra. The partial contributions of copper and zinc ions have also been demonstrated [263]. (3) NPs internalization. NPs with sizes smaller than 6 nm are capable of completely penetrating into the cell membranes [264]. Subsequently, they may react with surrounding H2O, O2, H2O2, and membrane components (e.g., lipids, proteins, etc.), generating exogenous ROS and enhancing membrane permeability. Typical examples reported include Ag and Au NPs [265]. (4) Chemical damages. Zero-valent iron is commonly used to enhance Fenton-like systems, producing ·OH to attack cellular components [257].

The nanomaterial-induced damages vary among different pathogenic microorganisms. The pathways for bacterial disrupting include: 1) Cell membrane dysfunction; 2) intracellular biomaterials oxidation (e.g., electron transport chain blockade, damage of key enzymes and DNA); 3) cell division inhibition and 4) induction of endogenous ROS (Fig. S1). It is still controversial which mechanism plays the more dominant role in the BCs inactivation. It should be noted that ARGs degradation was seldomly reported and only ARGs interception/adsorption mechanisms were highlighted for carbon-based NPs [266]. Fungi are mainly inactivated via cell membrane damage. Viruses lost the infection capacity due to blocking of the attachment to host surfaces. Certain metal oxides (such as MgO and Bi2O3 in Table S4) increase the surrounding aqueous pH, making it not fit for microbial living (especially for fungi) [216-218]. This is because these NPs have functional groups (e.g., ·OH groups) on the surfaces [267], which inherently consume H+. Nanomaterials interact with the larger protists through physical contact, internalization, and releasing toxic ions, disrupting the physiology processes such as DNA replication, proliferation, and metabolism in these protists.

2. AOPs

Essentially, the produced ROS (including ·OH, HO2·, SO4-· and 1O2) attack cells through a mode of “layer by layer”: Firstly, severe membrane damage is considered a primary cause for the inactivation of bacteria [268], fungi [269], and protozoa [270], identified by the collapse of the cell surface and leakage of cellular contents (DNA, proteins and ATP). The oxidative stress defense of cells is upregulated, leading to an increase in endogenous ROS. Then the residual oxidants can internalize and react with the intracellular or leakage biomolecules. Protein damage is recognized as the major mechanism for the inactivation of viruses, potentially involving the degradation of N-terminal amino acids and the free amine, aromatic, and/or organic sulfur side chains of amino acids including cysteine, histidine, lysine, methionine, tryptophan and tyrosine [271]. It may inhibit the viruses to bind on the host cells or delay the lysis cycle.

Though being non-selective for broad-spectrum BCs, ·OH exhibits confined and highly dose-dependent antimicrobial effects due to the short half-life (<1 μs) and sufficient pre-scavenging [272]. Previous mechanistic studies have questioned the capacity of ·OH to approach and degrade iARGs within acceptable concentrations [273]. Alternative radicals such as reactive chlorine species (RCS, including Cl·, Cl2·–, and ClO·) and SO4-·are selective oxidants that preferentially react with electron-rich moieties such as phosphate groups, amino acids and DNA bases [274]. SO4· can cause more severe DNA chain breakage compared to  ·OH with longer lifespan (30-40 ms) [275]. But studies on the antimicrobial effects and mechanisms of RCS are still in the initial stage and controversy exists over whether RCS can overperform the contribution of ·OH.

2.1 Electrochemical oxidation

The most frequently utilized oxidants in electrochemical system are RCS (Eq. 1-3), as they have the uniquely present chlorine precursors in water environments with lower redox potentials (-1.40 V) [276]. Compared to conventional chlorine disinfection, electrogenerated RCS exhibit higher antimicrobial capacity. The electrolysis of water molecules can also generate free ROS, including ·OH, O3, and H2O2 (Eq. 4). The active anodes form an adsorbed oxidation surface with ·OH, directly contacting and damaging BCs [277]. ROS-mediated electrooxidation requires higher energy consumption compared to that of RCS due to the confined oxidation and lower charge efficiency [276].

2Cl-→Cl2+2e-# AUTONUM  \* Arabic

Cl2+H2O→Cl-+HClO+H+# AUTONUM  \* Arabic

HClO→ClO-+H+# AUTONUM  \* Arabic

H2O→∙OH+H++e-# AUTONUM  \* Arabic

2.2 Non-thermal plasma

Plasma is the fourth state of matter, ionizing into the non-equilibrium active atoms, molecules, and free electrons under high-energy excitation [278]. Compared to thermal plasma, non-thermal plasma dissociates the working gases (air, He, Ar, and H2) at lower power inputs under atmospheric pressure [279]. Non-thermal plasma undergoes complex interactions at the air-water interface, such as ion-molecule collisions and ion-ion neutralization [280], generating various reactive species and releasing ultraviolet radiation. Initially formed short-lived species (e.g., ·OH, 1O2, O and N atoms) can further evolve into longer-lived secondary or tertiary species (e.g., H2O2, O3, NO3-, and NO2-) in the aqueous matrix. Among them, H2O2 and NO3- are keystone substances for antimicrobial effects due to their longer lifespan and formation of inorganic acids (HNO3 and HNO2) [281]. When the treated water is directly exposed to discharge region, roles of ROS and reactive nitrogen species (RNS) are highlighted [282], while the contribution of incidental UV is always negligible.

2.3 Photodynamic reaction

ROS are the core substances for photodynamic therapy, with photosensitizers serving as the inducing agent. Photosensitizers absorb light energy to the first exited singlet state (summarized in Table S5), converting to the long-lived triplet states afterwards and reacting with oxygen in water through Type-I (electron transfer) or Type-II (energy transfer) mechanisms to form ROS (1O2, O2.− and ·OH). The heat dissipated from photodynamic reaction may synergistically shocks the bacteria, increasing their susceptibility to other antimicrobial agents [283].

3. Biological control process

3.1 Phage-based antimicrobial process

Phages present a highly selective antimicrobial method at the strain-level [284]. They are capable of precisely splitting the target host cells via natural parasitic process, without significantly affecting other bacteria, viruses, fungi and protozoa, even counteractive towards ARGs [285].

3.2 Genetic engineering based antimicrobial process

- Toxin–antitoxin (TA) systems

TA loci are widely naturally contained inside the free-living bacterium while rarely presented in eukaryotic systems [286]. The toxic protein is stable, while the antitoxin is unstable within cells and easy to be degraded upon plasmid loss, resulting in the toxin-mediated death [287]. Identification of the bacterial toxin proteins has inspired the development and design of antimicrobial peptides. Toxins can target various cellular components, including the extracellular space, imbalanced cell membrane potential, DNA or RNA structures to impair the replication and translation, respectively, and induce metabolic stress [287, 288]. The toxin-mediated bacterial inactivation is a conserved mechanism that is not prone to inducing bacterial resistance, unless more than three mutations happen individually. Stress-induced upregulation of toxin factors has been harnessed to induce a "suicidal effect" for antibacterial purposes [289].

- CRISPR/Cas systems

The CRISPR systems serve as natural defense barriers developed by bacteria in their evolutionary competition with phages. CRISPR consists of repetitive and spacer DNA sequences, recording the previously infected phage genomes. Subsequently formed CRISPR-Cas complex endows the specific recognition and cleavage of recorded foreign genetic materials [290, 291]. Artificially replacing the target sequences in CRISPR spacers facilitates the gene-level targeting of pathogens (including the antibacterial [290, 291], anti-viral [292], anti-fungal [293] and anti-protozoa [294] practice), as well as the intracellular ARGs [295].

3.3 Biological intervention based on macroscopical ecology

- Microalgae

The microalgae culture and mixed consortium of microalgae, bacteria, and other microorganisms are not designed for pathogen removal, but concomitantly creating the micro-environment that unfavorable for pathogen survival [296]. Microalgae occasionally prey on the tiny viruses and bacteria, also competing with the heterotrophic bacteria and protozoa for carbon source. The close interactions make them to form the denser cell agglomeration, whereby accelerating the settlement of pathogens [297]. Algal secondary metabolites (such as fatty acids, glycolipids, phenols, terpenes, β-diketones, and indole alkaloids) also exhibit antibiotic-like effects [298]. Algal-bacterial consortium significantly reduce the exogenous ARGs, which is attributed to the ARGs capture by EPS and the intracellular transcription interference via certain DNA self-protection mechanisms [299]. Moreover, the increasing pH and dissolved oxygen promote the photosensitive effects of intracellular endogenous photosensitizers, intensify the injure of DNA and membrane structure [300]. Synergistical BCs removal can be improved by rationally adjusting the culture parameters without compromising the functionality of microalgae.

- Earthworm filter

Earthworms exhibit cross-linked ecological relationships mainly with protozoa and bacteria (natural predation, parasitism and symbiosis), partially eliminating the pathogenic bacteria, fungi, protozoa and ARGs [97]. Earthworms form dense biofilms in the gut, selectively preserving the microbial constitutes that significantly distinct from environmental flora [301]. Coelomic fluid of earthworms contains complex immune substances, such as lectins, phenoloxidase, cecropins, and lumbricins [302], which can effectively combat the pathogens.

4. Integrated techniques

4.1 Photo-, sono- and electro-catalysis nanomaterials

Light-driven nanotechnology presents green and energy-efficient options that can be combined via flexible settings. Essentially, electrons are excited by light absorption and from the valence band to the conduction band, leaving holes as reactive centers for rapid ROS initiation. Under the treatment of ultrasound (20 kHz-3 MHz), sonosensitive nanomaterials can be well pre-dispersed in aqueous matrix, primarily absorbing the vibrational energy and the dissipated energy from cavitation to induce ROS (assisted by piezoelectric effects) [303]. Generally, prevalent semiconductors are also endowed with sonosensitive properties [304]. Semiconductor-like nanomaterials are also used as electrodes in the forms of coating, nanosheet and nanowires. Dense networks composed of metal-based nanowires (e.g., Ag, Co3O4, CuO, and ZnO) and carbon-based nanomaterials (e.g., graphene) are known as highly efficient electrode morphologies, and harnessed in antimicrobial processes dominated by electrocatalytic trapping, electrooxidation and electroporation mechanisms [305]. These ROS-based integrations have advantages of broad-spectrum and highly effective inactivation.

4.2 Hybrid membrane process

Nanomaterials [306], photosensitizers [307] and strong oxidants such as persulfate and peracetic acid [308] are immobilized on membrane to enhance the ROS production, indiscriminately removing the BCs and other membrane fouling substances. The condensed biofilms on membrane construct a favorable microenvironment for phages, omitting some survival cost due to the easier adsorption [309]. Highly concentrated phage solutions efficiently mitigate the biofouling for ultrafiltration [310] and membrane bioreactors [311].

4.3 Phage-based combined process

Synergism exists between the sequential combination of phages and conventional disinfection (solar, chlorine and UV) [311-313]. Mono-phage treatment down-regulate the bacterial defense system (including cell wall protecting, ROS scavenging and DNA repair genes), thereby decreasing the bacterial resistance to conventional disinfectants [312]. On the other hand, studies have immobilized the phages onto carriers to create confined higher phage-host ratios and facilitate the phagelysis process [314], to tackle the limitations of low bacterial loads.

Text S2. Electrical energy per order (EEO) calculation of the emerging technologies

If the collected literature includes the calculation of EEO, it will be directly compiled. EEO of the conventional disinfection (chlorine, UV and ozonation) are all directly compiled. In cases where the literature does not provide the EEO calculation, it will be estimated as outlined below based on experimental materials and procedures.

- Nanotechnology

For mono-nanomaterials, energy consumption primarily arises from the indirect energy usage associated with material synthesis rather than direct electrical consumption. Consequently, their cost is converted to EEO as Eq. 1.

EEO=Cost0.04V×lgC0Ct# AUTONUM  \* Arabic

where EEO is the required electrical energy to inactivate the pathogens by 1 log, kWh·m-3; Cost is the estimated cost of nanomaterial synthesis, USD, inquiring at the website: https://inscx.com/shop/; 0.04 is the electrical charges, USD·kWh-1, V is the treated water volume, m3; C0 is the initial pathogen concentration; and Ct is the pathogen concentration at treatment time t.

- AOP

For electrooxidation and non-thermal plasma, energy consumption primarily arises from direct electrical consumption as calculated by the average current and voltage (Eq. 2).

EEO=UIt/1000V×lgC0Ct# AUTONUM  \* Arabic

where U is average voltage, V; I is average current, A; t is the treatment time, h.

For the processes driven by light (UV-based and photodynamic reaction), energy consumption arises from direct electrical consumption and indirect energy usage associated with photocatalyst (if any), as calculated by Eq. 3.

EEO=Pt+Cost0.04V×lgC0Ct# AUTONUM  \* Arabic

where P is the light power, kW; Cost is the price of photocatalyst, USD, inquiring at the website: https://www.sigmaaldrich.com/

- Biological control process

For phage-based treatment, energy consumption is estimated by the average operating consumption of 70085.6 kWh/1000 m3 based on previous records [315], for the initial phage concentration of 108 PFU·mL-1 (Eq. 4).

EEO=Cp108×70085.61000V×lgC0Ct# AUTONUM  \* Arabic

where Cp is the initial phage concentration in different cases.

For microalgae cultivation, energy consumption is estimated by the average operating consumption of 0.64 kWh·m-3 water, for 10 days (Eq. 5) [316].

EEO=Tm10×0.64V×lgC0Ct# AUTONUM  \* Arabic

where Tm is the operating time of microalgae reactors in different cases.

For earthworm filter, energy consumption is estimated by the average operating consumption of 4520 MJ (1255.56 kWh)/0.125 m3 for operating 6 h (Eq. 6), according previous reports [317].

EEO=Tm6×1255.560.125V×lgC0Ct# AUTONUM  \* Arabic

where Tm is the operating time of earthworm filter in different cases.

- Integrated techniques

Energy consumption arises from direct electrical consumption and indirect energy usage associated with the synthesis of chemical or biological agents, based on the above calculation (Eq. 7).

EEO=P1t+P2t…+Cost10.04+Cost20.04+…V×lgC0Ct# AUTONUM  \* Arabic

where P1, P2, … are the electric power for light, ultrasonic and electrooxidation, kW; Cost1, Cost2… are the price of chemicals or nanomaterials, USD, inquiring at the website: https://www.sigmaaldrich.com/ for oxidants or https://inscx.com/shop/ for nanomaterials.

Text S3. Collection and Calculation of the indices in the semi-quantitative framework

- Basic information

Taget: disinfection unit (from influent to effluent)

Water treatment scale: lab-scale or pilot scale (adopting 1000 m3·d-1 for the calculation for operating cost and LCA).

Basic parameters and data for calculation are summarized below.

Table S3-1. Basic parameters for cost and LCA estimation

|  | Dose of disinfectants | Treatment time | Waste output | References (Pilot to full-scale) |
| --- | --- | --- | --- | --- |
| Zn/Cu nanocomposite | 115.7 mg·L-1 | 28 min | Cu foam 28408 kg | [318] |
|  | 34.3 mg·L-1 | 27 min | Cu nanoparticles 312.99 kg | [319] |
| Non-thermal plasma | - | 90 min | NO3- 15 mg·L-1; NO2- 0.05 mg·L-1 | [115, 320] |
|  | - | 6 min | NO3- 3 mg·L-1; NO2- 0.01 mg·L-1 | [153, 320] |
| Phage-based treatment | 5.1×106 PFU·mL-1 | 1 h | CO2 (microbial respiration) 1228.9 kg | [321, 322] |
|  | 2.7×107 PFU·mL-1 | 24 h | CO2 (microbial respiration) 6505.78 kg | [321, 322] |
| Photocatalytic nanocomposites (Ag/TiO2/ graphene oxide) | 100 mg·L-1 | 30 min | Ag/TiO2/graphene oxide 30.42 kg (reuse 1200 times) | [251] |
|  | 100 mg·L-1 | 30 min | Ag/TiO2/graphene oxide 30.42 kg (reuse 1200 times) | [251] |
| Chlorine | 3.8 mg·L-1 | 9 min | Residual chlorine 0.33 mg·L-1 (undergoing the dichlorination); trichlormethane 50 μg·L-1 | [323, 324] |
|  | 1 mg·L-1 | 0.6 min | Residual chlorine 0.5 mg·L-1; trichlormethane 2.5 μg·L-1 | [325, 326] |
| UV | 80 mJ·cm-2 | 13.3 min | - | [327] |
|  | 10 mJ·cm-2 | 1.66 min | - | [328] |
| Ozonation | 3 mg·L-1 | 15 min | Residual ozone 0.2 mg·L-1 Bromate 20 μg·L-1 | [329-331] |
|  | 0.8 mg·L-1 | 7.4 min | Residual ozone 0.3 mg·L-1 Bromate 8 μg·L-1 | [332-334] |

Notes: data that bottomed gray are for wastewater treatment and data unmarked are for drinking water treatment.

- Overall inactivation rate

Point estimation of the immediate inactivation efficiency towards indicator bacteria in the wastewater or drinking water, calculated by Eq. 8 or directly implied from the literature.

Overall inactivation rate=lg⁡(C0Ct)t# AUTONUM  \* Arabic

where t is the treatment time; C0 is the initial pathogen concentration and Ct is the pathogen concentration at treatment time t.

- Growth inhibition

Point estimation of the long-term (at least for one growth cycle) inactivation efficiency towards indicator bacteria in the culture media, calculated by Eq. 9 or directly implied from the literature.

Growth inhibition=lg⁡(Ct1Ct)t# AUTONUM  \* Arabic

where Ct1 is the pathogen concentration at t without treatment.

- ARGs removal rate

Point estimation of the immediate ARGs removal efficiency in the wastewater or drinking water, calculated by Eq. 10 or directly implied from the literature.

ARGs removal rate=lg⁡(N0Nt)t# AUTONUM  \* Arabic

where N0 is the initial ARGs concentration and Nt is the ARGs concentration at treatment time t.

- Operating cost

Annual operating cost =Annual chemical cost+ Water cost + labor cost + operation and maintenance cost+ electricity cost referred from [335]

Water cost is unified into 600 USD calculated based on the treatment scale (1000 m3·d-1);

Labor costs is unified into 30000 USD for 3 workers

Operation and maintenance cost= Fixed asset investment×3%

Electricity cost= 0.04 USD·kW·h-1×energy consumption

Operating cost of the emerging technologies are estimated by the existing EEO values.

- Immobilized Cu nanocomposites

- Wastewater treatment

Cost of material (Cu foam) =260.78/30/618.75 USD/g×1160 g×106×365 L/14904L= 399157.33 USD

Electricity cost=0.0054 kWh·m-3 [336]×1000 m3·d-1 ×365 d ×0.04 USD·kW·h-1=78.8 USD

Operating cost=399157.33+600+30000+3%×67600 [336]+78.8=431861.13 USD

- Drinking water treatment

Cost of raw material=1.06 USD/g×0.0686 g×106×365 L/80L= 331766.75 USD

Electricity cost=0.0054 kWh·m-3 [336]×1000 m3·d-1×365 d ×0.04 USD·kW·h-1=78.8 USD

Operating cost=331766.75+600+30000+3%×67600 [336]+78.8=362445.55 USD

- Non-thermal plasma

- Wastewater treatment

Energy consumption=2.2 kWh·m-3 [337]× 1000 m3·d-1 ×365 d =803000 kWh

Electricity cost=803000 kWh×0.04 USD·kW·h-1=32120 USD

Operating cost=600 + 30000+3%× (106 + 106.5) [338]+3212=155468.33 USD

- Drinking water treatment

Energy consumption=7 kWh·m-3 [153]× 1000 m3·d-1 ×365 d =2555000  kWh

Electricity cost=2555000 kWh×0.04 USD·kW·h-1=102200 USD

Operating cost=600 + 30000+3%× (106 + 106.5) [338]+102200=257668.33 USD

- Phage-based treatment

- Wastewater treatment

Dosage of phage: 5.1×106 PFU·mL-1; Dosage of phage mother liquor: 1010 PFU·mL-1; Volume of bioreactor/culture medium: 50 L

Electricity cost+ material cost=3.843 ×10-14 USD/PFU [339] ×5.1 ×106 ×109 mL ×365 d=71537.445 USD

Water, labor and maintenance costs = 600 + 30000 + (33599×50 L) USD [340] ×0.03 = 80998.5 USD

Operating cost=71537.445+80998.5=152535.95 USD

- Drinking water treatment

Dosage of phage: 2.7×107 PFU·mL-1; Dosage of phage mother liquor: 1010 PFU·mL-1; Volume of bioreactor/culture medium: 50 L

Electricity cost+ material cost=3.843 ×10-14 USD/PFU [339] ×2.7 ×107 ×109 mL ×365 d=378727.65 USD

Water, labor and maintenance costs = 600 + 30000 + (33599×50 L) USD [340] ×0.03 = 80998.5 USD

Operating cost=378727.65+80998.5=459726.15 USD

- Photocatalytic nanocomposites (wastewater & drinking water treatment)

Dosage of Ag/TiO2/graphene oxide material: 100 mg·L-1.

As recorded by [251], catalyst cost is 14.25 USD/g. The catalytic materials are potentially long-term effective.

To achieve a treatment capacity of 1000m3·d-1, now hypothesis that: 1) 5 batch reactors are used, each treat 5 m3 for a cycle and total treatment time is 15 h (30 cycles·d-1); 2) catalyst in each reactor is changed every 30 days.

Electricity cost=0.0054 kWh·m-3 [336]×1000 m3·d-1 ×365 d×0.04 USD·kW·h-1=78.8 USD

Water cost + labor cost + operation and maintenance cost = 600 + 30000 + 3%×67600 [336] (same as [335])= 32628 USD

Catalyst cost: 14.25×100 mg·L-1×106L·d-1×10-3/900×365=433437.5 USD

Operating cost=78.8 + 32628 + 433437.5= 466144.3 USD

- Chlorine

- Wastewater treatment

Chemical cost (NaClO, 10% wt): 3.8×10-3 kg ·m-3×1000m3·d-1×365d×0.733 USD·kg-1 =802.635 USD

Water cost + labor cost + operation and maintenance cost = 600 + 30000 + Fixed asset investment×3%= 600 + 30000 + 922000 USD×1000m3·d-1 /390L·s-1×3% [341] = 31464.94 USD

Operating cost=31464.94+802.635 =32267.58 USD

- Drinking water treatment

On-site sodium hypochlorite generation.

Chemical cost (NaClO, 10% wt): 1×10-3 kg ·m-3×1000m3·d-1×365d×0.733 USD/kg=267.55 USD

Water cost + labor cost + operation and maintenance cost = 600 + 30000 + Fixed asset investment×3%= 600 + 30000 +488300 USD×1000m3·d-1 /20×106 gal·d-1×3% [341]=30793.49 USD

Operating cost=30793.49+267.55=31061.04 USD

- UV

- Wastewater treatment

Energy consumption: 0.00039 kWh/(mJ·cm-2) [182] ×80 mJ·cm-2 ×1000 m3×365d=11388 kWh

Water cost + labor cost + operation and maintenance cost = 600 + 30000 + Fixed asset investment×3%= 600 + 30000 +161700 USD [342]×0.03=35451 USD

Operating cost=35451+11388 kWh×0.04 USD·kWh-1 =35906.52 USD

- Drinking water treatment

Energy consumption: 0.00039 kWh/(mJ·cm-2) [182] ×10 mJ·cm-2 ×1000 m3×365d=1423.5 kWh

Water cost + labor cost + operation and maintenance cost = 600 + 30000 + Fixed asset investment×3%= 600 + 30000 +161700 USD [342]×0.03=35451 USD

Operating cost=35451+1423.5 kWh×0.04 USD·kWh-1 =35507.94 USD

- Ozonation

- Wastewater treatment

Energy consumption: 0.00011 kWh/mg [182]×3 mg·L-1×106 L·d-1×365d=120450 kW·h

Water cost + labor cost + operation and maintenance cost = 600 + 30000 + Fixed asset investment×3%= 600 + 30000 +2000000 [343] USD×3%=90600 USD

Operating cost=90600+120450 kWh×0.04 USD·kWh-1 =95418 USD

- Drinking water treatment

Energy consumption: 0.00011 kWh/mg [182]×0.8 mg·L-1×106 L·d-1×365d=32120 kW·h

Water cost + labor cost + operation and maintenance cost = 600 + 30000 + Fixed asset investment×3%= 600 + 30000 +2000000 [343] USD×3%=90600 USD

Operating cost=90600+32120 kWh×0.04 USD·kWh-1 =91884.8 USD

- Human health, global warming and freshwater ecotoxicity

Following the EPA 600/R-14/377, the three indices are calculated by LCA system, using the Simapro 9.0.0.4.8 based on Ecoinvent 3 database and TRACI 2.1. Input and output of the raw materials acquisition, production and waste treatment are listed below.

| Table S3-2. Detailed input data for LCA estimation |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Scheme 1: Immobilized Cu nanocomposites |  |  |  |  |  |  |
| Raw materials acquisition |  |  |  |  |  |  |
| Stage | Name | Material quality | Number | Unit | Transportation distance | Modes of transport |
| Input | Copper sheets | Metal salt | 28408 | kg | 1 km | Lorry |
| Input | Copper, cathode | Metal salt | 312.99 | kg | 1 km | Lorry |
| Production |  |  |  |  |  |  |
| Input | Electricity | Medium Voltage | 1970 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Input | Electricity | Medium Voltage | 1970 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Waste treatment |  |  |  |  |  |  |
| Landfill | Copper | nanomaterials | 28408 | kg | - | - |
| Landfill | Copper | nanomaterials | 312.99 | kg | - | - |
| Scheme 2: non-thermal plasma |  |  |  |  |  |  |
| Raw materials acquisition |  |  |  |  |  |  |
| Stage | Name | Material quality | Number | Unit | Transportation distance | Modes of transport |
| Input | Air | Natural gas | 2.1×1010 | kg |  |  |
|  | Air | Natural gas | 1.4×109 | kg |  |  |
| Production |  |  |  |  |  |  |
| Input | Electricity | Medium Voltage | 803000 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Input | Electricity | Medium Voltage | 2555000 | kWh | - |  |
|  | Water | Tap water | 60000 | m3 | - |  |
| Output | NO3- | Nitrogen oxide | 5475 | kg |  | 2555 |
|  | NO2- | Nitrogen oxide | 18.25 | kg |  | 7.3 |
| Output | NO3- | Nitrogen oxide | 1095 | kg |  |  |
|  | NO2- | Nitrogen oxide | 3.65 | kg |  |  |
| Scheme 3: phage-based therapy |  |  |  |  |  |  |
| Raw materials acquisition |  |  |  |  |  |  |
| Stage | Name | Material quality | Number | Unit | Transportation distance | Modes of transport |
| Input | Protein feed | Organic composite | 735 | kg | 1 km | Lorry |
|  | Sodium chloride (bacterial inoculum) | Metal salt | 500 | kg | 1 km | Lorry |
| Input | Protein feed | Organic composite | 3900 | kg | 1 km | Lorry |
|  | Sodium chloride (bacterial inoculum) | Metal salt | 2650 | kg | 1 km | Lorry |
| Production |  |  |  |  |  |  |
| Input | Electricity | Medium Voltage | 3574.47 | kWh | - | - |
|  | Water | Tap water | 60500 | m3 | - | - |
| Output | CO2 (Bacterial respiration) | Gas | 1228.9 | kg | - | - |
| Input | Electricity | Medium Voltage | 18923.1 | kWh | - | - |
|  | Water | Tap water | 63000 | m3 | - | - |
| Output | CO2 (Bacterial respiration) | Gas | 6505.78 | kg | - | - |
| Scheme 4: Ag/TiO2/graphene oxide nanocomposite |  |  |  |  |  |  |
| Raw materials acquisition |  |  |  |  |  |  |
| Stage | Name | Material quality | Number | Unit | Transportation distance | Modes of transport |
| Input | AgNO3 | Metal salt | 13.04 | kg | 1 km | Lorry |
|  | TiO2 | Metal oxide | 34.76 | kg | 1 km | Lorry |
|  | Graphene oxide | nanomaterials | 8.69 | kg | 1 km | Lorry |
| Production |  |  |  |  |  |  |
| Input | Electricity | Medium Voltage | 1970 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Waste treatment |  |  |  |  |  |  |
| Landfill | Ag/TiO2/graphene oxide nanocomposite | nanomaterials | 30.4177 | kg | - | - |
| Scheme 5: Chlorine disinfection |  |  |  |  |  |  |
| Raw materials acquisition |  |  |  |  |  |  |
| Stage | Name | Material quality | Number | Unit | Transportation distance | Modes of transport |
| Input | Sodium chloride | Metal salt | 1387 | kg | 1 km | Lorry |
|  | Sodium chloride | Metal salt | 365 | kg | 1 km | Lorry |
| Production |  |  |  |  |  |  |
| Output | Residual Chlorine | Inorganic substance | 120.45 | kg | - | - |
|  | Trichlormethane | Organic byproducts | 18.25 | kg | - | - |
|  | Residual Chlorine | Inorganic substance | 182.5 | kg | - | - |
|  | Trichlormethane | Organic byproducts | 0.9125 | kg | - |  |
| Scheme 6: UV disinfection |  |  |  |  |  |  |
| Raw materials acquisition |  |  |  |  |  |  |
| Stage | Name | Material quality | Number | Unit | Transportation distance | Modes of transport |
| Input | none |  |  |  |  |  |
| Production |  |  |  |  |  |  |
| Input | Electricity | Medium Voltage | 11388 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Input | Electricity | Medium Voltage | 1423.5 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Scheme 7 Ozonation |  |  |  |  |  |  |
| Raw materials acquisition |  |  |  |  |  |  |
| Stage | Name | Material quality | Number | Unit | Transportation distance | Modes of transport |
| Input | Oxygen | Liquid | 1642.5 | kg | 1 km | Lorry |
|  | Oxygen | Liquid | 438 | kg | 1 km | Lorry |
| Production |  |  |  |  |  |  |
| Input | Electricity | Medium Voltage | 120450 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Input | Electricity | Medium Voltage | 32120 | kWh | - | - |
|  | Water | Tap water | 60000 | m3 | - | - |
| Output | Residual ozone | Inorganic substance | 73 | kg | - | - |
|  | Bromate | Organic byproducts | 7.3 | kg | - | - |
| Output | Residual ozone | Inorganic substance | 109.5 | kg | - | - |
|  | Bromate | Organic byproducts | 2.92 | kg | - | - |
| Notes: data that bottomed gray are for wastewater treatment and data unmarked are for drinking water treatment. |  |  |  |  |  |  |

|  | Ozone depletion | Global warming | Smog | Acidification | Eutrophication | Carcinogenics | Non carcinogenics | Respiratory effects | Ecotoxicity | Fossil fuel depletion | Human health (carcinogenic toxicity+ non-carcinogenic toxicity) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| unit | kg CFC-11 eq | kg CO2 eq | kg O3 eq | kg SO2 eq | kg N eq | CTUh | CTUh | kg PM2.5 eq | CTUe | MJ surplus | CTUh |
| Scheme 1 | 0.006150492 | 31813.778 | 2788.0796 | 492.68461 | 773.35409 | 0.016772294 | 0.20245852 | 75.512999 | 833600650 | 36089.363 | 0.219230814 |
| Scheme 1 | 0.002618183 | 15701.181 | 1278.0208 | 168.38431 | 233.06638 | 0.011708029 | 0.060357919 | 29.851332 | 10418470 | 16897.071 | 0.072065948 |
| Scheme 2 | 0.04733636 | 211675.56 | 5401.6467 | 354.15572 | 1419.382 | 0.013062863 | 0.025693539 | 50.900792 | 515033.84 | 525542 | 0.038756402 |
| Scheme 2 | 0.14765683 | 645905.23 | 15277.809 | 995.62101 | 564.57634 | 0.019833281 | 0.05634708 | 125.29645 | 1105551.7 | 1647451.4 | 0.076180361 |
| Scheme 3 | 0.001585022 | 15015.364 | 912.91951 | 62.808955 | 41.611223 | 0.010072578 | 0.011919455 | 17.29362 | 250235.65 | 13844.54 | 0.021992033 |
| Scheme 3 | 0.002575887 | 25231.942 | 1080.6601 | 74.582733 | 48.512481 | 0.010615735 | 0.01317147 | 19.501397 | 276833.78 | 24694.269 | 0.023787205 |
| Scheme 4 | 0.00234122 | 18484.406 | 1885.048 | 116.04455 | 206.77123 | 0.011525082 | 0.051604236 | 25.879604 | 2709616.6 | 18384.495 | 0.063129318 |
| Scheme 4 | 0.00234122 | 18484.406 | 1885.048 | 116.04455 | 206.77123 | 0.011525082 | 0.051604236 | 25.879604 | 2709616.6 | 18384.495 | 0.063129318 |
| Scheme 5 | 0.015589454 | 39570.558 | 2395.9386 | 194.35907 | 155.1764 | 0.011915638 | 0.023880978 | 53.844192 | 515922.88 | 31658.362 | 0.035796616 |
| Scheme 5 | 0.005101744 | 19737.02 | 1275.2995 | 95.468697 | 70.35383 | 0.010472947 | 0.014859711 | 26.550504 | 315678.51 | 16682.163 | 0.025332658 |
| Scheme 6 | 0.002008226 | 15476.123 | 939.26721 | 64.320313 | 41.242737 | 0.010003763 | 0.011843248 | 17.286353 | 248218.21 | 18625.944 | 0.021847011 |
| Scheme 6 | 0.001437653 | 13006.441 | 883.09653 | 60.67198 | 40.207951 | 0.009965256 | 0.011668906 | 16.863228 | 244859.64 | 12245.084 | 0.021634162 |
| Scheme 7 | 0.008352027 | 44365.359 | 1657.2454 | 112.40507 | 59.808576 | 0.010528557 | 0.014135098 | 25.001599 | 296947.52 | 89794.802 | 0.024663655 |
| Scheme 7 | 0.003221712 | 21110.091 | 1083.6517 | 74.085264 | 45.326378 | 0.010111436 | 0.012308293 | 18.989133 | 258397.89 | 32256.538 | 0.022419729 |

Table S3-3. Output data for LCA estimation

Notes: data that bottomed gray are for wastewater treatment and data unmarked are for drinking water treatment.

Table S3-4. Summary of all the indices

|  | Overall inactivation rate (min-1) | Growth inhibition (h-1) | ARG removal rate (min-1) | Human health** (CTUh) | Global warming** (kg CO2/year) | Operating cost ($/year) | Freshwater ecotoxicity** (CTUe) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Scheme 1 | 0.0998 [318] | 0.292 [344] | 0.00162 [345] | 0.219230814 | 31813.778 | 431861.13 | 833600650 |
|  | 0.159 [319] | 0.083 [344] | 0.00072 [346],a | 0.072065948 | 15701.181 | 331766.75 |  |
| Scheme 2 | 0.4 [115] | 1.54 [347] | 0.112 [348] | 0.038756402 | 211675.56 | 155468.33 | 515033.84 |
|  | 1.67 [153] | 0.54 [349] | 0.42 [245] | 0.076180361 | 645905.23 | 257668.33 |  |
| Scheme 3 | 0.00594 [321] | 1.94 [350] | 10-9 (≈0) b | 0.021992033 | 15015.364 | 152535.95 | 250235.65 |
|  | 0.000116 [321] | 1.94 [350] | 10-9 (≈0) b | 0.023787205 | 25231.942 | 459726.15 |  |
| Scheme 4 | 0.2 [251] | 2.04 [351] | 0.055 [251] | 0.067171067 | 45859.216 | 492616.3 | 3666824.4 |
|  | 0.537[251] | 2.04 [351] | 0.124 [251] | 0.067171067 | 45859.216 | 492616.3 |  |
| Scheme 5 | 0.332 [323] | 1.885 [352] | 0.0112 [353] | 0.035796616 | 39570.558 | 32267.58 | 515922.88 |
|  | 8.33 [326] | 0.03 [352] | 0.17 [233] | 0.025332658 | 19737.02 | 31061.04 |  |
| Scheme 6 | 0.338 [327] | 1.83 [354] | 0.0544 [353] | 0.021847011 | 15476.123 | 35906.52 | 248218.21 |
|  | 2.406 [328] | 0.802 [355] | 0.033 [233] | 0.021634162 | 13006.441 | 35507.94 |  |
| Scheme 7 | 0.2 [329] | 0.0296 [356] | 0.0257 [353] | 0.024663655 | 44365.359 | 95418 | 296947.52 |
|  | 0.534 [332] | 0.0079 [356] | 0.8 [233] | 0.022419729 | 21110.091 | 91884.8 |  |

a: Replacing with the ARGs removal of Fe-NPs.

b: Phages almost do not remove ARGs.

Data that bottomed gray are for wastewater treatment and data unmarked are for drinking water treatment.

Text S4. AHP method and expert scoring to determine weights

- Determination of index weights

The goal is to obtain the relative importance ranking of the indices at the scenarios of wastewater and drinking water treatment. It was carried out by survey, which included anonymous experts from several Chinese countries that dedicated to environmental engineering design or research. The pairwise comparisons of indices were conducted by 15 experts to form the judgment matrix A, respectively (Eq. 15, as ruled in the classic AHP 1-9 scale[357]).

AUTONUM  \* Arabic

Among them, yij=

1: Elements i and j are equally important

2-3: i is slightly more important than j

5-6: i is moderately more important than j

7-8: i is strongly more important than j

9: i is extremely more important than j

1/3-1/2: i is slightly less important than j

1/6-1/5: i is moderately less important than j

1/8-1/7: i is strongly less important than j

1/9: i is extremely less important than j

Feature vectors are extracted as follow, and all integrated to one matrix for calculating the ultimate average weights.

Wi=(j=1naij)1ni=1n(j=1naij)1n   ,    i=1,2,3..,n                        AUTONUM  \* Arabic

Since the judgment matrix A is assigned subjectively, a one-time test is needed to evaluate the reliability of the judgment matrix. The reliability of the judgment matrix is judged by the consistency ratio CR (Eq. 17-19). After calculation, we acquired 10 judgment matrix A has passed the consistency test.

AUTONUM  \* Arabic

Among them,

AUTONUM  \* Arabic

AUTONUM  \* Arabic

- AHP Expert Scoring Survey

Dear Expert xx,

Greetings. This questionnaire is designed to assess the disinfection effectiveness of wastewater and drinking water treatment by categorizing and summarizing the indicators based on their interrelationships and performing pairwise comparisons. You are invited to score the weight coefficients for each pair of indicators according to their importance based on your expertise. The outcomes of this survey will serve as a crucial foundation for constructing the judgment matrix in the AHP. You should score the relative importance of each indicator at the scenarios of wastewater treatment and drinking water treatment, respectively, using a nine-point scale. Below is the evaluation system of indicators for this research study:

Scoring standard:

- Elements i and j are equally important: 1

- i is slightly more important than j: 3

- i is moderately more important than j: 5

- i is strongly more important than j: 7

- i is extremely more important than j: 9

- i is slightly less important than j: 1/3

- i is moderately less important than j: 1/5

- i is strongly less important than j: 1/7

- i is extremely less important than j: 1/9

Scoring Requirements:

- The scoring must satisfy the principle of consistency among the same level of factors.

For example, if A > B and B > C, then A > C must hold; otherwise, the survey is invalid. (Important!!!)

- This questionnaire is single-choice.

- Wastewater treatment (21 questions)

In your opinion, regarding the seven indicators for disinfection effectiveness in wastewater, what is the relative importance of the seven indicators? (The options closer to the left indicate that the left indicator is more important than the right, and the options closer to the right indicate that the right indicator is more important than the left.) (The explanations for each indicator are provided in parentheses below the indicators.)

- Overall inactivation rate vs microbial growth inhibition

- Overall inactivation rate vs ARGs removal rate

- Overall inactivation rate vs human health

- Overall inactivation rate vs global warming

- Overall inactivation rate vs operating cost

- Overall inactivation rate vs freshwater ecotoxicity

- Growth inhibition vs ARGs removal rate

- Growth inhibition vs human health

- Growth inhibition vs global warming

- Growth inhibition vs operating cost

- Growth inhibition vs freshwater ecotoxicity

- ARGs removal rate vs human health

- ARGs removal rate vs global warming

- ARGs removal rate vs operating cost

- ARGs removal rate vs freshwater ecotoxicity

- Human health vs global warming

- Human health vs operating cost

- Human health vs freshwater ecotoxicity

- Global warming vs operating cost

- Global warming vs freshwater ecotoxicity

- Operating cost vs freshwater ecotoxicity

- Drinking water treatment (15 questions)

In your opinion, regarding the six indicators for disinfection effectiveness in drinking water treatment, what is the relative importance of the seven indicators? (The options closer to the left indicate that the left indicator is more important than the right, and the options closer to the right indicate that the right indicator is more important than the left.) (The explanations for each indicator are provided in parentheses below the indicators.)

- Overall inactivation rate vs microbial growth inhibition

- Overall inactivation rate vs ARGs removal rate

- Overall inactivation rate vs human health

- Overall inactivation rate vs global warming

- Overall inactivation rate vs operating cost

- Growth inhibition vs ARGs removal rate

- Growth inhibition vs human health

- Growth inhibition vs global warming

- Growth inhibition vs operating cost

- ARGs removal rate vs human health

- ARGs removal rate vs global warming

- ARGs removal rate vs operating cost

- Human health vs global warming

- Human health vs operating cost

- Global warming vs operating cost

- AHP Expert Scoring results

Table S2-1. Expert Scoring Matrix: Wastewater treatment

| Expert 1: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 6 | 9 | 5 | 5 | 5 | 9 | 0.4508 |  |  |  |
| 1/6 | 1 | 6 | 1/2 | 1/2 | 1/2 | 6 | 0.0897 |  |  |  |
| 1/9 | 1/6 | 1 | 1/6 | 1/6 | 1/6 | 1 | 0.0245 |  |  |  |
| 1/5 | 2 | 6 | 1 | 1 | 1 | 6 | 0.1368 |  |  |  |
| 1/5 | 2 | 6 | 1 | 1 | 1 | 6 | 0.1368 |  |  |  |
| 1/5 | 2 | 6 | 1 | 1 | 1 | 6 | 0.1368 | λmax | CI | CR |
| 1/9 | 1/6 | 1 | 1/6 | 1/6 | 1/6 | 1 | 0.0245 | 7.3398 | 0.05663 | 0.0416 |
| Expert 2: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 6 | 9 | 4 | 4 | 4 | 9 | 0.4267 |  |  |  |
| 1/6 | 1 | 8 | 1/2 | 1/2 | 1/2 | 8 | 0.1014 |  |  |  |
| 1/9 | 1/8 | 1 | 1/5 | 1/5 | 1/5 | 1 | 0.0265 |  |  |  |
| 1/4 | 2 | 5 | 1 | 1 | 1 | 5 | 0.1396 |  |  |  |
| 1/4 | 2 | 5 | 1 | 1 | 1 | 5 | 0.1396 |  |  |  |
| 1/4 | 2 | 5 | 1 | 1 | 1 | 5 | 0.1396 | λmax | CI | CR |
| 1/9 | 1/8 | 1 | 1/5 | 1/5 | 1/5 | 1 | 0.0265 | 7.3742 | 0.06236 | 0.0459 |
| Expert 3: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 2 | 0.2396 |  |  |  |
| 1/5 | 1 | 1 | 9 | 1/5 | 1/5 | 1/3 | 0.0623 |  |  |  |
| 1/5 | 1 | 1 | 9 | 1/5 | 1/5 | 1/3 | 0.0623 |  |  |  |
| 1/6 | 1/9 | 1/9 | 1 | 1/6 | 1/6 | 1/5 | 0.0209 |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 2 | 0.2396 |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 2 | 0.2396 | λmax | CI | CR |
| 1/2 | 3 | 3 | 5 | 1/2 | 1/2 | 1 | 0.1358 | 7.6772 | 0.11287 | 0.083 |
| Expert 4: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 8 | 5 | 8 | 2 | 1 | 3 | 0.292 |  |  |  |
| 1/8 | 1 | 1/4 | 1 | 1/6 | 1/8 | 1/5 | 0.0276 |  |  |  |
| 1/5 | 4 | 1 | 8 | 1/3 | 1/4 | 1/2 | 0.0821 |  |  |  |
| 1/8 | 1 | 1/8 | 1 | 1/5 | 1/6 | 1/4 | 0.0276 |  |  |  |
| 1/2 | 6 | 3 | 5 | 1 | 1/2 | 3 | 0.181 |  |  |  |
| 1 | 8 | 4 | 6 | 2 | 1 | 5 | 0.292 | λmax | CI | CR |
| 1/3 | 5 | 2 | 4 | 1/3 | 1/5 | 1 | 0.0975 | 7.4337 | 0.07228 | 0.0532 |
| Expert 5: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 5 | 5 | 7 | 1 | 1 | 2 | 0.2422 |  |  |  |
| 1/5 | 1 | 1 | 5 | 1/5 | 1/5 | 1/3 | 0.0566 |  |  |  |
| 1/5 | 1 | 1 | 5 | 1/5 | 1/5 | 1/3 | 0.0566 |  |  |  |
| 1/7 | 1/5 | 1/5 | 1 | 1/7 | 1/7 | 1/6 | 0.0223 |  |  |  |
| 1 | 5 | 5 | 7 | 1 | 1 | 2 | 0.2422 |  |  |  |
| 1 | 5 | 5 | 7 | 1 | 1 | 2 | 0.2422 | λmax | CI | CR |
| 1/2 | 3 | 3 | 6 | 1/2 | 1/2 | 1 | 0.1378 | 7.2611 | 0.04351 | 0.032 |
| Expert 6: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 5 | 5 | 9 | 1 | 1 | 2 | 0.2484 |  |  |  |
| 1/5 | 1 | 1 | 3 | 1/5 | 1/5 | 1/4 | 0.05 |  |  |  |
| 1/5 | 1 | 1 | 3 | 1/5 | 1/5 | 1/4 | 0.05 |  |  |  |
| 1/9 | 1/3 | 1/3 | 1 | 1/6 | 1/6 | 1/5 | 0.0264 |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 3 | 0.2484 |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 3 | 0.2484 | λmax | CI | CR |
| 1/2 | 4 | 4 | 5 | 1/3 | 1/3 | 1 | 0.1284 | 7.2338 | 0.03897 | 0.0287 |
| Expert 7: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 6 | 6 | 7 | 1 | 1 | 2 | 0.2461 |  |  |  |
| 1/6 | 1 | 1 | 4 | 1/6 | 1/6 | 1/4 | 0.0469 |  |  |  |
| 1/6 | 1 | 1 | 5 | 1/6 | 1/6 | 1/5 | 0.0469 |  |  |  |
| 1/7 | 1/4 | 1/5 | 1 | 1/7 | 1/7 | 1/5 | 0.0228 |  |  |  |
| 1 | 6 | 6 | 7 | 1 | 1 | 2 | 0.2461 |  |  |  |
| 1 | 6 | 6 | 7 | 1 | 1 | 2 | 0.2461 | λmax | CI | CR |
| 1/2 | 4 | 5 | 5 | 1/2 | 1/2 | 1 | 0.1451 | 7.3459 | 0.05764 | 0.0424 |
| Expert 8: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 3 | 0.2493 |  |  |  |
| 1/5 | 1 | 1 | 4 | 1/5 | 1/5 | 1/4 | 0.0523 |  |  |  |
| 1/5 | 1 | 1 | 4 | 1/5 | 1/5 | 1/4 | 0.0523 |  |  |  |
| 1/6 | 1/4 | 1/4 | 1 | 1/6 | 1/6 | 1/5 | 0.0258 |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 3 | 0.2493 |  |  |  |
| 1 | 5 | 5 | 6 | 1 | 1 | 3 | 0.2493 | λmax | CI | CR |
| 1/3 | 4 | 4 | 5 | 1/3 | 1/3 | 1 | 0.1217 | 7.3879 | 0.06464 | 0.0475 |
| Expert 9: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 5 | 5 | 7 | 1 | 1 | 2 | 0.2401 |  |  |  |
| 1/5 | 1 | 1 | 6 | 1/5 | 1/5 | 1/4 | 0.0553 |  |  |  |
| 1/5 | 1 | 1 | 6 | 1/5 | 1/5 | 1/4 | 0.0553 |  |  |  |
| 1/7 | 1/6 | 1/6 | 1 | 1/7 | 1/7 | 1/6 | 0.021 |  |  |  |
| 1 | 5 | 5 | 7 | 1 | 1 | 2 | 0.2401 |  |  |  |
| 1 | 5 | 5 | 7 | 1 | 1 | 2 | 0.2401 | λmax | CI | CR |
| 1/2 | 4 | 4 | 6 | 1/2 | 1/2 | 1 | 0.1483 | 7.3966 | 0.06609 | 0.0486 |
| Expert 10: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 | Weights |  |  |  |
| 1 | 8 | 6 | 8 | 4 | 1 | 5 | 0.3278 |  |  |  |
| 1/8 | 1 | 1/4 | 1 | 1/6 | 1/8 | 1/5 | 0.0254 |  |  |  |
| 1/6 | 4 | 1 | 5 | 1/5 | 1/6 | 1/4 | 0.0547 |  |  |  |
| 1/8 | 1 | 1/5 | 1 | 1/6 | 1/8 | 1/4 | 0.0254 |  |  |  |
| 1/4 | 6 | 5 | 6 | 1 | 1/5 | 2 | 0.138 |  |  |  |
| 1 | 8 | 6 | 8 | 5 | 1 | 4 | 0.3278 | λmax | CI | CR |
| 1/5 | 5 | 4 | 4 | 1/2 | 1/4 | 1 | 0.1008 | 7.6437 | 0.10729 | 0.0789 |
| Integrated Weight Matrix |  |  |  |  |  |  |  |  |  |  |
| Expert | Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 |  |  |  |
| 1 | 0.4508 | 0.0897 | 0.0245 | 0.1368 | 0.1368 | 0.1368 | 0.0245 |  |  |  |
| 2 | 0.4267 | 0.1014 | 0.0265 | 0.1396 | 0.1396 | 0.1396 | 0.0265 |  |  |  |
| 3 | 0.2396 | 0.0623 | 0.0623 | 0.0209 | 0.2396 | 0.2396 | 0.1358 |  |  |  |
| 4 | 0.292 | 0.0276 | 0.0821 | 0.0276 | 0.181 | 0.292 | 0.0975 |  |  |  |
| 5 | 0.2422 | 0.0566 | 0.0566 | 0.0223 | 0.2422 | 0.2422 | 0.1378 |  |  |  |
| 6 | 0.2484 | 0.05 | 0.05 | 0.0264 | 0.2484 | 0.2484 | 0.1284 |  |  |  |
| 7 | 0.2461 | 0.0469 | 0.0469 | 0.0228 | 0.2461 | 0.2461 | 0.1451 |  |  |  |
| 8 | 0.2493 | 0.0523 | 0.0523 | 0.0258 | 0.2493 | 0.2493 | 0.1217 |  |  |  |
| 9 | 0.2401 | 0.0553 | 0.0553 | 0.021 | 0.2401 | 0.2401 | 0.1483 |  |  |  |
| 10 | 0.3278 | 0.0254 | 0.0547 | 0.0254 | 0.138 | 0.3278 | 0.1008 |  |  |  |
| Integrated Weights |  |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Index 7 |  |  |  |  |
| 0.2963 | 0.0568 | 0.0511 | 0.0469 | 0.2061 | 0.2362 | 0.1066 |  |  |  |  |

Table S2-2. Expert Scoring Matrix: Drinking water treatment

| Expert 1: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 6 | 5 | 3 | 3 | 1 | 0.3226 |  |  |  |
| 1/6 | 1 | 1/2 | 1/3 | 1/3 | 1/6 | 0.0431 |  |  |  |
| 1/5 | 2 | 1 | 1/3 | 1/3 | 1/5 | 0.0578 |  |  |  |
| 1/3 | 3 | 3 | 1 | 1 | 1/3 | 0.1269 |  |  |  |
| 1/3 | 3 | 3 | 1 | 1 | 1/3 | 0.1269 | λmax | CI | CR |
| 1 | 6 | 5 | 3 | 3 | 1 | 0.3226 | 6.0986 | 0.01972 | 0.0156 |
| Expert 2: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 6 | 5 | 4 | 4 | 1 | 0.3433 |  |  |  |
| 1/6 | 1 | 1/2 | 1/3 | 1/3 | 1/5 | 0.043 |  |  |  |
| 1/5 | 2 | 1 | 1/2 | 1/2 | 1/6 | 0.062 |  |  |  |
| 1/4 | 3 | 2 | 1 | 1 | 1/4 | 0.1042 |  |  |  |
| 1/4 | 3 | 2 | 1 | 1 | 1/4 | 0.1042 | λmax | CI | CR |
| 1 | 5 | 6 | 4 | 4 | 1 | 0.3433 | 6.1222 | 0.02444 | 0.0194 |
| Expert 3: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 6 | 7 | 3 | 5 | 3 | 3/7 |  |  |  |
| 1/6 | 1 | 3 | 1/5 | 1/3 | 1/5 | 0 |  |  |  |
| 1/7 | 1/3 | 1 | 1/4 | 1/3 | 1/4 | 0 |  |  |  |
| 1/3 | 5 | 4 | 1 | 2 | 1 | 1/5 |  |  |  |
| 1/5 | 3 | 3 | 1/2 | 1 | 1/2 | 1/9 | λmax | CI | CR |
| 1/3 | 5 | 4 | 1 | 2 | 1 | 1/5 | 6.2774 | 0.05549 | 0.044 |
| Expert 4: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 6 | 7 | 4 | 5 | 4 | 0.4622 |  |  |  |
| 1/6 | 1 | 5 | 1/4 | 1/3 | 1/4 | 0.0608 |  |  |  |
| 1/7 | 1/5 | 1 | 1/4 | 1/3 | 1/4 | 0.0346 |  |  |  |
| 1/4 | 4 | 4 | 1 | 2 | 1 | 0.1689 |  |  |  |
| 1/5 | 3 | 3 | 1/2 | 1 | 1/2 | 0.1046 | λmax | CI | CR |
| 1/4 | 4 | 4 | 1 | 2 | 1 | 0.1689 | 6.4584 | 0.09168 | 0.0728 |
| Expert 5: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 4 | 4 | 2 | 1 | 1 | 0.2475 |  |  |  |
| 1/4 | 1 | 1 | 1/3 | 1/4 | 1/4 | 0.0578 |  |  |  |
| 1/4 | 1 | 1 | 1/3 | 1/4 | 1/4 | 0.0578 |  |  |  |
| 1/2 | 3 | 3 | 1 | 1/2 | 1/2 | 0.1417 |  |  |  |
| 1 | 4 | 4 | 2 | 1 | 1 | 0.2475 | λmax | CI | CR |
| 1 | 4 | 4 | 2 | 1 | 1 | 0.2475 | 6.0275 | 0.00549 | 0.0044 |
| Expert 6: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 4 | 4 | 2 | 1 | 1 | 0.2475 |  |  |  |
| 1/4 | 1 | 1 | 1/3 | 1/4 | 1/4 | 0.0578 |  |  |  |
| 1/4 | 1 | 1 | 1/3 | 1/4 | 1/4 | 0.0578 |  |  |  |
| 1/2 | 3 | 3 | 1 | 1/2 | 1/2 | 0.1417 |  |  |  |
| 1 | 4 | 4 | 2 | 1 | 1 | 0.2475 | λmax | CI | CR |
| 1 | 4 | 4 | 2 | 1 | 1 | 0.2475 | 6.0275 | 0.00549 | 0.0044 |
| Expert 7: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 |  |  |  |
| 1/5 | 1 | 1 | 1/3 | 1/5 | 1/5 | 0.0495 |  |  |  |
| 1/5 | 1 | 1 | 1/3 | 1/5 | 1/5 | 0.0495 |  |  |  |
| 1/2 | 3 | 3 | 1 | 1/2 | 1/2 | 0.1356 |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 | λmax | CI | CR |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 | 6.0055 | 0.00111 | 0.0009 |
| Expert 8: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 |  |  |  |
| 1/5 | 1 | 1 | 1/3 | 1/5 | 1/5 | 0.0495 |  |  |  |
| 1/5 | 1 | 1 | 1/3 | 1/5 | 1/5 | 0.0495 |  |  |  |
| 1/2 | 3 | 3 | 1 | 1/2 | 1/2 | 0.1356 |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 | λmax | CI | CR |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 | 6.0055 | 0.00111 | 0.0009 |
| Expert 9: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 |  |  |  |
| 1/5 | 1 | 1 | 1/3 | 1/5 | 1/5 | 0.0495 |  |  |  |
| 1/5 | 1 | 1 | 1/3 | 1/5 | 1/5 | 0.0495 |  |  |  |
| 1/2 | 3 | 3 | 1 | 1/2 | 1/2 | 0.1356 |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 | λmax | CI | CR |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2551 | 6.0055 | 0.00111 | 0.0009 |
| Expert 10: Scoring Matrix and Calculation Results |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 | Weights |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2529 |  |  |  |
| 1/5 | 1 | 1 | 1/4 | 1/5 | 1/5 | 0.0468 |  |  |  |
| 1/5 | 1 | 1 | 1/4 | 1/5 | 1/5 | 0.0468 |  |  |  |
| 1/2 | 4 | 4 | 1 | 1/2 | 1/2 | 0.1479 |  |  |  |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2529 | λmax | CI | CR |
| 1 | 5 | 5 | 2 | 1 | 1 | 0.2529 | 6.0369 | 0.00739 | 0.0059 |
| Integrated Weight Matrix |  |  |  |  |  |  |  |  |  |
| Expert | Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 |  |  |  |
| 1 | 0.3226 | 0.0431 | 0.0578 | 0.1269 | 0.1269 | 0.3226 |  |  |  |
| 2 | 0.3433 | 0.043 | 0.062 | 0.1042 | 0.1042 | 0.3433 |  |  |  |
| 3 | 0.4277 | 0.0528 | 0.0384 | 0.1873 | 0.1065 | 0.1873 |  |  |  |
| 4 | 0.4622 | 0.0608 | 0.0346 | 0.1689 | 0.1046 | 0.1689 |  |  |  |
| 5 | 0.2475 | 0.0578 | 0.0578 | 0.1417 | 0.2475 | 0.2475 |  |  |  |
| 6 | 0.2475 | 0.0578 | 0.0578 | 0.1417 | 0.2475 | 0.2475 |  |  |  |
| 7 | 0.2551 | 0.0495 | 0.0495 | 0.1356 | 0.2551 | 0.2551 |  |  |  |
| 8 | 0.2551 | 0.0495 | 0.0495 | 0.1356 | 0.2551 | 0.2551 |  |  |  |
| 9 | 0.2551 | 0.0495 | 0.0495 | 0.1356 | 0.2551 | 0.2551 |  |  |  |
| 10 | 0.2529 | 0.0468 | 0.0468 | 0.1479 | 0.2529 | 0.2529 |  |  |  |
| Integrated Weights |  |  |  |  |  |  |  |  |  |
| Index 1 | Index 2 | Index 3 | Index 4 | Index 5 | Index 6 |  |  |  |  |
| 0.3069 | 0.0511 | 0.0504 | 0.1425 | 0.1955 | 0.2535 |  |  |  |  |

- Collect data

In this study, index (1), (2), (3), and (6) are derived from the latest literature and preliminary estimates (Table S5). For real-world application, they can be replaced with the measured data considering distinct water quality conditions. Index (4), (5), and (7) are obtained by inputting the collected raw materials, electricity input, pollutant emissions values in each technique into the SimaPro software for life cycle assessment (LCA).

- Determine the judgment matrix B

Similar to the determine of judgment matrix A, the judgment matrix B reflects the relative importance at scheme level. Elements in matrix B for efficacy indexes and cost indexes are normalized as Yi/Yj and Yj/Yi, respectively, which are calculated based on the collected data (Table S7).

- Calculate the comparative weights of the output schemes

The single sequence weight vector of all levels can be obtained, and the total sequence weight vector (WB) can be calculated by Eq. 14.

AUTONUM  \* Arabic

where W is the total sequence weight vector of the hierarchy. The larger the W value, the higher the applicability of its corresponding scheme in this scenario

Fig. S1. Antibacterial mechanisms of nanomaterials

Fig. S2. Various obstacles presented in the phage-host interactions

Fig. S3. Inactivation rate constants based on Chick model of (a) bacteria;(b) viruses; (c) fungi and (d) protozoa during emerging and conventional disinfection process (data sourced from Table S3). *p<0.05.

Fig. S4. Comparison of EEO and overall inactivation rate among different disinfection technologies for wastewater system. The culture media and synthetic wastewater are integrated due to the enrichment of organics. The EEO data were estimated according to the previous literature as displayed in Table S3 (detailed methods recorded in Text S2). The deep blue area in the graphs represents the economically competitive range of technologies with low EEO (1-100 kWh·m-3) and high inactivation rates (>0.1 min-1), where solid dots indicating the competitive solutions.

Referrence:

1.	Azli, B., et al., Metagenomics Insights Into the Microbial Diversity and Microbiome Network Analysis on the Heterogeneity of Influent to Effluent Water. Frontiers in Microbiology, 2022. 13 https:/·d^-1oi.org/0.3389/fmicb.2022.779196.

2.	Chen, Y., et al., Occurrence and fate of antibiotics, antimicrobial resistance determinants and potential human pathogens in a wastewater treatment plant and their effects on receiving waters in Nanjing, China. Ecotoxicology and Environmental Safety, 2020. 206 https://doi.org/10.1016/j.ecoenv.2020.111371.

3.	Cui, Q.J., et al., Diversity and abundance of bacterial pathogens in urban rivers impacted by domestic sewage. Environmental Pollution, 2019. 249: p. 24-35 https://doi.org/10.1016/j.envpol.2019.02.094.

4.	Law, N., et al., Successful adjunctive use of bacteriophage therapy for treatment of multidrug-resistant Pseudomonas aeruginosa infection in a cystic fibrosis patient. Infection, 2019. 47(4): p. 665-668 https://doi.org/10.1007/s15010-019-01319-0.

5.	Numberger, D., et al., Characterization of bacterial communities in wastewater with enhanced taxonomic resolution by full-length 16S rRNA sequencing. Scientific Reports, 2019. 9 https://doi.org/10.1038·s^-141598-019-46015-z.

6.	Beattie, R.E., T. Skwor, and K.R. Hristova, Survivor microbial populations in post-chlorinated wastewater are strongly associated with untreated hospital sewage and include ceftazidime and meropenem resistant populations. Science of the Total Environment, 2020. 740 https://doi.org/10.1016/j.scitotenv.2020.140186.

7.	Greay, T.L., et al., Evaluation of 16S next-generation sequencing of hypervariable region 4 in wastewater samples: An unsuitable approach for bacterial enteric pathogen identification. Science of the Total Environment, 2019. 670: p. 1111-1124 https://doi.org/10.1016/j.scitotenv.2019.03.278.

8.	Xue, J., et al., Assessing the spatial and temporal variability of bacterial communities in two Bardenpho wastewater treatment systems via Illumina MiSeq sequencing. Science of the Total Environment, 2019. 657: p. 1543-1552 https://doi.org/10.1016/j.scitotenv.2018.12.141.

9.	Majeed, H.J., et al., Evaluation of Metagenomic-Enabled Antibiotic Resistance Surveillance at a Conventional Wastewater Treatment Plant. Frontiers in Microbiology, 2021. 12 https://doi.org/10.3389/fmicb.2021.657954.

10.	Osunmakinde, C.O., et al., Profiling Bacterial Diversity and Potential Pathogens in Wastewater Treatment Plants Using High-Throughput Sequencing Analysis. Microorganisms, 2019. 7(11) https://doi.org/10.3390/microorganisms7110506.

11.	Bhatt, A., P. Arora, and S.K. Prajapati, Occurrence, fates and potential treatment approaches for removal of viruses from wastewater: A review with emphasis on SARS-CoV-2. Journal of Environmental Chemical Engineering, 2020. 8(5) https:/·d^-1oi.org/10.1016/j.jece.2020.104429.

12.	Corpuz, M.V.A., et al., Viruses in wastewater: occurrence, abundance and detection methods. Science of the Total Environment, 2020. 745 https://doi.org/10.1016/j.scitotenv.2020.140910.

13.	Morrison, C.M., et al., Potential indicators of virus transport and removal during soil aquifer treatment of treated wastewater effluent. Water Research, 2020. 177 https://doi.org/10.1016/j.watres.2020.115812.

14.	Randazzo, W., et al., Interlaboratory Comparative Study to Detect Potentially Infectious Human Enteric Viruses in Influent and Effluent Waters. Food and Environmental Virology, 2019. 11(4): p. 350-363 https://doi.org/10.1007/s12560-019-09392-2.

15.	Li, X., et al., Metagenomic and viromic data mining reveals viral threats in biologically treated domestic wastewater. Environmental Science and Ecotechnology, 2021. 7 https://doi.org/10.1016/j.ese.2021.100105.

16.	Plaza-Garrido, A., M. Limaico, and C.A. Villamar-Ayala, Influence of wastewater treatment technologies on virus removal under a bibliometric-statistical analysis. Journal of Water Process Engineering, 2022. 47 https://doi.org/10.1016/j.jwpe.2022.102642.

17.	Prado, T., et al., Performance of wastewater reclamation systems in enteric virus removal. Science of the Total Environment, 2019. 678: p. 33-42 https://doi.org/10.1016/j.scitotenv.2019.04.435.

18.	Wang, H., et al., Variations among Viruses in Influent Water and Effluent Water at a Wastewater Plant over One Year as Assessed by Quantitative PCR and Metagenomics. Applied and Environmental Microbiology, 2020. 86(24) https://doi.org/10.1128/AEM.02073-20.

19.	Yasir, M., Analysis of Microbial Communities and Pathogen Detection in Domestic Sewage Using Metagenomic Sequencing. Diversity-Basel, 2021. 13(1) https://doi.org/10.3390·d^-113010006.

20.	Assress, H.A., et al., Diversity, Co-occurrence and Implications of Fungal Communities in Wastewater Treatment Plants. Scientific Reports, 2019. 9 https://doi.org/10.1038·s^-141598-019-50624-z.

21.	Assress, H.A., et al., Azole antifungal resistance in fungal isolates from wastewater treatment plant effluents. Environmental Science and Pollution Research, 2021. 28(3): p. 3217-3229 https://doi.org/10.1007/s11356-020-10688-1.

22.	Freudenthal, J., et al., Microeukaryotic gut parasites in wastewater treatment plants: diversity, activity, and removal. Microbiome, 2022. 10(1) https://doi.org/10.1186·s^-140168-022-01225-y.

23.	Mthethwa, N.P., et al., A review on application of next-generation sequencing methods for profiling of protozoan parasites in water: Current methodologies, challenges, and perspectives. Journal of Microbiological Methods, 2021. 187 https://doi.org/ 10.1016/j.mimet.2021.106269.

24.	Stamps, B.W., et al., Characterization of the Microbiome at the World's Largest Potable Water Reuse Facility. Frontiers in Microbiology, 2018. 9 https://doi.org/10.3389/fmicb.2018.02435.

25.	Rusinol, M., et al., Metagenomic analysis of viruses, bacteria and protozoa in irrigation water. International Journal of Hygiene and Environmental Health, 2020. 224 https://doi.org/10.1016/j.ijheh.2019.113440.

26.	Zahedi, A., et al., Identification of eukaryotic microorganisms with 18S rRNA next-generation sequencing in wastewater treatment plants, with a more targeted NGS approach required for Cryptosporidium detection. Water Research, 2019. 158: p. 301-312 https://doi.org/10.1016/j.watres.2019.04.041.

27.	Maestre-Carballa, L., et al., Insights into the antibiotic resistance dissemination in a wastewater effluent microbiome: bacteria, viruses and vesicles matter. Environmental Microbiology, 2019. 21(12): p. 4582-4596 https://doi.org/10.1111/1462-2920.14758.

28.	Shi, B., et al., Metagenomic surveillance of antibiotic resistome in influent and effluent of wastewater treatment plants located on the Qinghai-Tibetan Plateau. Science of the Total Environment, 2023. 870 https://doi.org/10.1016/j.scitotenv.2023.162031.

29.	Tang, J.Y., et al., Metagenomic analysis of bacterial community composition and antibiotic resistance genes in a wastewater treatment plant and its receiving surface water. Ecotoxicology and Environmental Safety, 2016. 132: p. 260-269 https://doi.org/10.1016/j.ecoenv.2016.06.016.

30.	Raza, S., et al., Metagenomic exploration of antibiotic resistome in treated wastewater effluents and their receiving water. Science of the Total Environment, 2021. 765 https://doi.org/10.1016/j.scitotenv.2020.142755.

31.	Quintela-Baluja, M., et al., Spatial ecology of a wastewater network defines the antibiotic resistance genes in downstream receiving waters. Water Research, 2019. 162: p. 347-357 https://doi.org/10.1016/j.watres.2019.06.075.

32.	Yin, X.L., et al., An assessment of resistome and mobilome in wastewater treatment plants through temporal and spatial metagenomic analysis. Water Research, 2022. 209 https://doi.org/10.1016/j.watres.2021.117885.

33.	Pohl, N., M.D. Solbach, and K. Dumack, The wastewater protist Rhogostoma minus (Thecofilosea, Rhizaria) is abundant, widespread, and hosts Legionellales. Water Research, 2021. 203: p. 117566 https:/·d^-1oi.org/10.1016/j.watres.2021.117566.

34.	Ma, L.P., B. Li, and T. Zhang, New insights into antibiotic resistome in drinking water and management perspectives: A metagenomic based study of small-sized microbes. Water Research, 2019. 152: p. 191-201 https://doi.org/10.1016/j.watres.2018.12.069.

35.	Perrin, Y., et al., Microbiome of drinking water: A full-scale spatio-temporal study to monitor water quality in the Paris distribution system. Water Research, 2019. 149: p. 375-385 https://doi.org/10.1016/j.watres.2018.11.013.

36.	Guo, L.Z., et al., Detection and distribution of vbnc/viable pathogenic bacteria in full-scale drinking water treatment plants. Journal of Hazardous Materials, 2021. 406 https://doi.org/10.1016/j.jhazmat.2020.124335.

37.	Jia, S.Y., et al., Metagenomic assembly provides a deep insight into the antibiotic resistome alteration induced by drinking water chlorination and its correlations with bacterial host changes. Journal of Hazardous Materials, 2019. 379 https://doi.org/10.1016/j.jhazmat.2019.120841.

38.	Masciopinto, C., et al., Human health risk assessment for the occurrence of enteric viruses in drinking water from wells: Role of flood runoff injections. Science of the Total Environment, 2019. 666: p. 559-571 https://doi.org/10.1016/j.scitotenv.2019.02.107.

39.	Cho, H.B., et al., Detection of adenoviruses and enteroviruses in tap water and river water by reverse transcription multiplex PCR. Canadian Journal of Microbiology, 2000. 46(5): p. 417-424 https:/·d^-1oi.org/10.1139/cjm-46-5-417.

40.	Haramoto, E., H. Katayama, and S. Ohgaki, Detection of noroviruses in tap water in Japan by means of a new method for concentrating enteric viruses in large volumes of freshwater. Applied and Environmental Microbiology, 2004. 70(4): p. 2154-2160 https://doi.org/10.1128/Aem.70.4.2154-2160.2004.

41.	Lee, S.H. and S.J. Kim, Detection of infectious enteroviruses and adenoviruses in tap water in urban areas in Korea. Water Research, 2002. 36(1): p. 248-256 https:/·d^-1oi.org/10.1016/S0043-1354(01)00199-3.

42.	Stokdyk, J.P., et al., Viral, bacterial, and protozoan pathogens and fecal markers in wells supplying groundwater to public water systems in Minnesota, USA. Water Research, 2020. 178 https://doi.org/10.1016/j.watres.2020.115814.

43.	Wang, H., et al., Hepatitis E virus genotype 3 strains and a plethora of other viruses detected in raw and still in tap water. Water Research, 2020. 168 https://doi.org/10.1016/j.watres.2019.115141.

44.	Caggiano, G., et al., Occurrence of Fungi in the Potable Water of Hospitals: A Public Health Threat. Pathogens, 2020. 9(10) https://doi.org/10.3390/pathogens9100783.

45.	Elfadaly, H.A., et al., Evaluation of primitive ground water supplies as a risk factor for the development of major waterborne zoonosis in Egyptian children living in rural areas. Journal of Infection and Public Health, 2018. 11(2): p. 203-208 https://doi.org/10.1016/j.jiph.2017.07.025.

46.	Babic, M.N., et al., Fungal Contaminants in Drinking Water Regulation? A Tale of Ecology, Exposure, Purification and Clinical Relevance. International Journal of Environmental Research and Public Health, 2017. 14(6) https:/·d^-1oi.org/10.3390/ijerph14060636.

47.	Brumfield, K.D., et al., A comparative analysis of drinking water employing metagenomics. Plos One, 2020. 15(4) https://doi.org/10.1371/journal.pone.0231210.

48.	Jia, S.Y., et al., Metagenomic profiling of antibiotic resistance genes and their associations with bacterial community during multiple disinfection regimes in a full-scale drinking water treatment plant. Water Research, 2020. 176 https://doi.org/10.1016/j.watres.2020.115721.

49.	Xu, L.K., et al., High-throughput profiling of antibiotic resistance genes in drinking water treatment plants and distribution systems. Environmental Pollution, 2016. 213: p. 119-126 https://doi.org/10.1016/j.envpol.2016.02.013.

50.	Zhang, K., et al., Antibiotic Resistance Genes in drinking water of China: Occurrence, distribution and influencing factors. Ecotoxicology and Environmental Safety, 2020. 188 https://doi.org/10.1016/j.ecoenv.2019.109837.

51.	Mai, Y., et al., Protozoa as Hotspots for Potential Pathogens in the Drinking Water of a Subtropical Megacity: Diversity, Treatment, and Health Risk. Environmental Science & Technology, 2023. 57(15): p. 6108-6118 https://doi.org/10.1021/acs.est.2c09139.

52.	Brown, M.R.W. and J. Barker, Unexplored reservoirs of pathogenic bacteria: protozoa and biofilms. Trends in Microbiology, 1999. 7(1): p. 46-50 https:/·d^-1oi.org/10.1016/S0966-842X(98)01425-5.

53.	King, C.H., et al., Survival of coliforms and bacterial pathogens within protozoa during chlorination. Applied and Environmental Microbiology, 1988. 54(12): p. 3023-3033 https://doi.org/10.1128/aem.54.12.3023-3033.1988.

54.	Wei, R., et al., Flow electrochemical inactivation of waterborne bacterial endospores. Journal of Hazardous Materials, 2023. 445 https://doi.org/10.1016/j.jhazmat.2022.130505.

55.	Zhu, L., et al., Mechanisms underlying the effect of chlorination and UV disinfection on VBNC state Escherichia coli isolated from hospital wastewater. Journal of Hazardous Materials, 2022. 423 https://doi.org/10.1016/j.jhazmat.2021.127228.

56.	Liang, J.S., et al., Identification and quantification of bacterial genomes carrying antibiotic resistance genes and virulence factor genes for aquatic microbiological risk assessment. Water Research, 2020. 168 https://doi.org/10.1016/j.watres.2019.115160.

57.	Kibbee, R.J. and B. Ormeci, Development of a sensitive and false-positive free PMA-qPCR viability assay to quantify VBNC Escherichia coli and evaluate disinfection performance in wastewater effluent. Journal of Microbiological Methods, 2017. 132: p. 139-147 https://doi.org/10.1016/j.mimet.2016.12.004.

58.	Wang, M.N., et al., Regrowth of Escherichia coli in environmental waters after chlorine disinfection: shifts in viability and culturability. Environmental Science-Water Research & Technology, 2022. 8(7): p. 1521-1534 https://doi.org/10.1039/d1ew00945a.

59.	Zhang, Y.T., et al., Mechanistic insight of simultaneous removal of tetracycline and its related antibiotic resistance bacteria and genes by ferrate(VI). Science of the Total Environment, 2021. 786 https://doi.org/10.1016/j.scitotenv.2021.147492.

60.	Moreno, Y., et al., Specific detection of viable Listeria monocytogenes in Spanish wastewater treatment plants by Fluorescent In Situ Hybridization and PCR. Water Research, 2011. 45(15): p. 4634-4640 https://doi.org/10.1016/j.watres.2011.06.015.

61.	Zhang, Z., et al., Microplastics extraction from wastewater treatment plants: Two-step digestion pre-treatment and application. Water Research, 2023. 230: p. 119569 https:/·d^-1oi.org/10.1016/j.watres.2023.119569.

62.	Shao, M.L., et al., Intensified inactivation of model and environmental bacteria by an atmospheric-pressure air-liquid discharge plasma compared with chlorination. Journal of Environmental Sciences, 2022. 117: p. 80-90 https://doi.org/10.1016/j.jes.2022.01.038.

63.	Meng, L.X., et al., Mechanism and potential risk of antibiotic resistant bacteria carrying last resort antibiotic resistance genes under electrochemical treatment. Science of the Total Environment, 2022. 821 https://doi.org/10.1016/j.scitotenv.2022.153367.

64.	Xiao, X., et al., Evaluation of antibacterial activities of silver nanoparticles on culturability and cell viability of Escherichia coli. Science of the Total Environment, 2021. 794 https://doi.org/10.1016/j.scitotenv.2021.148765.

65.	Wang, L.P., et al., Assessment of the UV/Chlorine Process in the Disinfection of Pseudomonas aeruginosa: Efficiency and Mechanism. Environmental Science & Technology, 2021. 55(13): p. 9221-9230 https://doi.org/10.1021/acs.est.1c00645.

66.	Guo, L., et al., Detection and distribution of vbnc/viable pathogenic bacteria in full-scale drinking water treatment plants. Journal of Hazardous Materials, 2021. 406: p. 124335 https:/·d^-1oi.org/10.1016/j.jhazmat.2020.124335.

67.	Fu, Y., et al., Occurrence and quantification of culturable and viable but non-culturable (VBNC) pathogens in biofilm on different pipes from a metropolitan drinking water distribution system. Science of The Total Environment, 2021. 764: p. 142851 https://doi.org/10.1016/j.scitotenv.2020.142851.

68.	Zhou, L.Z., et al., Deciphering the photoactive species-directed antibacterial mechanism of bismuth oxychloride with modulated nanoscale thickness. Journal of Environmental Management, 2023. 333 https://doi.org/10.1016/j.jenvman.2023.117411.

69.	Wang, G.H., et al., Recyclable Mussel-Inspired Magnetic Nanocellulose@Polydopamine-Ag Nanocatalyst for Efficient Degradation of Refractory Organic Pollutants and Bacterial Disinfection. Acs Applied Materials & Interfaces, 2022 https://doi.org/10.1021/acsami.2c13915.

70.	Liu, Y., et al., Synergistic effect of sulfidated nanoscale zerovalent iron in donor and recipient bacterial inactivation and gene conjugative transfer inhibition. Journal of Hazardous Materials, 2022. 432 https://doi.org/10.1016/j.jhazmat.2022.128722.

71.	Noman, E.A., et al., Mathematical prediction models for inactivation of antibiotic-resistant bacteria in kitchen wastewater by bimetallic bionanoparticles using machine learning with gene expression programming. Journal of Cleaner Production, 2022. 333 https://doi.org/10.1016/j.jclepro.2021.130131.

72.	Du, X.L., et al., Fabrication of superwetting and antimicrobial wood-based mesoporous composite decorated with silver nanoparticles for purifying the polluted-water with oils, dyes and bacteria. Journal of Environmental Chemical Engineering, 2022. 10(2) https://doi.org/10.1016/j.jece.2022.107152.

73.	Chang, J.S., M.N. Chong, and J.D. Ocon, Determining the structure-antibacterial properties relationship and bacterial inactivation kinetics in different morphological-controlled ZnO nanoarchitectures for wastewater applications. Journal of Environmental Chemical Engineering, 2021. 9(6) https://doi.org/10.1016/j.jece.2021.106646.

74.	Jiang, X., et al., Facile synthesis of layer-by-layer decorated graphene oxide based magnetic nanocomposites for beta-agonists·d^-1yes adsorption removal and bacterial inactivation in wastewater. Journal of Alloys and Compounds, 2021. 870 https://doi.org/10.1016/j.jallcom.2021.159414.

75.	Jiang, W. and X.H. Zhou, Enzymatic preparation of oxidized viscose fibers-based biosorbent modified with epsilon-polylysine for dyes removal and microbial inactivation. International Journal of Biological Macromolecules, 2021. 166: p. 509-520 https://doi.org/10.1016/j.ijbiomac.2020.10.208.

76.	Abou Hammad, A.B., et al., Nanoceramics and novel functionalized silicate-based magnetic nanocomposites as substitutional disinfectants for water and wastewater purification (May, 10.1007·s^-111356-020-09073-9, 2020). Environmental Science and Pollution Research, 2020. 27(23): p. 29698-29698 https://doi.org/10.1007/s11356-020-09666-4.

77.	Qi, Y., et al., In-situ synthesis of metal nanoparticles@metal−organic frameworks: Highly effective catalytic performance and synergistic antimicrobial activity. Journal of Hazardous Materials, 2020. 387: p. 121687 https://doi.org/10.1016/j.jhazmat.2019.121687.

78.	Chai, Z.Z., et al., Hierarchical magnesium oxide microspheres for removal of heavy ions from water and efficient bacterial inactivation. Journal of Materials Science, 2020. 55(10): p. 4408-4419 https://doi.org/10.1007/s10853-019-04312-y.

79.	Morsi, R.E., et al., Multifunctional nanocomposites of chitosan, silver nanoparticles, copper nanoparticles and carbon nanotubes for water treatment: Antimicrobial characteristics. International Journal of Biological Macromolecules, 2017. 97: p. 264-269 https://doi.org/10.1016/j.ijbiomac.2017.01.032.

80.	Wang, X., X. Liu, and H. Han, Evaluation of antibacterial effects of carbon nanomaterials against copper-resistant Ralstonia solanacearum. Colloids and Surfaces B: Biointerfaces, 2013. 103: p. 136-142 https:/·d^-1oi.org/10.1016/j.colsurfb.2012.09.044.

81.	Musa, S.F., et al., Pleurotus sajor-caju can be used to synthesize silver nanoparticles with antifungal activity against Candida albicans. Journal of the Science of Food and Agriculture, 2018. 98(3): p. 1197-1207 https://doi.org/10.1002/jsfa.8573.

82.	Demchenko, V., et al., Structure-Morphology-Antimicrobial and Antiviral Activity Relationship in Silver-Containing Nanocomposites Based on Polylactide. 2022. 27(12): p. 3769.

83.	Demchenko, V., et al., Nanocomposites based on polylactide and silver nanoparticles and their antimicrobial and antiviral applications. Reactive and Functional Polymers, 2022. 170: p. 105096 https://doi.org/10.1016/j.reactfunctpolym.2021.105096.

84.	Periasamy, D. and A. Sundaram, A novel approach for pathogen reduction in wastewater treatment. Journal of Environmental Health Science and Engineering, 2013. 11 https://doi.org/10.1186/2052-336x-11-12.

85.	Ben Saad, M., et al., Use of bacteriophage to inactivate pathogenic bacteria from wastewater. Journal of Environmental Science and Health Part a-Toxic/Hazardous Substances & Environmental Engineering, 2022. 57(2): p. 111-116 https://doi.org/10.1080/10934529.2022.2036551.

86.	Gu, X., et al., Bacterial Inactivation and Biofilm Disruption through Indigenous Prophage Activation Using Low-Intensity Cold Atmospheric Plasma. Environmental Science & Technology, 2022. 56(12): p. 8920-8931 https://doi.org/10.1021/acs.est.2c01516.

87.	Harada, L.K., et al., Characterization andin vitrotesting of newly isolated lytic bacteriophages for the biocontrol ofPseudomonas aeruginosa. Future Microbiology, 2022. 17(2): p. 111-141 https://doi.org/10.2217/fmb-2021-0027.

88.	Yu, H.B., et al., A phage cocktail in controlling phage resistance development in multidrug resistant Aeromonas hydrophila with great therapeutic potential. Microbial Pathogenesis, 2022. 162 https://doi.org/10.1016/j.micpath.2021.105374.

89.	Sun, R.N., et al., Biofilm Control in Flow-Through Systems Using Polyvalent Phages Delivered by Peptide-Modified M13 Coliphages with Enhanced Polysaccharide Affinity. Environmental Science & Technology, 2022 https://doi.org/10.1021/acs.est.2c06561.

90.	Zuo, P.X., et al., Biofilm-responsive encapsulated-phage coating for autonomous biofouling mitigation in water storage systems. Water Research, 2022. 224 https://doi.org/ 10.1016/j.watres.2022.119070.

91.	Xu, L., et al., Ecological changes and risk of pathogenic microbial niche in reclaimed water before and after inhibition of Elizabethkingia meningosepticum by pNJR6 plasmid combined with microbioflocculation. Water Research, 2023. 229 https://doi.org/10.1016/j.watres.2022.119523.

92.	Pu, J.H., et al., Virus Disinfection from Environmental Water Sources Using Living Engineered Biofilm Materials. Advanced Science, 2020. 7(14) https:/·d^-1oi.org/10.1002/advs.201903558.

93.	Abd-Elmaksoud, S., et al., Pathogens Removal in a Sustainable and Economic High-Rate Algal Pond Wastewater Treatment System. Sustainability, 2021. 13(23) https:/·d^-1oi.org/10.3390·s^-1u132313232.

94.	Ruas, G., et al., Removal of Clostridium perfringens and Staphylococcus spp. in Microalgal-Bacterial Systems: Influence of Microalgal Inoculum and CO2/O-2 Addition. Water, 2023. 15(1) https://doi.org/10.3390/w15010005.

95.	Slompo, N.D.M., et al., Nutrient and pathogen removal from anaerobically treated black water by microalgae. Journal of Environmental Management, 2020. 268 https://doi.org/10.1016/j.jenvman.2020.110693.

96.	Ispolnov, K., et al., A Combined Vermifiltration-Hydroponic System for Swine Wastewater Treatment. Applied Sciences-Basel, 2021. 11(11) https://doi.org/10.3390/app11115064.

97.	Arora, S., et al., Effect of earthworms in reduction and fate of antibiotic resistant bacteria (ARB) and antibiotic resistant genes (ARGs) during clinical laboratory wastewater treatment by vermifiltration. Science of the Total Environment, 2021. 773 https:/·d^-1oi.org/10.1016/j.scitotenv.2021.145152.

98.	Arora, S., A. Rajpal, and A.A. Kazmi, Antimicrobial Activity of Bacterial Community for Removal of Pathogens during Vermifiltration. Journal of Environmental Engineering, 2016. 142(5) https://doi.org/10.1061/(Asce)Ee.1943-7870.0001080.

99.	Fores, E., et al., Evaluation of pathogen disinfection efficiency of electrochemical advanced oxidation to become a sustainable technology for water reuse. Chemosphere, 2023. 313 https://doi.org/10.1016/j.chemosphere.2022.137393.

100.	Hellal, M.S., et al., Novel electro-oxidation unit for electro-disinfection of E. coli and some waterborne pathogens during wastewater treatment: batch and continuous experiments. Scientific Reports, 2022. 12(1) https://doi.org/10.1038·s^-141598-022-20451-w.

101.	Zuo, X.J., et al., Antibiotic resistant bacteria inactivation through metal-free electrochemical disinfection with carbon catalysts and its potential risks. Chemosphere, 2022. 305 https://doi.org/10.1016/j.chemosphere.2022.135496.

102.	Wilk, B.K., et al., Electrochemical oxidation of landfill leachate using boron-doped diamond anodes: pollution degradation rate, energy efficiency and toxicity assessment. Environmental Science and Pollution Research, 2022. 29(43): p. 65625-65641 https://doi.org/10.1007/s11356-022-19915-3.

103.	Fang, H., et al., Simultaneous removal of antibiotic resistant bacteria and antibiotic resistance genes by molybdenum carbide assisted electrochemical disinfection. Journal of Hazardous Materials, 2022. 432 https:/·d^-1oi.org/10.1016/j.jhazmat.2022.128733.

104.	Budil, J., et al., Impact of electrolyte solution on electrochemical oxidation treatment of Escherichia coli K-12 by boron-doped diamond electrodes. Letters in Applied Microbiology, 2022. 74(6): p. 924-931 https://doi.org/10.1111·L-1am.13687.

105.	Rathinavelu, S., et al., Inactivation behavior and intracellular changes in Escherichia coli during electro-oxidation process using Ti/Sb-SnO2/PbO2 anode: Elucidation of the disinfection mechanism. Environmental Research, 2022. 210 https://doi.org/10.1016/j.envres.2022.112749.

106.	Borkar, S.B., et al., Plasma-Generated Nitric Oxide Water Mediates Environmentally Transmitted Pathogenic Bacterial Inactivation via Intracellular Nitrosative Stress. International Journal of Molecular Sciences, 2023. 24(3) https:/·d^-1oi.org/10.3390/ijms24031901.

107.	Lin, J., et al., Insights into reactivity and bactericidal effects of water activated by He and Ar plasma jets. Plasma Processes and Polymers, 2022 https://doi.org/10.1002/ppap.202200173.

108.	Kalakonda, S.P., et al., Treatment of Escherichia coli contaminated water with different pulse-powered NTP configurations and analysis for post treatment efficacy. Scientific Reports, 2022. 12(1) https://doi.org/10.1038·s^-141598-022-24248-9.

109.	Xu, H., et al., Effects of the ground-electrode temperature on the plasma physicochemical processes and biological inactivation functions involved in surface dielectric barrier discharge. Plasma Sources Science & Technology, 2022. 31(11) https://doi.org/10.1088/1361-6595/ac9d63.

110.	Sawangrat, C., et al., Application of Pinhole Plasma Jet Activated Water against Escherichia coli, Colletotrichum gloeosporioides, and Decontamination of Pesticide Residues on Chili (Capsicum annuum L.). Foods, 2022. 11(18) https://doi.org/10.3390/foods11182859.

111.	Xu, H.B., et al., Study of the synergistic effect of singlet oxygen with other plasma-generated ROS in fungi inactivation during water disinfection. Science of the Total Environment, 2022. 838 https://doi.org/10.1016/j.scitotenv.2022.156576.

112.	Guo, L., et al., Mechanism of Virus Inactivation by Cold Atmospheric-Pressure Plasma and Plasma-Activated Water. Applied and Environmental Microbiology, 2018. 84(17) https://doi.org/10.1128/AEM.00726-18.

113.	Merinskia, T., et al., Inactivation of Acanthamoeba Cysts in Suspension and on Contaminated Contact Lenses Using Non-Thermal Plasma. Microorganisms, 2021. 9(9) https:/·d^-1oi.org/10.3390/microorganisms9091879.

114.	Han, L., et al., Mechanisms of Inactivation by High-Voltage Atmospheric Cold Plasma Differ for Escherichia coli and Staphylococcus aureus. Applied and Environmental Microbiology, 2016. 82(2): p. 450-458 https://doi.org/10.1128/AEM.02660-15.

115.	Hamza, I.A., et al., Cold atmospheric plasma: a sustainable approach to inactivating viruses, bacteria, and protozoa with remediation of organic pollutants in river water and wastewater. Environmental Science and Pollution Research, 2023. 30(54): p. 116214-116226 https://doi.org/10.1007/s11356-023-30298-x.

116.	Crugeira, P.J.L., et al., Photodynamic inactivation of Staphylococcus aureus by ecological antibacterial solutions associating LED (? 450 +/- 10 nm) with curcumin and olive leaf extracts. Journal of Photochemistry and Photobiology B-Biology, 2023. 238 https:/·d^-1oi.org/10.1016/j.jphotobiol.2022.112626.

117.	Moideen, S.K., et al., Photoeradication of aquatic pathogens by curcumin for clean and safe drinking water. Journal of Photochemistry and Photobiology a-Chemistry, 2022. 432 https:/·d^-1oi.org/10.1016/j.jphotochem.2022.114104.

118.	Sarker, M.A.R. and Y.H. Ahn, Photodynamic inactivation of multidrug-resistant bacteria in wastewater effluent using green phytochemicals as a natural photosensitizer. Environmental Pollution, 2022. 311 https://doi.org/10.1016/j.envpol.2022.120015.

119.	Abu Dayyih, A., et al., Thermoresponsive Liposomes for Photo-Triggered Release of Hypericin Cyclodextrin Inclusion Complex for Efficient Antimicrobial Photodynamic Therapy. Acs Applied Materials & Interfaces, 2022. 14(28): p. 31525-31540 https://doi.org/10.1021/acsami.2c02741.

120.	Prandini, J.A., et al., Thiopyridinium phthalocyanine for improved photodynamic efficiency against pathogenic fungi. Journal of Photochemistry and Photobiology B-Biology, 2022. 231 https://doi.org/10.1016/j.jphotobiol.2022.112459.

121.	Bartolomeu, M., et al., Antimicrobial Photodynamic Approach in the Inactivation of Viruses in Wastewater: Influence of Alternative Adjuvants. Antibiotics-Basel, 2021. 10(7) https://doi.org/10.3390/antibiotics10070767.

122.	Ameen, F., et al., Photocatalytic investigation of textile dyes and E. coli bacteria from wastewater using Fe3O4@MnO2 heterojunction and investigation for hydrogen generation on NaBH4 hydrolysis. Environmental Research, 2023. 220 https://doi.org/10.1016/j.envres.2023.115231.

123.	Sarker, M.A.R. and Y.H. Ahn, Strategic insight into enhanced photocatalytic remediation of pharmaceutical contaminants using spherical CdO nanoparticles in visible light region. Chemosphere, 2023. 311 https://doi.org/10.1016/j.chemosphere.2022.137040.

124.	Akhavan, O., M. Choobtashani, and E. Ghaderi, Protein Degradation and RNA Efflux of Viruses Photocatalyzed by Graphene-Tungsten Oxide Composite Under Visible Light Irradiation. Journal of Physical Chemistry C, 2012. 116(17): p. 9653-9659 https://doi.org/10.1021/jp301707m.

125.	Subbiah, N. and T. Palanisamy, Collagen-Supported Amino-Functionalized Ag@SiO2 Core-Shell Nanoparticles for Visible-Light-Driven Water Remediation. Acs Applied Nano Materials, 2022. 5(10): p. 14408-14424 https://doi.org/10.1021/acsanm.2c02751.

126.	Manoharan, R.K., et al., Antimicrobial photodynamic inactivation of wastewater microorganisms by halogenated indole derivative capped zinc oxide. Environmental Research, 2022. 214 https://doi.org/10.1016/j.envres.2022.113905.

127.	Wang, X., et al., Heterogeneous UV disinfection aided by ZnO/Al2O3 composites for inhibiting antibiotic resistant bacteria photoreactivation and gene recovery. Environmental Science-Nano, 2022. 9(7): p. 2488-2499 https://doi.org/10.1039/d1en00941a.

128.	Xu, L., et al., Biohybrid magnetic microrobots for enhanced photocatalytic RhB degradation and E.coli inactivation under visible light irradiation. Applied Surface Science, 2022. 579 https://doi.org/10.1016/j.apsusc.2021.152165.

129.	Shi, H., et al., In-situ construction of step-scheme MoS2/Bi4O5Br2 heterojunction with improved photocatalytic activity of Rhodamine B degradation and disinfection. Journal of Colloid and Interface Science, 2022. 623: p. 500-512 https:/·d^-1oi.org/10.1016/j.jcis.2022.04.148.

130.	Wu, T., et al., Solar-driven efficient heterogeneous subminute water disinfection nanosystem assembled with fingerprint MoS2. Nature Water, 2023. 1(5): p. 462-470 https://doi.org/10.1038/s44221-023-00079-4.

131.	Zhang, J., et al., Highly efficient Ti3+ self-doped TiO2 co-modified with carbon dots and palladium nanocomposites for disinfection of bacterial and fungi. Journal of Hazardous Materials, 2021. 413: p. 125318 https://doi.org/10.1016/j.jhazmat.2021.125318.

132.	Shi, Y.F., et al., Electrogenerated copper selenide with positive charge to efficiently capture and combat drug-resistant bacteria for wound healing. Journal of Colloid and Interface Science, 2023. 634: p. 852-863 https://doi.org/10.1016/j.jcis.2022.12.094.

133.	Jin, Y.C., et al., The drinking water disinfection performances and mechanisms of UVA-LEDs promoted by electrolysis. Journal of Hazardous Materials, 2022. 435 https://doi.org/10.1016/j.jhazmat.2022.129099.

134.	Wang, Z., et al., Self-powered electrochemical water treatment system for pollutant degradation and bacterial inactivation based on high-efficient Co(OH)(2)/Pt electrocatalyst. Nano Research, 2022 https://doi.org/10.1007/s12274-022-4978-y.

135.	Gill, A.A.S., et al., A novel copper-based 3D porous nanocomposite for electrochemical detection and inactivation of pathogenic bacteria. Sensors and Actuators B-Chemical, 2020. 321 https://doi.org/10.1016/j.snb.2020.128449.

136.	Wang, T. and X. Xie, Nanosecond bacteria inactivation realized by locally enhanced electric field treatment. Nature Water, 2023. 1(1): p. 104-112 https://doi.org/10.1038/s44221-022-00003-2.

137.	Bai, Y., et al., Encapsulation of Zn/Co nanocrystals into sponge-like 3D porous carbon for Escherichia coli inactivation coupled with ultrasound: Characterization, kinetics and inactivation mechanism. Chemical Engineering Journal, 2022. 447 https://doi.org/10.1016/j.cej.2022.137545.

138.	Lin, J., et al., Plasma-enhanced microbial electrolytic disinfection: Decoupling electro- and plasma-chemistry in plasma-electrolyzed oxidizing water using ion-exchange membranes. Water Research, 2022. 225 https:/·d^-1oi.org/10.1016/j.watres.2022.119174.

139.	Abdel-Wahed, M.S., et al., Removal of chemical and microbial water pollutants by cold plasma combined with Ag/TiO2-rGO nanoparticles. Scientific Reports, 2022. 12(1) https://doi.org/10.1038·s^-141598-022-13444-2.

140.	Mudau, F.H., et al., Multifunctional Heterogeneous Ion-Exchange Membranes for Ion and Microbe Removal in Low-Salinity Water. 2023. 15(4): p. 843.

141.	Xue, J.J., et al., Photo-Fenton catalyst Fe(III)@PCN-222 grafted on PVDF membrane for multitasking applications: Oil/water separation, aromatic pollutants degradation and bacterial inactivation. Process Safety and Environmental Protection, 2023. 169: p. 746-756 https://doi.org/10.1016/j.psep.2022.11.072.

142.	Liu, J.X., et al., A coupled molybdenum disulfide-copper modification of NF membrane for enhanced anti-bacterial performance. Desalination, 2023. 546 https://doi.org/10.1016/j.desal.2022.116190.

143.	Nie, X.L., et al., PCN-224 Nanoparticle/Polyacrylonitrile Nanofiber Membrane for Light-Driven Bacterial Inactivation. Nanomaterials, 2021. 11(12) https://doi.org/10.3390/nano11123162.

144.	Park, S.H., et al., Immobilization of silver nanoparticle-decorated silica particles on polyamide thin film composite membranes for antibacterial properties. Journal of Membrane Science, 2016. 499: p. 80-91 https://doi.org/10.1016/j.memsci.2015.09.060.

145.	Li, L.L., et al., Enhanced biofilm penetration for microbial control by polyvalent phages conjugated with magnetic colloidal nanoparticle clusters (CNCs). Environmental Science-Nano, 2017. 4(9): p. 1817-1826 https://doi.org/10.1039/c7en00414a.

146.	Engel, M., et al., Bacterial inactivation by a carbon nanotube–iron oxide nanocomposite: a mechanistic study using E. coli mutants. Environmental Science: Nano, 2018. 5(2): p. 372-380 https://doi.org/10.1039/C7EN00865A.

147.	Jin, Y., et al., Synthesis of caged iodine-modified ZnO nanomaterials and study on their visible light photocatalytic antibacterial properties. Applied Catalysis B: Environmental, 2019. 256: p. 117873 https:/·d^-1oi.org/10.1016/j.apcatb.2019.117873.

148.	Xiao, X., et al., Evaluation of antibacterial activities of silver nanoparticles on culturability and cell viability of Escherichia coli. Science of The Total Environment, 2021. 794: p. 148765 https://doi.org/10.1016/j.scitotenv.2021.148765.

149.	Perreault, F., et al., Antimicrobial Properties of Graphene Oxide Nanosheets: Why Size Matters. ACS Nano, 2015. 9(7): p. 7226-7236 https://doi.org/10.1021/acsnano.5b02067.

150.	Shan, J., et al., Efficient Bacteria Killing by Cu(2)WS(4) Nanocrystals with Enzyme-like Properties and Bacteria-Binding Ability. ACS Nano, 2019. 13(12): p. 13797-13808 https://doi.org/10.1021/acsnano.9b03868.

151.	Ma, S., et al., Highly Efficient Antibacterial and Pb(II) Removal Effects of Ag-CoFe2O4-GO Nanocomposite. ACS Applied Materials & Interfaces, 2015. 7(19): p. 10576-10586 https://doi.org/10.1021/acsami.5b02209.

152.	Tang, J., et al., Graphene Oxide–Silver Nanocomposite As a Highly Effective Antibacterial Agent with Species-Specific Mechanisms. ACS Applied Materials & Interfaces, 2013. 5(9): p. 3867-3874 https://doi.org/10.1021/am4005495.

153.	Singh, R.K., L. Philip, and S. Ramanujam, Continuous flow pulse corona discharge reactor for the tertiary treatment of drinking water: Insights on disinfection and emerging contaminants removal. Chemical Engineering Journal, 2019. 355: p. 269-278 https:/·d^-1oi.org/10.1016/j.cej.2018.08.109.

154.	Oehmigen, K., et al., Estimation of Possible Mechanisms of Escherichia coli Inactivation by Plasma Treated Sodium Chloride Solution. Plasma Processes and Polymers, 2011. 8: p. 904-913.

155.	Liu, P.-R., et al., Functional graphene-based magnetic nanocomposites as magnetic flocculant for efficient harvesting of oleaginous microalgae. Algal Research, 2016. 19: p. 86-95 https:/·d^-1oi.org/10.1016/j.algal.2016.07.008.

156.	Moideen, S.K., et al., Photoeradication of aquatic pathogens by curcumin for clean and safe drinking water. Journal of Photochemistry and Photobiology A: Chemistry, 2022. 432: p. 114104 https://doi.org/10.1016/j.jphotochem.2022.114104.

157.	Sarker, M.A.R. and Y.-H. Ahn, Photodynamic inactivation of multidrug-resistant bacteria in wastewater effluent using green phytochemicals as a natural photosensitizer. Environmental Pollution, 2022. 311: p. 120015 https:/·d^-1oi.org/10.1016/j.envpol.2022.120015.

158.	Dayyih, A.A., et al., Thermoresponsive Liposomes for Photo-Triggered Release of Hypericin Cyclodextrin Inclusion Complex for Efficient Antimicrobial Photodynamic Therapy. ACS Applied Materials & Interfaces, 2022. 14(28): p. 31525-31540 https://doi.org/10.1021/acsami.2c02741.

159.	Zhou, L., et al., Deciphering the photoactive species-directed antibacterial mechanism of bismuth oxychloride with modulated nanoscale thickness. Journal of Environmental Management, 2023. 333: p. 117411 https:/·d^-1oi.org/10.1016/j.jenvman.2023.117411.

160.	Ameen, F., et al., Photocatalytic investigation of textile dyes and E. coli bacteria from wastewater using Fe3O4@MnO2 heterojunction and investigation for hydrogen generation on NaBH4 hydrolysis. Environmental Research, 2023. 220: p. 115231 https:/·d^-1oi.org/10.1016/j.envres.2023.115231.

161.	Sarker, M.A.R. and Y.-H. Ahn, Strategic insight into enhanced photocatalytic remediation of pharmaceutical contaminants using spherical CdO nanoparticles in visible light region. Chemosphere, 2023. 311: p. 137040 https:/·d^-1oi.org/10.1016/j.chemosphere.2022.137040.

162.	Subbiah, N. and T. Palanisamy, Collagen-Supported Amino-Functionalized Ag@SiO2 Core–Shell Nanoparticles for Visible-Light-Driven Water Remediation. ACS Applied Nano Materials, 2022. 5(10): p. 14408-14424 https://doi.org/10.1021/acsanm.2c02751.

163.	Wang, X., et al., Heterogeneous UV disinfection aided by ZnO/Al2O3 composites for inhibiting antibiotic resistant bacteria photoreactivation and gene recovery. Environmental Science: Nano, 2022. 9(7): p. 2488-2499 https://doi.org/10.1039/D1EN00941A.

164.	Xu, L., et al., Biohybrid magnetic microrobots for enhanced photocatalytic RhB degradation and E.coli inactivation under visible light irradiation. Applied Surface Science, 2022. 579: p. 152165 https://doi.org/10.1016/j.apsusc.2021.152165.

165.	Bai, Y., et al., Encapsulation of Zn/Co nanocrystals into sponge‐like 3D porous carbon for Escherichia coli inactivation coupled with ultrasound: Characterization, kinetics and inactivation mechanism. Chemical Engineering Journal, 2022. 447: p. 137545 https:/·d^-1oi.org/10.1016/j.cej.2022.137545.

166.	Shan, J., et al., Cu2MoS4 Nanozyme with NIR-II Light Enhanced Catalytic Activity for Efficient Eradication of Multidrug-Resistant Bacteria. Small, 2020. 16(40): p. 2001099 https:/·d^-1oi.org/10.1002·s^-1mll.202001099.

167.	Mao, Z., X. Peng, and H. Chen, Sunlight propelled two-dimensional nanorobots with enhanced mechanical damage of bacterial membrane. Water Research, 2023. 235: p. 119900 https:/·d^-1oi.org/10.1016/j.watres.2023.119900.

168.	Wang, R., et al., Insights into rapid photodynamic inactivation mechanism of Staphylococcus aureus via rational design of multifunctional nitrogen-rich carbon-coated bismuth/cobalt nanoparticles. Applied Catalysis B: Environmental, 2019. 241: p. 167-177 https:/·d^-1oi.org/10.1016/j.apcatb.2018.09.030.

169.	Yang, K., et al., NIR-responsive MoS2–Cu2WS4 nanosheets for catalytic/photothermal therapy of methicillin-resistant Staphylococcus aureus infections. Nanoscale, 2022. 14(27): p. 9796-9805 https://doi.org/10.1039/D2NR01597H.

170.	Liu, C., et al., Rapid water disinfection using vertically aligned MoS2 nanofilms and visible light. Nature Nanotechnology, 2016. 11(12): p. 1098-1104 https://doi.org/10.1038/nnano.2016.138.

171.	Zhou, Z., et al., Mechanistic insights for efficient inactivation of antibiotic resistance genes: a synergistic interfacial adsorption and photocatalytic-oxidation process. Science Bulletin, 2020. 65(24): p. 2107-2119 https://doi.org/10.1016/j.scib.2020.07.015.

172.	Mesones, S., et al., Synergistic and antagonistic effects in the photoelectrocatalytic disinfection of water with TiO2 supported on activated carbon as a bipolar electrode in a novel 3D photoelectrochemical reactor. Separation and Purification Technology, 2020. 247: p. 117002 https:/·d^-1oi.org/10.1016/j.seppur.2020.117002.

173.	Talebian, N., S.M. Amininezhad, and M. Doudi, Controllable synthesis of ZnO nanoparticles and their morphology-dependent antibacterial and optical properties. Journal of Photochemistry and Photobiology B: Biology, 2013. 120: p. 66-73 https:/·d^-1oi.org/10.1016/j.jphotobiol.2013.01.004.

174.	Akbari Jonoush, Z., A. Rezaee, and A. Ghaffarinejad, Electrocatalytic disinfection of E. coli using Ni-Fe/Fe3O4 nanocomposite cathode: Effect of Fe3O4 nanoparticle, humic acid, and nitrate. Separation and Purification Technology, 2022. 294: p. 121140 https:/·d^-1oi.org/10.1016/j.seppur.2022.121140.

175.	Huo, Z.-Y., et al., A Cu3P nanowire enabling high-efficiency, reliable, and energy-efficient low-voltage electroporation-inactivation of pathogens in water. Journal of Materials Chemistry A, 2018. 6(39): p. 18813-18820 https://doi.org/10.1039/C8TA06304D.

176.	Mahmoud, M. and M.A. El-Liethy, Three-dimensional, flow-through silver-magnetite nanocomposite–modified reactive electrochemical system with slow silver ions release for efficient bacterial disinfection of sewage. Journal of Environmental Chemical Engineering, 2022. 10(1): p. 106985 https://doi.org/10.1016/j.jece.2021.106985.

177.	Wang, Z., et al., Self-powered electrochemical water treatment system for pollutant degradation and bacterial inactivation based on high-efficient Co(OH)2/Pt electrocatalyst. Nano Research, 2023. 16(2): p. 2192-2198 https://doi.org/10.1007/s12274-022-4978-y.

178.	Li, L.-L., et al., Enhanced biofilm penetration for microbial control by polyvalent phages conjugated with magnetic colloidal nanoparticle clusters (CNCs). Environmental Science: Nano, 2017. 4(9): p. 1817-1826 https://doi.org/10.1039/C7EN00414A.

179.	Cao, W., et al., Polyethylenimine modified MoS2 nanocomposite with high stability and enhanced photothermal antibacterial activity. Journal of Photochemistry and Photobiology A: Chemistry, 2020. 401: p. 112762 https:/·d^-1oi.org/10.1016/j.jphotochem.2020.112762.

180.	Sun, Y.-G., et al., High-efficiency and low-carbon inactivation of UV resistant bacteria in reclaimed water by flow-through electrode system (FES). Science of The Total Environment, 2023. 904: p. 166297 https:/·d^-1oi.org/10.1016/j.scitotenv.2023.166297.

181.	Berruti, I., et al. UV-C Peroxymonosulfate Activation for Wastewater Regeneration: Simultaneous Inactivation of Pathogens and Degradation of Contaminants of Emerging Concern. Molecules, 2021. 26,  https:/·d^-1oi.org/10.3390/molecules26164890.

182.	Shi, Q., et al., Efficient synergistic disinfection by ozone, ultraviolet irradiation and chlorine in secondary effluents. Science of The Total Environment, 2021. 758: p. 143641 https:/·d^-1oi.org/10.1016/j.scitotenv.2020.143641.

183.	Pernitsky, D.J., G.R. Finch, and P.M. Huck, Disinfection kinetics of heterotrophic plate count bacteria in biologically treated potable water. Water Research, 1995. 29(5): p. 1235-1241 https:/·d^-1oi.org/10.1016/0043-1354(94)00279-G.

184.	Lee, O.M., et al., A comparative study of disinfection efficiency and regrowth control of microorganism in secondary wastewater effluent using UV, ozone, and ionizing irradiation process. Journal of Hazardous Materials, 2015. 295: p. 201-208 https://doi.org/10.1016/j.jhazmat.2015.04.016.

185.	Jyoti, K.K. and A.B. Pandit, Ozone and cavitation for water disinfection. Biochemical Engineering Journal, 2004. 18(1): p. 9-19 https:/·d^-1oi.org/10.1016/S1369-703X(03)00116-5.

186.	He, Z., et al., Both viable and inactivated amoeba spores protect their intracellular bacteria from drinking water disinfection. Journal of Hazardous Materials, 2021. 417: p. 126006 https:/·d^-1oi.org/10.1016/j.jhazmat.2021.126006.

187.	Yang, Y., et al., Solvothermal Synthesis of Multiple Shapes of Silver Nanoparticles and Their SERS Properties. The Journal of Physical Chemistry C, 2007. 111(26): p. 9095-9104 https://doi.org/10.1021/jp068859b.

188.	You, C., et al., The progress of silver nanoparticles in the antibacterial mechanism, clinical application and cytotoxicity. Molecular Biology Reports, 2012. 39(9): p. 9193-9201 https://doi.org/10.1007/s11033-012-1792-8.

189.	Ahmed, A. and S. Nadeem, Shape effect of Cu-nanoparticles in unsteady flow through curved artery with catheterized stenosis. Results in Physics, 2017. 7: p. 677-689 https://doi.org/10.1016/j.rinp.2017.01.015.

190.	Medvedeva, X.V., et al., Shape control in seed-mediated synthesis of non-elongated Cu nanoparticles and their optical properties. Nanoscale, 2021. 13(29): p. 12505-12512 https://doi.org/10.1039/D1NR01358K.

191.	Chatterjee, A.K., R. Chakraborty, and T. Basu, Mechanism of antibacterial activity of copper nanoparticles. Nanotechnology, 2014. 25(13): p. 135101 https://doi.org/10.1088/0957-4484/25/13/135101.

192.	Cui, Y., et al., The molecular mechanism of action of bactericidal gold nanoparticles on Escherichia coli. Biomaterials, 2012. 33(7): p. 2327-2333 https:/·d^-1oi.org/10.1016/j.biomaterials.2011.11.057.

193.	Truong, P.L., X. Ma, and S.J. Sim, Resonant Rayleigh light scattering of single Au nanoparticles with different sizes and shapes. Nanoscale, 2014. 6(4): p. 2307-2315 https://doi.org/10.1039/C3NR05211G.

194.	Holec, D., et al. Surface Energy of Au Nanoparticles Depending on Their Size and Shape. Nanomaterials, 2020. 10, https:/·d^-1oi.org/10.3390/nano10030484.

195.	Nayak, B.B., et al., Ni and Ni–nickel oxide nanoparticles with different shapes and a core–shell structure. Thin Solid Films, 2006. 505(1): p. 109-112 https:/·d^-1oi.org/10.1016/j.tsf.2005.10.018.

196.	Gomaji Chaudhary, R., et al., Synthesis Of Nickel Nanoparticles: Microscopic Investigation, An Efficient Catalyst And Effective Antibacterial Activity. Advanced Materials Letters, 2015. 6(11): p. 990-998 https://doi.org/10.5185/amlett.2015.5901.

197.	Sun, H., et al., Rapid Aerobic Inactivation and Facile Removal of Escherichia coli with Amorphous Zero-Valent Iron Microspheres: Indispensable Roles of Reactive Oxygen Species and Iron Corrosion Products. Environmental Science & Technology, 2019. 53(7): p. 3707-3717 https://doi.org/10.1021/acs.est.8b06499.

198.	Liu, X. and Y. Wang, Activated carbon supported nanoscale zero-valent iron composite: Aspects of surface structure and composition. Materials Chemistry and Physics, 2019. 222: p. 369-376 https:/·d^-1oi.org/10.1016/j.matchemphys.2018.10.013.

199.	Makvandi, P., et al., Metal-Based Nanomaterials in Biomedical Applications: Antimicrobial Activity and Cytotoxicity Aspects. Advanced Functional Materials, 2020. 30(22): p. 1910021 https://doi.org/10.1002/adfm.201910021.

200.	Crespo, E.A., et al., Hydrogen absorption in Pd nanoparticles of different shapes. International Journal of Hydrogen Energy, 2012. 37(19): p. 14831-14837 https:/·d^-1oi.org/10.1016/j.ijhydene.2011.12.075.

201.	Kim, M.-J., et al., Facile Synthesis and Fine Morphological Tuning of Ag2O. Crystal Growth & Design, 2012. 12(8): p. 4180-4185 https://doi.org/10.1021/cg300681b.

202.	Rao, R.V.N.S. and J.V. Rao, Classification of Algebraic Properties of Chromatic Polynomials. Journal of Scientific Research, 2013. 5(3): p. 469-477 https://doi.org/10.3329/jsr.v5i3.11634.

203.	Sirelkhatim, A., et al., Review on Zinc Oxide Nanoparticles: Antibacterial Activity and Toxicity Mechanism. Nano-Micro Letters, 2015. 7(3): p. 219-242 https://doi.org/10.1007/s40820-015-0040-x.

204.	Lallo da Silva, B., et al., Relationship Between Structure And Antimicrobial Activity Of Zinc Oxide Nanoparticles: An Overview. International Journal of Nanomedicine, 2019. 14: p. 9395-9410 https://doi.org/10.2147/IJN.S216204.

205.	Grigore, M.E., et al. Methods of Synthesis, Properties and Biomedical Applications of CuO Nanoparticles. Pharmaceuticals, 2016. 9,  https:/·d^-1oi.org/10.3390/ph9040075.

206.	Srihasam, S., et al. Phytogenic Generation of NiO Nanoparticles Using Stevia Leaf Extract and Evaluation of Their In-Vitro Antioxidant and Antimicrobial Properties. Biomolecules, 2020. 10,  https:/·d^-1oi.org/10.3390/biom10010089.

207.	Dizaj, S.M., et al., Antimicrobial activity of the metals and metal oxide nanoparticles. Materials Science and Engineering: C, 2014. 44: p. 278-284 https:/·d^-1oi.org/10.1016/j.msec.2014.08.031.

208.	Fernandes, M., et al., Recent Applications of Magnesium Oxide (MgO) Nanoparticles in various domains. Advanced Materials Letters, 2020. 11(8): p. 1-10 https://doi.org/10.5185/amlett.2020.081543.

209.	Rajan, A.R., et al., Biogenic synthesis of nanostructured Gd2O3: Structural, optical and bioactive properties. Ceramics International, 2019. 45(17, Part A): p. 21947-21952 https:/·d^-1oi.org/10.1016/j.ceramint.2019.07.208.

210.	Lingamdinne, L.P., et al., Potential of the magnetic hollow sphere nanocomposite (graphene oxide-gadolinium oxide) for arsenic removal from real field water and antimicrobial applications. Journal of Hazardous Materials, 2021. 402: p. 123882 https:/·d^-1oi.org/10.1016/j.jhazmat.2020.123882.

211.	Vindhya, P.S. and V.T. Kavitha, Phyto-synthesis of Pure and Mn Doped SnO2 Nanoparticles: Evaluation of Antimicrobial, Antioxidant and Photocatalytic Activities. Journal of Inorganic and Organometallic Polymers and Materials, 2023 https://doi.org/10.1007/s10904-023-02733-6.

212.	Gudkov, S.V., et al. Do Iron Oxide Nanoparticles Have Significant Antibacterial Properties? Antibiotics, 2021. 10,  DOI: 10.3390/antibiotics10070884.

213.	Xu, G., et al., Magnetite Fe3O4 nanoparticles and hematite α-Fe2O3 uniform oblique hexagonal microdisks, drum-like particles and spindles and their magnetic properties. Journal of Alloys and Compounds, 2015. 629: p. 36-42 https://doi.org/10.1016/j.jallcom.2014.11.140.

214.	Pansambal, S., et al., Bioengineered cerium oxide (CeO2) nanoparticles and their diverse applications: a review. Applied Nanoscience, 2022 https://doi.org/10.1007/s13204-022-02574-8.

215.	Sarojini, S. and S. Jayaram, An Impact of Antibacterial Efficacy of Metal Oxide Nanoparticles: A Promise for Future, in Bio-manufactured Nanomaterials: Perspectives and Promotion, K. Pal, Editor. 2021, Springer International Publishing: Cham. p. 393-406.

216.	Hernandez-Delgadillo, R., et al., Bismuth oxide aqueous colloidal nanoparticles inhibit Candida albicans growth and biofilm formation. International Journal of Nanomedicine, 2013. 8: p. 1645-1652 https://doi.org/10.2147/IJN.S38708.

217.	Jawad, K.H.H., et al., Antibacterial Activity of Bismuth Oxide Nanoparticles Compared to Amikacin against Acinetobacter baumannii and Staphylococcus aureus. Journal of Nanomaterials, 2022. 2022: p. 11 https://doi.org/10.1155/2022/8511601.

218.	Mallikarjunaswamy, C., et al., Facile synthesis of multifunctional bismuth oxychloride nanoparticles for photocatalysis and antimicrobial test. Materials Science and Engineering: B, 2023. 290: p. 116323 https:/·d^-1oi.org/10.1016/j.mseb.2023.116323.

219.	Sethulekshmi, A.S., et al., MoS2 based nanomaterials: Advanced antibacterial agents for future. Journal of Controlled Release, 2022. 348: p. 158-185 https:/·d^-1oi.org/10.1016/j.jconrel.2022.05.047.

220.	Rajendiran, K., et al. Antimicrobial Activity and Mechanism of Functionalized Quantum Dots. Polymers, 2019. 11,  DOI: 10.3390/polym11101670.

221.	Hossain, S.T. and S.K. Mukherjee, Toxicity of cadmium sulfide (CdS) nanoparticles against Escherichia coli and HeLa cells. Journal of Hazardous Materials, 2013. 260: p. 1073-1082 https:/·d^-1oi.org/10.1016/j.jhazmat.2013.07.005.

222.	Mostafa, A.M., E.A. Mwafy, and M.S. Hasanin, One-pot synthesis of nanostructured CdS, CuS, and SnS by pulsed laser ablation in liquid environment and their antimicrobial activity. Optics & Laser Technology, 2020. 121: p. 105824 https://doi.org/10.1016/j.optlastec.2019.105824.

223.	Zou, X., et al., Mechanisms of the Antimicrobial Activities of Graphene Materials. Journal of the American Chemical Society, 2016. 138(7): p. 2064-2077 https://doi.org/10.1021/jacs.5b11411.

224.	Ghirardello, M., J. Ramos-Soriano, and M.C. Galan Carbon Dots as an Emergent Class of Antimicrobial Agents. Nanomaterials, 2021. 11,  DOI: 10.3390/nano11081877.

225.	Anand, A., et al., Graphene oxide and carbon dots as broad-spectrum antimicrobial agents – a minireview. Nanoscale Horizons, 2019. 4(1): p. 117-137 https://doi.org/10.1039/C8NH00174J.

226.	Chandrasekaran, M., K.D. Kim, and S.C. Chun Antibacterial Activity of Chitosan Nanoparticles: A Review. Processes, 2020. 8,  DOI: 10.3390/pr8091173.

227.	Li, J., et al., Nanocellulose-Based Antibacterial Materials. Advanced Healthcare Materials, 2018. 7(20): p. 1800334 https:/·d^-1oi.org/10.1002/adhm.201800334.

228.	Liu, J., et al., Antibacterial mechanisms and applications of metal-organic frameworks and their derived nanomaterials. Trends in Food Science & Technology, 2021. 109: p. 413-434 https://doi.org/10.1016/j.tifs.2021.01.012.

229.	Valizadeh, B., T.N. Nguyen, and K.C. Stylianou, Shape engineering of metal–organic frameworks. Polyhedron, 2018. 145: p. 1-15 https:/·d^-1oi.org/10.1016/j.poly.2018.01.004.

230.	Balu, S.k., et al., Two dimensional (2D) MXenes as an emerging class of materials for antimicrobial applications: properties and mechanisms. Journal of Environmental Chemical Engineering, 2022. 10(6): p. 108663 https:/·d^-1oi.org/10.1016/j.jece.2022.108663.

231.	Xue, W., C. Zhang, and D. Zhou, Positive and negative effects of recirculating aquaculture water advanced oxidation: O3 and O3/UV treatments improved water quality but increased antibiotic resistance genes. Water Research, 2023. 235: p. 119835 https://doi.org/10.1016/j.watres.2023.119835.

232.	Wang, J., et al., Removal and distribution of antibiotics and resistance genes in conventional and advanced drinking water treatment processes. Journal of Water Process Engineering, 2022. 50 https://doi.org/10.1016/j.jwpe.2022.103217.

233.	Stange, C., et al., Comparative removal of antibiotic resistance genes during chlorination, ozonation, and UV treatment. International Journal of Hygiene and Environmental Health, 2019. 222(3): p. 541-548 https:/·d^-1oi.org/10.1016/j.ijheh.2019.02.002.

234.	Fiorentino, A., et al., Neutral (Fe3+-NTA) and acidic (Fe2+) pH solar photo-Fenton Vs chlorination: Effective urban wastewater disinfection does not mean control of antibiotic resistance. Journal of Environmental Chemical Engineering, 2022. 10(6) https://doi.org/10.1016/j.jece.2022.108777.

235.	Moreira, N.F.F., et al., Solar treatment (H2O2, TiO2-P25 and GO-TiO2 photocatalysis, photo-Fenton) of organic micropollutants, human pathogen indicators, antibiotic resistant bacteria and related genes in urban wastewater. Water Research, 2018. 135: p. 195-206 https://doi.org/10.1016/j.watres.2018.01.064.

236.	Ahmed, Y., et al., Efficient inactivation of antibiotic resistant bacteria and antibiotic resistance genes by photo-Fenton process under visible LED light and neutral pH. Water Research, 2020. 179 https://doi.org/10.1016/j.watres.2020.115878.

237.	Chen, L., et al., Inactivation of antibiotic-resistant bacteria and antibiotic resistance genes by electrochemical oxidation/electro-Fenton process. Water Science and Technology, 2020. 81(10): p. 2221-2231 https://doi.org/10.2166/wst.2020.282.

238.	Li, S.N., et al., Microbial electro-Fenton: A promising system for antibiotics resistance genes degradation and energy generation. Science of the Total Environment, 2020. 699 https://doi.org/10.1016/j.scitotenv.2019.134160.

239.	Wang, J.S., et al., Inactivation efficiency of P. Aeruginosa and ARGs removal in UV/NH2Cl process: Comparisons with UV and NH2Cl. Separation and Purification Technology, 2023. 305 https://doi.org/10.1016/j.seppur.2022.122473.

240.	Zhang, H.C., et al., Synergistic Effect of Permanganate and in Situ Synthesized Hydrated Manganese Oxide for Removing Antibiotic Resistance Genes from Wastewater Treatment Plant Effluent. Environmental Science & Technology, 2019. 53(22): p. 13374-13381 https://doi.org/10.1021/acs.est.9b05250.

241.	Meng, X.Q., et al., Bacterial cell lysis induced by pre-acidification greatly promoting the degradation of carried antibiotic resistance genes in zero-valent iron activated Fenton-like processes. Chemical Engineering Journal, 2023. 452 https://doi.org/10.1016/j.cej.2022.139413.

242.	Zhong, J., et al., Performance and mechanism in degradation of typical antibiotics and antibiotic resistance genes by magnetic resin-mediated UV-Fenton process. Ecotoxicology and Environmental Safety, 2021. 227 https://doi.org/10.1016/j.ecoenv.2021.112908.

243.	Liao, X.Y., et al., Degradation of antibiotic resistance contaminants in wastewater by atmospheric cold plasma: kinetics and mechanisms. Environmental Technology, 2021. 42(1): p. 58-71 https://doi.org/10.1080/09593330.2019.1620866.

244.	Yang, Y., et al., Inactivation of antibiotic resistant Escherichia coli and degradation of its resistance genes by glow discharge plasma in an aqueous solution. Chemosphere, 2020. 252 https://doi.org/10.1016/j.chemosphere.2020.126476.

245.	Li, H., et al., Simultaneous removal of antibiotic-resistant bacteria and its resistance genes in water by plasma oxidation: Highlights the effects of inorganic ions. Separation and Purification Technology, 2022. 278 https://doi.org/10.1016/j.seppur.2021.119672.

246.	He, K., et al., Low-concentration of trichloromethane and dichloroacetonitrile promote the plasmid-mediated horizontal transfer of antibiotic resistance genes. Journal of Hazardous Materials, 2022. 425: p. 128030 https:/·d^-1oi.org/10.1016/j.jhazmat.2021.128030.

247.	Wang, Y.J., et al., Removal of antibiotic resistant bacteria and genes by post-pyrolysis bio-hybridcarbon/peroxymonosulfate system: Gene-degrading intermediates of bioinformatic identification based on corrected-nanopore sequencing and preference mechanism. Chemical Engineering Journal, 2023. 460 https://doi.org/10.1016/j.cej.2023.141809.

248.	Wang, Y., et al., The inactivation of antibiotic-resistant bacteria and the damage of antibiotic-resistant genes using an electrified carbon nanotube membrane-NaClO system. Chemical Engineering Journal, 2023. 454 https:/·d^-1oi.org/10.1016/j.cej.2022.140183.

249.	Ren, S.J., et al., Photocatalytic Reactive Ultrafiltration Membrane for Removal of Antibiotic Resistant Bacteria and Antibiotic Resistance Genes from Wastewater Effluent. Environmental Science & Technology, 2018. 52(15): p. 8666-8673 https://doi.org/10.1021/acs.est.8b01888.

250.	Guo, C., et al., H2O2 and/or TiO2 photocatalysis under UV irradiation for the removal of antibiotic resistant bacteria and their antibiotic resistance genes. Journal of Hazardous Materials, 2017. 323: p. 710-718 https://doi.org/10.1016/j.jhazmat.2016.10.041.

251.	Zhou, Z.R., et al., Mechanistic insights for efficient inactivation of antibiotic resistance genes: a synergistic interfacial adsorption and photocatalytic-oxidation process. Science Bulletin, 2020. 65(24): p. 2107-2119 https://doi.org/10.1016/j.scib.2020.07.015.

252.	He, H., et al., Photoelectrocatalytic coupling system synergistically removal of antibiotics and antibiotic resistant bacteria from aquatic environment. Journal of Hazardous Materials, 2022. 424 https://doi.org/10.1016/j.jhazmat.2021.127553.

253.	Miao, H., et al., Recent Advances in the Disinfection of Water Using Nanoscale Antimicrobial Materials. Advanced Materials Technologies, 2018. 4(5): p. 1800213 https://doi.org/10.1002/admt.201800213.

254.	Hossain, F., et al., Antimicrobial nanomaterials as water disinfectant: Applications, limitations and future perspectives. Science of The Total Environment, 2014. 466-467: p. 1047-1059 https://doi.org/10.1016/j.scitotenv.2013.08.009.

255.	Wang, Y., et al., Antibiotic‐Free Antibacterial Strategies Enabled by Nanomaterials: Progress and Perspectives. Advanced Materials, 2019. 32(18): p. 1904106 https://doi.org/10.1002/adma.201904106.

256.	Wang, X., et al., Evaluation and mechanism of antifungal effects of carbon nanomaterials in controlling plant fungal pathogen. Carbon, 2014. 68: p. 798-806 https:/·d^-1oi.org/10.1016/j.carbon.2013.11.072.

257.	Zhao, X., et al., An overview of preparation and applications of stabilized zero-valent iron nanoparticles for soil and groundwater remediation. Water Research, 2016. 100: p. 245-266 https://doi.org/10.1016/j.watres.2016.05.019.

258.	Manke, A., L. Wang, and Y. Rojanasakul, Mechanisms of Nanoparticle-Induced Oxidative Stress and Toxicity. BioMed Research International, 2013. 2013: p. 1-15 https://doi.org/10.1155/2013/942916.

259.	Reidy, B., et al., Mechanisms of Silver Nanoparticle Release, Transformation and Toxicity: A Critical Review of Current Knowledge and Recommendations for Future Studies and Applications. 2013. 6(6): p. 2295-2350.

260.	Durán, N., et al., Silver nanoparticles: A new view on mechanistic aspects on antimicrobial activity. Nanomedicine: Nanotechnology, Biology and Medicine, 2016. 12(3): p. 789-799 https://doi.org/10.1016/j.nano.2015.11.016.

261.	Hu, B., et al., Selective Chromogenic Detection of Thiol-Containing Biomolecules Using Carbonaceous Nanospheres Loaded with Silver Nanoparticles as Carrier. ACS Nano, 2011. 5(4): p. 3166-3171 https://doi.org/10.1021/nn2003053.

262.	Lee, S. and B.-H. Jun, Silver Nanoparticles: Synthesis and Application for Nanomedicine. International Journal of Molecular Sciences, 2019. 20(4) https://doi.org/10.3390/ijms20040865.

263.	Rao, M.C., R. Koutavarapu, and M. Rose, Development of ZnO Nanoparticles for Clinical Applications. Journal of Chemical, Biological and Physical Sciences, 2014. 4: p. 469-473.

264.	Zhang, M., et al., The antibacterial and anti-biofouling performance of biogenic silver nanoparticles byLactobacillus fermentum. Biofouling, 2014. 30(3): p. 347-357 https://doi.org/10.1080/08927014.2013.873419.

265.	Khezerlou, A., et al., Nanoparticles and their antimicrobial properties against pathogens including bacteria, fungi, parasites and viruses. Microbial Pathogenesis, 2018. 123: p. 505-526 https:/·d^-1oi.org/10.1016/j.micpath.2018.08.008.

266.	Xu, Z., et al., Multiple roles of nanomaterials along with their based nanotechnologies in the elimination and dissemination of antibiotic resistance. Chemical Engineering Journal, 2023. 455: p. 140927 https://doi.org/10.1016/j.cej.2022.140927.

267.	Wang, N., et al., Influence of metal oxide nanoparticles concentration on their zeta potential. Journal of Colloid and Interface Science, 2013. 407: p. 22-28 https://doi.org/10.1016/j.jcis.2013.05.058.

268.	Ahmed, Y., et al., Simultaneous removal of antibiotic resistant bacteria, antibiotic resistance genes, and micropollutants by a modified photo-Fenton process. Water Research, 2021. 197: p. 117075 https:/·d^-1oi.org/10.1016/j.watres.2021.117075.

269.	Wen, G., et al., Inactivation of four genera of dominant fungal spores in groundwater using UV and UV/PMS: Efficiency and mechanisms. Chemical Engineering Journal, 2017. 328: p. 619-628 https:/·d^-1oi.org/10.1016/j.cej.2017.07.055.

270.	Zhang, Y., et al., Inactivation of ciliate Uronema marinum under UV/peroxydisulfate advanced disinfection system in marine water. Separation and Purification Technology, 2023. 305: p. 122563 https:/·d^-1oi.org/10.1016/j.seppur.2022.122563.

271.	Dodd, M.C., Potential impacts of disinfection processes on elimination and deactivation of antibiotic resistance genes during water and wastewater treatment. Journal of Environmental Monitoring, 2012. 14(7): p. 1754-1771 https://doi.org/10.1039/C2EM00006G.

272.	Kramarenko, G.G., et al., Ascorbate Reacts with Singlet Oxygen to Produce Hydrogen Peroxide. Photochemistry and Photobiology, 2006. 82(6): p. 1634-1637 https://doi.org/10.1111/j.1751-1097.2006.tb09823.x.

273.	Yoon, Y., et al., Inactivation efficiency of plasmid-encoded antibiotic resistance genes during water treatment with chlorine, UV, and UV/H2O2. Water Research, 2017. 123: p. 783-793 https://doi.org/10.1016/j.watres.2017.06.056.

274.	Guo, K., et al., Roles of Bromine Radicals and Hydroxyl Radicals in the Degradation of Micropollutants by the UV/Bromine Process. Environmental Science & Technology, 2020. 54(10): p. 6415-6426 https://doi.org/10.1021/acs.est.0c00723.

275.	Roginskaya, M., et al., DNA damage by the sulfate radical anion: hydrogen abstraction from the sugar moiety versus one-electron oxidation of guanine. Free Radical Research, 2016. 50(7): p. 756-766 https://doi.org/10.3109/10715762.2016.1166488.

276.	Hand, S. and R.D. Cusick, Electrochemical Disinfection in Water and Wastewater Treatment: Identifying Impacts of Water Quality and Operating Conditions on Performance. Environmental Science & Technology, 2021. 55(6): p. 3470-3482 https://doi.org/10.1021/acs.est.0c06254.

277.	Jeong, J., C. Kim, and J. Yoon, The effect of electrode material on the generation of oxidants and microbial inactivation in the electrochemical disinfection processes. Water Research, 2009. 43(4): p. 895-901 https:/·d^-1oi.org/10.1016/j.watres.2008.11.033.

278.	Scholtz, V., et al., Nonthermal plasma — A tool for decontamination and disinfection. Biotechnology Advances, 2015. 33(6, Part 2): p. 1108-1119 https://doi.org/10.1016/j.biotechadv.2015.01.002.

279.	Chen, H.H., et al., An improved process for high nutrition of germinated brown rice production: Low-pressure plasma. Food Chemistry, 2016. 191: p. 120-127 https:/·d^-1oi.org/10.1016/j.foodchem.2015.01.083.

280.	Murugesan, P., et al., Water decontamination using non-thermal plasma: Concepts, applications, and prospects. Journal of Environmental Chemical Engineering, 2020. 8(5): p. 104377 https:/·d^-1oi.org/10.1016/j.jece.2020.104377.

281.	Oehmigen, K., et al., The Role of Acidification for Antimicrobial Activity of Atmospheric Pressure Plasma in Liquids. Plasma Processes and Polymers, 2010. 7(3-4): p. 250-257 https://doi.org/10.1002/ppap.200900077.

282.	Zhang, A., et al., Motivation of reactive oxygen and nitrogen species by a novel non-thermal plasma coupled with calcium peroxide system for synergistic removal of sulfamethoxazole in waste activated sludge. Water Research, 2022. 212: p. 118128 https:/·d^-1oi.org/10.1016/j.watres.2022.118128.

283.	Lv, B., et al., Heat shock potentiates aminoglycosides against gram-negative bacteria by enhancing antibiotic uptake, protein aggregation, and ROS. Proceedings of the National Academy of Sciences, 2023. 120(12): p. e2217254120 https://doi.org/10.1073/pnas.2217254120.

284.	de Jonge, P.A., et al., Molecular and Evolutionary Determinants of Bacteriophage Host Range. Trends in Microbiology, 2019. 27(1): p. 51-63 https://doi.org/10.1016/j.tim.2018.08.006.

285.	González-Villalobos, E. and J.L. Balcázar, Does phage-mediated horizontal gene transfer represent an environmental risk? Trends in Microbiology, 2022. 30(11): p. 1022-1024 https:/·d^-1oi.org/10.1016/j.tim.2022.07.011.

286.	Srivastava, A., et al., Toxin-antitoxin systems and their medical applications: current status and future perspective. Applied Microbiology and Biotechnology, 2021. 105(5): p. 1803-1821 https://doi.org/10.1007/s00253-021-11134-z.

287.	Jurėnas, D., et al., Biology and evolution of bacterial toxin–antitoxin systems. Nature Reviews Microbiology, 2022. 20(6): p. 335-350 https://doi.org/10.1038/s41579-021-00661-1.

288.	Williams, J.J. and P.J. Hergenrother, Artificial activation of toxin–antitoxin systems as an antibacterial strategy. Trends in Microbiology, 2012. 20(6): p. 291-298 https://doi.org/10.1016/j.tim.2012.02.005.

289.	Równicki, M., et al. Targeting Type II Toxin–Antitoxin Systems as Antibacterial Strategies. Toxins, 2020. 12,  DOI: 10.3390/toxins12090568.

290.	Reardon, S., Modified viruses deliver death to antibiotic-resistant bacteria. Nature, 2017. 546(7660): p. 587-588 https://doi.org/10.1038/nature.2017.22173.

291.	Pawluk, A., A.R. Davidson, and K.L. Maxwell, Anti-CRISPR: discovery, mechanism and function. Nature Reviews Microbiology, 2018. 16(1): p. 12-17 https://doi.org/10.1038/nrmicro.2017.120.

292.	Bayat, H., et al., The Impact of CRISPR-Cas System on Antiviral Therapy. Adv Pharm Bull, 2018. 8(4): p. 591-597 https://doi.org/10.15171/apb.2018.067.

293.	Liao, B., et al., Applications of CRISPR/Cas gene-editing technology in yeast and fungi. Archives of Microbiology, 2021. 204(1): p. 79 https://doi.org/10.1007/s00203-021-02723-7.

294.	Grzybek, M., et al., The CRISPR/Cas9 system sheds new lights on the biology of protozoan parasites. Applied Microbiology and Biotechnology, 2018. 102(11): p. 4629-4640 https://doi.org/10.1007/s00253-018-8927-3.

295.	Abavisani, M., et al., CRISPR-Cas system as a promising player against bacterial infection and antibiotic resistance. Drug Resistance Updates, 2023. 68: p. 100948 https:/·d^-1oi.org/10.1016/j.drup.2023.100948.

296.	Ruas, G., et al., Removal of pathogens from domestic wastewater by microalgal-bacterial systems under different cultivation conditions. International Journal of Environmental Science and Technology, 2022. 19(10): p. 10177-10188 https://doi.org/10.1007/s13762-021-03820-2.

297.	Henderson, R., S.A. Parsons, and B. Jefferson, The impact of algal properties and pre-oxidation on solid–liquid separation of algae. Water Research, 2008. 42(8): p. 1827-1845 https:/·d^-1oi.org/10.1016/j.watres.2007.11.039.

298.	Little, S.M., et al., Antibacterial compounds in green microalgae from extreme environments: a review. Algae, 2021. 36(1): p. 61-72 https://doi.org/10.4490/algae.2021.36.3.6.

299.	Tang, Y., et al., Algal-bacterial consortium mediated system offers effective removal of nitrogen nutrients and antibiotic resistance genes. Bioresource Technology, 2022. 362: p. 127874 https:/·d^-1oi.org/10.1016/j.biortech.2022.127874.

300.	Muñoz, R. and B. Guieysse, Algal–bacterial processes for the treatment of hazardous contaminants: A review. Water Research, 2006. 40(15): p. 2799-2815 https:/·d^-1oi.org/10.1016/j.watres.2006.06.011.

301.	Sinha, R.K., G. Bharambe, and U. Chaudhari, Sewage treatment by vermifiltration with synchronous treatment of sludge by earthworms: a low-cost sustainable technology over conventional systems with potential for decentralization. The Environmentalist, 2008. 28(4): p. 409-420 https://doi.org/10.1007/s10669-008-9162-8.

302.	Patil, S.R. and P.M.J.I.J.o.A.S.R. Biradar, Earthworm’s coelomic fluid: extraction and importance. 2017. 2: p. 01-04.

303.	Li, D., et al., Organic Sonosensitizers for Sonodynamic Therapy: From Small Molecules and Nanoparticles toward Clinical Development. Small, 2021. 17(42): p. 2101976 https://doi.org/10.1002/smll.202101976.

304.	Xie, W., et al., Nanomaterial-based ROS-mediated strategies for combating bacteria and biofilms. Journal of Materials Research, 2021. 36(4): p. 822-845 https://doi.org/10.1557/s43578-021-00134-4.

305.	Huo, Z.-Y., et al., Synergistic Nanowire-Enhanced Electroporation and Electrochlorination for Highly Efficient Water Disinfection. Environmental Science & Technology, 2022. 56(15): p. 10925-10934 https://doi.org/10.1021/acs.est.2c01793.

306.	Luo, X., et al., Free-standing hierarchical α-MnO2@CuO membrane for catalytic filtration degradation of organic pollutants. Chemosphere, 2018. 200: p. 237-247 https:/·d^-1oi.org/10.1016/j.chemosphere.2018.02.113.

307.	Lyubimenko, R., et al., Noble-metal-free photosensitizers for continuous-flow photochemical oxidation of steroid hormone micropollutants under sunlight. Journal of Membrane Science, 2022. 642: p. 119981 https://doi.org/10.1016/j.memsci.2021.119981.

308.	Zhao, Y., et al., Peracetic acid integrated catalytic ceramic membrane filtration for enhanced membrane fouling control: Performance evaluation and mechanism analysis. Water Research, 2022. 220: p. 118710 https:/·d^-1oi.org/10.1016/j.watres.2022.118710.

309.	Anam, G.B., et al., Nanocomposite membrane integrated phage enrichment process for the enhancement of high rate phage infection and productivity. Biochemical Engineering Journal, 2020. 163: p. 107740 https:/·d^-1oi.org/10.1016/j.bej.2020.107740.

310.	Ma, W., et al., Bacteriophage-based strategies for biofouling control in ultrafiltration: In situ biofouling mitigation, biocidal additives and biofilm cleanser. Journal of Colloid and Interface Science, 2018. 523: p. 254-265 https://doi.org/10.1016/j.jcis.2018.03.105.

311.	Wdowiak, M., et al., Congo red protects bacteriophages against UV irradiation and allows for the simultaneous use of phages and UV for membrane sterilization. Environmental Science: Water Research & Technology, 2023. 9(3): p. 696-706 https://doi.org/10.1039/D2EW00913G.

312.	Al-Jassim, N., et al., Bacteriophages To Sensitize a Pathogenic New Delhi Metallo β-Lactamase-Positive Escherichia coli to Solar Disinfection. Environmental Science & Technology, 2018. 52(24): p. 14331-14341 https://doi.org/10.1021/acs.est.8b04501.

313.	Zhang, Y. and Z. Hu, Combined treatment of Pseudomonas aeruginosa biofilms with bacteriophages and chlorine. Biotechnology and Bioengineering, 2013. 110(1): p. 286-295 https:/·d^-1oi.org/10.1002/bit.24630.

314.	Tian, L., et al., Self-assembling nanofibrous bacteriophage microgels as sprayable antimicrobials targeting multidrug-resistant bacteria. Nature Communications, 2022. 13(1): p. 7158 https://doi.org/10.1038/s41467-022-34803-7.

315.	Malik, D.J., Approaches for manufacture, formulation, targeted delivery and controlled release of phage-based therapeutics. Current Opinion in Biotechnology, 2021. 68: p. 262-271 https:/·d^-1oi.org/10.1016/j.copbio.2021.02.009.

316.	Eliseus, A., et al., Energy minimization of a tilted panel filtration system for microalgae filtration: Performance modeling and optimization. Algal Research, 2018. 34: p. 104-115 https:/·d^-1oi.org/10.1016/j.algal.2018.07.008.

317.	Lourenço, N. and L.M. Nunes, Life-cycle assessment of decentralized solutions for wastewater treatment in small communities. Water Science and Technology, 2021. 84(8): p. 1954-1968 https://doi.org/10.2166/wst.2021.379.

318.	Zhao, J., et al., Micro-structured copper and nickel metal foams for wastewater disinfection: proof-of-concept and scale-up. Process Safety and Environmental Protection, 2020. 142: p. 191-202 https:/·d^-1oi.org/10.1016/j.psep.2020.06.013.

319.	Dankovich, T.A., et al., Inactivation of bacteria from contaminated streams in Limpopo, South Africa by silver- or copper-nanoparticle paper filters. Environmental Science: Water Research & Technology, 2016. 2(1): p. 85-96 https://doi.org/10.1039/C5EW00188A.

320.	Tian, Y., et al., Assessment of the Physicochemical Properties and Biological Effects of Water Activated by Non-thermal Plasma Above and Beneath the Water Surface. Plasma Processes and Polymers, 2015. 12(5): p. 439-449 https:/·d^-1oi.org/10.1002/ppap.201400082.

321.	Zhang, Y., H.K. Hunt, and Z. Hu, Application of bacteriophages to selectively remove Pseudomonas aeruginosa in water and wastewater filtration systems. Water Research, 2013. 47(13): p. 4507-4518 https://doi.org/10.1016/j.watres.2013.05.014.

322.	Muir, M.E., M. Ballesteros, and B.J. Wallace, Respiration Rate, Growth Rate and the Accumulation of Streptomycin in Escherichia coli. 1985. 131(10): p. 2573-2579 https:/·d^-1o/https:/·d^-1oi.org/10.1099/00221287-131-10-2573.

323.	Liu, S.-S., et al., Chlorine disinfection increases both intracellular and extracellular antibiotic resistance genes in a full-scale wastewater treatment plant. Water Research, 2018. 136: p. 131-136 https:/·d^-1oi.org/10.1016/j.watres.2018.02.036.

324.	Watson, K., et al., Chlorine disinfection by-products in wastewater effluent: Bioassay-based assessment of toxicological impact. Water Research, 2012. 46(18): p. 6069-6083 https:/·d^-1oi.org/10.1016/j.watres.2012.08.026.

325.	Wang, D., et al., Formation of disinfection by-products in the ultraviolet/chlorine advanced oxidation process. Science of The Total Environment, 2015. 518-519: p. 49-57 https://doi.org/10.1016/j.scitotenv.2015.02.094.

326.	Grunert, A., et al., A new approach to testing the efficacy of drinking water disinfectants. International Journal of Hygiene and Environmental Health, 2018. 221(8): p. 1124-1132 https:/·d^-1oi.org/10.1016/j.ijheh.2018.07.010.

327.	Antonelli, M., V. Mezzanotte, and C. Nurizzo, Wastewater Disinfection by UV Irradiation: Short and Long-Term Efficiency. Environmental Engineering Science, 2008. 25(3): p. 363-374 https://doi.org/10.1089/ees.2006.0268.

328.	Wenjun, S. and L. Wenjun, A pilot-scale study on ultraviolet disinfection system for drinking water. Journal of Water Supply: Research and Technology-Aqua, 2009. 58(5): p. 346-353 https://doi.org/10.2166/aqua.2009.086.

329.	Shi, Q., et al., Identification of surrogates for rapid monitoring of microbial inactivation by ozone for water reuse: A pilot-scale study. Journal of Hazardous Materials, 2022. 424: p. 127567 https://doi.org/10.1016/j.jhazmat.2021.127567.

330.	Xu, P., et al., Wastewater disinfection by ozone: main parameters for process design. Water Research, 2002. 36(4): p. 1043-1055 https://doi.org/10.1016/S0043-1354(01)00298-6.

331.	Wu, Q.-Y., et al., Underestimated risk from ozonation of wastewater containing bromide: Both organic byproducts and bromate contributed to the toxicity increase. Water Research, 2019. 162: p. 43-52 https://doi.org/10.1016/j.watres.2019.06.054.

332.	Owens, J.H., et al., Pilot-Scale Ozone Inactivation of Cryptosporidium and Other Microorganisms in Natural Water. Ozone: Science & Engineering, 2000. 22(5): p. 501-517 https://doi.org/10.1080/01919510009408793.

333.	Meunier, L., S. Canonica, and U. von Gunten, Implications of sequential use of UV and ozone for drinking water quality. Water Research, 2006. 40(9): p. 1864-1876 https://doi.org/10.1016/j.watres.2006.02.030.

334.	Legube, B., et al., Modeling of bromate formation by ozonation of surface waters in drinking water treatment. Water Research, 2004. 38(8): p. 2185-2195 https://doi.org/10.1016/j.watres.2004.01.028.

335.	Noman, E., et al., Inactivating pathogenic bacteria in greywater by biosynthesized Cu/Zn nanoparticles from secondary metabolite of Aspergillus iizukae; optimization, mechanism and techno economic analysis. PLOS ONE, 2019. 14(9): p. e0221522 https://doi.org/10.1371/journal.pone.0221522.

336.	Mahmoud, A.S., M.K. Mostafa, and R.W. Peters, A prototype of textile wastewater treatment using coagulation and adsorption by Fe/Cu nanoparticles: Techno-economic and scaling-up studies. Nanomaterials and Nanotechnology, 2021. 11: p. 18479804211041181 https://doi.org/10.1177/18479804211041181.

337.	Marinheiro, L., et al. A Comparative Study for Water Reuse in an Urban WWTP with a Novel Non-thermal Plasma Technology. in Proceedings of the 3rd International Conference on Water Energy Food and Sustainability (ICoWEFS 2023). 2024. Cham: Springer Nature Switzerland.

338.	Rej, D.J. and R.B. Alexander, Cost Estimates for Commercial Plasma Source Ion-Implantation. Journal of Vacuum Science & Technology B, 1994. 12(4): p. 2380-2387 https:/·d^-1oi.org/10.1116/1.587768.

339.	Krysiak-Baltyn, K., G.J.O. Martin, and S.L. Gras Computational Modelling of Large Scale Phage Production Using a Two-Stage Batch Process. Pharmaceuticals, 2018. 11,  https:/·d^-1oi.org/10.3390/ph11020031.

340.	Torres-Acosta, M.A., et al., Economic evaluation of the development of a phage therapy product for the control of Salmonella in poultry. Biotechnology Progress, 2019. 35(5): p. e2852 https://doi.org/10.1002/btpr.2852.

341.	Blatchley Iii, E.R., et al., Ultraviolet irradiation and chlorination·d^-1echlorination for municipal wastewater disinfection: Assessment of performance limitations. Water Environment Research, 1996. 68(2): p. 194-204 https://doi.org/10.2175/106143096X127389.

342.	Foglia, A., et al., Comparative life cycle environmental and economic assessment of anaerobic membrane bioreactor and disinfection for reclaimed water reuse in agricultural irrigation: A case study in Italy. Journal of Cleaner Production, 2021. 293 https://doi.org/10.1016/j.jclepro.2021.126201.

343.	Glaze, W.H., Drinking-Water Treatment with Ozone. Environmental Science & Technology, 1987. 21(3): p. 224-230 https://doi.org/10.1021/es00157a001.

344.	Wu, R., et al., Spatio-Design of Multidimensional Prickly Zn-Doped CuO Nanoparticle for Efficient Bacterial Killing. Advanced Materials Interfaces, 2016. 3(18): p. 1600472 https://doi.org/10.1002/admi.201600472.

345.	Su, Y.L., et al., Metallic nanoparticles induced antibiotic resistance genes attenuation of leachate culturable microbiota: The combined roles of growth inhibition, ion dissolution and oxidative stress. Environment International, 2019. 128: p. 407-416 https://doi.org/10.1016/j.envint.2019.05.007.

346.	Lu, X., et al., Binding Force and Site-Determined Desorption and Fragmentation of Antibiotic Resistance Genes from Metallic Nanomaterials. Environmental Science & Technology, 2021. 55(13): p. 9305-9316 https://doi.org/10.1021/acs.est.1c02047.

347.	Rathore, V., et al., Investigation of Physicochemical Properties of Plasma Activated Water and its Bactericidal Efficacy. Plasma Chemistry and Plasma Processing, 2021. 41(3): p. 871-902 https://doi.org/10.1007/s11090-021-10161-y.

348.	Zhong, R., et al., Removal of antibiotic resistance genes and pathogenicity in effluent from municipal wastewater treatment plant by plasma oxidation. Chemical Engineering Journal, 2023. 454: p. 140274 https://doi.org/10.1016/j.cej.2022.140274.

349.	Nicol, M.J., et al., Antibacterial effects of low-temperature plasma generated by atmospheric-pressure plasma jet are mediated by reactive oxygen species. Scientific Reports, 2020. 10(1) https://doi.org/10.1038·s^-141598-020-59652-6.

350.	Liu, Y., et al., Study of Combined Effect of Bacteriophage vB3530 and Chlorhexidine on the Inactivation of Pseudomonas aeruginosa. BMC Microbiology, 2023. 23(1): p. 256 https://doi.org/10.1186/s12866-023-02976-w.

351.	Akhavan, O., Lasting antibacterial activities of Ag–TiO2/Ag/a-TiO2 nanocomposite thin film photocatalysts under solar light irradiation. Journal of Colloid and Interface Science, 2009. 336(1): p. 117-124 https://doi.org/10.1016/j.jcis.2009.03.018.

352.	Behnke, S., et al., Comparing the Chlorine Disinfection of Detached Biofilm Clusters with Those of Sessile Biofilms and Planktonic Cells in Single- and Dual-Species Cultures. Applied and Environmental Microbiology, 2011. 77(20): p. 7176-7184 https://doi.org/10.1128/AEM.05514-11.

353.	Zheng, J., et al., Effects and mechanisms of ultraviolet, chlorination, and ozone disinfection on antibiotic resistance genes in secondary effluents of municipal wastewater treatment plants. Chemical Engineering Journal, 2017. 317: p. 309-316 https://doi.org/10.1016/j.cej.2017.02.076.

354.	Labas, M.D., C.A. Martín, and A.E. Cassano, Kinetics of bacteria disinfection with UV radiation in an absorbing and nutritious medium. Chemical Engineering Journal, 2005. 114(1): p. 87-97 https://doi.org/10.1016/j.cej.2005.09.013.

355.	Mohsin, M.S., et al., Low-irradiance inactivation kinetics of Escherichia coli during prolonged exposure to ultraviolet-C radiation. Environmental Science: Water Research & Technology, 2023. 9(6): p. 1654-1662 https://doi.org/10.1039/D2EW00886F.

356.	Perez, A., T. Poznyak, and I. Chairez, Microorganism Inactivation by Ozone Dissolved in Aqueous Solution: A Kinetic Study Based on Bacterial Culture Lipid Unsaturation. Ozone-Science & Engineering, 2015. 37(2): p. 119-126 https://doi.org/10.1080/01919512.2014.917947.

357.	Saaty, T.L.J.T.J.o.t.O.R.S., The analytic hierarchy process (AHP). 1980. 41(11): p. 1073-1076.