Supplementary data for

Long-Term Observations of Atmospheric Constituents at the First Ground-Based High-Resolution Fourier-Transform Spectrometry Observation Station in China

Cheng Liu a,b,c,d,e, Youwen Sun a,b,*, Changgong Shan b, Wei Wang b, Justus Notholt f, Mathias Palm f, Hao Yin a,c, Yuan Tian g, Jixi Gao h, Huiqin Mao h

a Department of Precision Machinery and Precision Instrumentation, University of Science and Technology of China, Hefei 230026, China

b Key Laboratory of Environmental Optics and Technology, Anhui Institute of Optics and Fine Mechanics, HFIPS, Chinese Academy of Sciences, Hefei 230031, China

c Center for Excellence in the Regional Atmospheric Environment, Institute of Urban Environment, Chinese Academy of Sciences, Xiamen, 361021, China

d Key Laboratory of Precision Scientific Instrumentation of the Anhui Higher Education Institutes, University of Science and Technology of China, Hefei 230026, China

e Anhui Province Key Laboratory of the Polar Environment and Global Change, University of Science and Technology of China, Hefei 230026, China

f Institute of Environmental Physics, University of Bremen, Bremen 28334, Germany

g Institutes of Physical Science and Information Technology, Anhui University, Hefei, 230601, China

h Satellite Application Center for Ecology and the Environment, Ministry of Ecology and the Environment of the People’s Republic of China, Beijing 100094, China

* Corresponding author.

E-mail address: ywsun@aiofm.ac.cn (Y. Sun)

Table S1. Detectors of the spectrometer at the Hefei station and their work ranges

| Detector | Spectral range (cm-1) | Operating temperature |
| --- | --- | --- |
| GaP diode | 50,000 ~ 18,000 | Room temperature cooled |
| Vacuum diode | 43,000 ~ 24,000 | Room temperature cooled |
| Si diode | 25,000 ~ 9,000 | Room temperature cooled |
| Indium-Gallium-Arsenide (InGaAs) | 12,800 ~ 4,000 | Room temperature cooled |
| Indium Antimonide (InSb) | 11,000 ~ 1,850 | Liquid-nitrogen cooled |
| Mercury Cadmium Telluride (MCT) | 12,000 ~ 420 | Liquid-nitrogen cooled |

Table S2. Beam splitters of the spectrometer at the Hefei station and their work ranges

| Beam splitter | Work range | Suitable detectors | Spectral range (cm-1) |
| --- | --- | --- | --- |
| Kalium bromatum (KBr) | Middle infrared (MIR) | MCT, InSb | 4,800 - 450 |
| Calcium Fluoride (CaF2) | Near infrared (NIR) | InSb, InGaAs, Si | 14,000 - 1,850 |
| Quartz (II) | Visiable | Si | 25,000 - 9,500 |
| Quartz UV | Ultraviolet-visible (UV) | GaP, Vaccum diode | 43,000 - 28,000 |

Table S3. Details of spectral acquisition settings and typical gases retrieved in each spectrum for a standard observation run at the Hefei station

| Acquisition mode | Filter (cm-1) | Spectra range (cm-1) | Resolution (cm-1) | Beam splitter (-) | Detector (-) | Acquisition time (second) | Gas retrieved |
| --- | --- | --- | --- | --- | --- | --- | --- |
| TCCON (NIR) | no | 4 000-11 000 | 0.02 | CaF2 | InGaAs | 150 | CO2, CH4, N2O, HF, CO, H2O, HCl, and HDO |
| NDACC (MIR) | *λc=1000 | 500-1500 | 0.005 | KBr | MCT | 288 | HNO3, O3, CCl2F2, CCl3F, PAN, CH3OH, NH3, HCOOH, ClONO2, N2O, CF4, ClO, COF2, CHF2Cl, and SF6 |
|  | λc=1800 | 1850-2175 | 0.005 | KBr | InSb | 288 | CO |
|  | λc=2300 | 1950-2600 | 0.005 | KBr | InSb | 288 | CO, N2, OCS, CO2, NO, COF2 |
|  | λc=2800 | 2430-3050 | 0.005 | KBr | InSb | 288 | CH4, HCl, N2O, C2H6, H2O, N2, CO2, H2CO, NO2, HDO, and C3H8 |
|  | λc=3200 | 2900-3550 | 0.005 | KBr | InSb | 288 | O3, HCN, C2H4, C2H2 |
|  | λc=4150 | 3950-4300 | 0.005 | KBr | InSb | 288 | HF |
|  | λc=5000 | 4500-5100 | 0.005 | KBr | InSb | 288 | CO |

*Central transmission wavenumber

Table S4. Retrieval setups for all gases in NIR spectra suite using GGG2014

| Target Gas | Central Wavenumber (cm-1) | Window width (cm-1) | Interfering species |
| --- | --- | --- | --- |
| CO2 | 6220 6339 | 80 85 | H2O, HDO, CH4 H2O, HDO |
| CH4 | 5938.00 6002.00 6076.00 | 116.00 1.10 138.00 | CO2, H2O, N2O CO2, H2O, HDO CO2, H2O, HDO |
| O2 | 7885.00 | 240.00 | O2, continuum, H2O, HF, CO2 |
| CO | 4233.00 4290.40 | 48.60 56.80 | CH4, H2O, HDO CH4, H2O, HDO |
| N2O | 4395.20 4430.10 4719.50 | 43.40 23.10 73.10 | CH4, H2O, HDO CH4, H2O, HDO, CO2 CH4, H2O, CO2 |
| HDO | 4054.60 4116.10 4212.45 4232.50 6330.05 6377.40 | 3.30 8.00 1.90 11.00 45.50 50.20 | H2O, CH4 H2O, CH4 H2O, CH4 H2O, CH4, CO H2O, CH4, CO H2O, CO2 |
| H2O | 4565.20 4571.75 4576.85 4611.05 4622.00 4699.55 6076.90 6099.35 6125.85 6177.30 6255.95 6301.35 6392.45 6401.15 6469.60 | 2.50 2.50 1.90 2.20 2.30 4.00 3.85 0.95 1.45 0.83 3.60 7.90 3.10 1.15 3.50 | CO2, CH4 CO2, CH4 CH4 CH4 CO2 CO2, N2O CH4, HDO, CO2 HDO, CO2 HDO, CO2, CH4 HDO, CO2, CH4 CO2, HDO CO2, HDO HDO CO2, HDO CO2, HDO |

Table S5. Summary of the retrieval parameters used for all NDACC gases. All micro windows (MW) are given in cm-1

| Gases | O3 | HNO3 | HCl | HF | ClONO2 | CH4 | CO | N2O | C2H6 | HCN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MW for retrieval | 1000-1004.5 | 867.5-870 | 2727.73-2727.83 2775.7-2775.8 2925.8-2926.0 | 4109.4-4110.2 | 779.85-780.45 782.55-782.87 | 2613.7-2615.4 2835.5-2835.8 2921.0-2921.6 | 2057.7-2058 2069.56-2069.76 2157.5-2159.15 | 2441.8-2444.6 2481.2-2482.5 | 2976-2978 2982.6-2984.5 | 3268-3268.38 3287-3287.48 |
| Interfering gases | H2O, CO2, C2H4, O3668, O3686 | H2O, OCS, NH3 | CH4, NO2, O3, N2O, HDO | H2O, HDO, CH4 | O3, HNO3, H2O, CO2 | CO2, NO2, H2O, HDO | O3, N2O, CO2, OCS, H2O | CO2, CH4 | H2O, CH4, O3 | H2O, O3, C2H2, CH4 |
| H2O treatment | Profile retrieval | Scaling retrieval | Profile retrieval | Profile retrieval | Scaling retrieval | Profile retrieval | Profile retrieval | Profile retrieval | Profile retrieval | Profile retrieval |
| SNR for de-weighting | None | None | 300 | None | None | None | 500 | None | None | None |
| Sa | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std | Diagonal: WACCM Std |
| Error analysis | Systematic error: -Smoothing error -Errors from parameters not retrieved by sfit4 *: Background curvature, Optical path difference, Field of view, Solar line strength, Background slope, Solar line shift, Phase, Solar zenith angle, Line temperature broadening, Line pressure broadening, Line intensity |  |  |  |  |  |  |  |  |  |
|  | Random error: -Interference errors: Retrieval parameters, Interfering species -Measurement error - Errors from parameters not retrieved by sfit4 a: Temperature, Zero level |  |  |  |  |  |  |  |  |  |

*The input uncertainties of all these items are the same and are included into error analysis if they are not retrieved. Otherwise, the corresponding uncertainties wouldn’t be included.