Supplementary data for

Development of Electroactive Biofiltration Dynamic Membrane (EBDM) for Enhanced Wastewater Treatment and Fouling Mitigation: Unraveling the Growth Equilibrium Mechanisms of Fouling Layer

Chengxin Niu, Wei Shi, Zhouyan Li, Zhiwei Qiu, Yun Guo, Zhiwei Wang*

State Key Laboratory of Pollution Control and Resource Reuse, Key Laboratory of Yangtze River Water Environment of Ministry of Education, Shanghai Institute of Pollution Control and Ecological Security, School of Environmental Science and Engineering, Tongji University, Shanghai, 200092, China

*Corresponding author.

E-mail address: zwwang@tongji.edu.cn (Z. Wang)

Table S1. The compositions of synthetic wastewater.

| Chemicals | Concentration |
| --- | --- |
| Glucose | 400 mg/L |
| NaHCO3 | 300 mg/L |
| Peptone | 100 mg/L |
| Starch | 30 mg/L |
| NH4Cl | 150 mg/L |
| K2HPO4 | 30 mg/L |
| MgSO4·7H2O | 25 mg/L |
| CaCl2·2H2O | 25 mg/L |
| MnSO4 | 3 mg/L |
| FeSO4 | 2 mg/L |
| Trace element solution | 1 mL/L |

Table S2. Physical and chemical indicators of wastewater.

| Indicators | Values | Units |
| --- | --- | --- |
| pH | 7.0 ± 0.1 | / |
| ORP | -27.7 ± 1.5 | mV |
| Conductivity | 736.6 ± 3.5 | μs/cm |
| COD | 615.4 ± 9.8 | mg/L |
| Soluble COD | 517.7 ± 7.6 | mg/L |
| NH4+-N | 41.3 ± 0.2 | mg/L |
| PO43--P | 5.4 ± 0.1 | mg/L |

Table S3. The compositions of trace element solution.

| Chemicals | Concentration |
| --- | --- |
| NiSO4·7H2O | 5.0 mg/L |
| MnCl2·4H2O | 1.0 mg/L |
| CoCl2·2H2O | 0.6 mg/L |
| CuCl2·2H2O | 0.3 mg/L |
| FeCl3·6H2O | 4.0 mg/L |
| ZnCl2 | 0.6 mg/L |
| (NH4)2MoO4·4H2O | 0.4 mg/L |
| NaBO2·10H2O | 0.2 mg/L |

Text S1

In brief, a 30 mL sludge sample was initially centrifuged at 8000g for 15 min at 4 °C, and the supernatant was collected as soluble EPS (S-EPS). The sludge pellets were subsequently re-suspended to their original volume by adding a NaCl solution (0.05 wt%, 70°C). The sludge suspension was rapidly vortexed using a Vortex-Genie 2 for 1 min, followed by centrifugation (8000g for 10 min at 4°C) to collect loosely bound EPS (LB-EPS). The tightly bound EPS (TB-EPS) was extracted by adding NaCl solution and heat-treated in a water bath at 60°C for 30 min. After being centrifuged at 8000g for 15 min at 4°C, the supernatant was collected as TB-EPS, and the sludge sample left in bottom was the pellet. During sample collection, all supernatants were filtered through membranes with 0.45 μm pore size.

Text S2

The collected samples were subjected to centrifugation at 4°C for 10 min at a force of 8000 g. Subsequently, all collected samples were rapidly frozen using liquid nitrogen and stored at −80°C before analysis. Before metagenomic analysis, the samples were thawed at 4°C, and total genomic DNA was extracted using the E.Z.N.A. Soil DNA Kit (Omega Bio-tek, Norcross, GA). The concentration and purity of the DNA extract were assessed using a TBS-380 fluorometer (Turner Biosystem) and a NanoDrop 2000 spectrophotometer (Thermo Scientific), respectively. The quality of the DNA extract was evaluated by employing a 1% agarose gel. The DNA extracts were then fragmented using the Covaris M220 instrument (Gene Company Limited, China). For the construction of the metagenomic library, the NEXTFlex Rapid DNA-Seq Kit (Bioo Scientific, Austin, TX) was employed, and adapters containing complete sequencing primer hybridization sites were ligated to the blunt ends of the fragments. Paired-end sequencing was performed using the Illumina NovaSeq/Hiseq Xten platform (Illumina Inc., San Diego, CA) with NovaSeq Reagent Kits/HiSeq X Reagent Kits.

Fig. S1. Proportions of different modules in the methanogenic pathway.

Fig. S2. Conductivity results of the fouling layers in the two reactors.