Supplementary data for

Coordinated Transmission Renewable-Storage Planning in Renewable- Dominant Power Systems Considering Energy Transmission Pathways

Qian Yang a,b, Jianxue Wang a,*, Zhiyuan Li a, Yao Zhang a, Xiuli Wang a, Xifan Wang a

a State Key Laboratory of Electrical Insulation and Power Equipment, School of Electrical Engineering, Xi’an Jiaotong University, Xi’an 710049, China

b Northwest Branch of State Grid Corporation of China, Xi’an 710048, China

* Corresponding author.

E-mail address: jxwang@mail.xjtu.edu.cn (J. Wang).

The convergence process and iterative parameter values of Case A1 are shown in Fig. A1 and Table A1, respectively.

Fig. A1.  Convergence process for Case A1.

Table A1

Iterative parameter values for Case A1.

| w | Procedure |  |  |  |  |  |  |  |  | Gap |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | P1 | 35.00% | 30.00% | 40.00% | 35.00% | 35.49% | 29.43% | 39.34% | 32.99% | - |
| 2 | P1 | 35.00% | 30.57% | 40.66% | 37.01% | 35.09% | 29.58% | 39.61% | 34.29% | - |
| 3 | P1 | 35.00% | 30.99% | 41.05% | 37.72% | 35.56% | 30.02% | 39.52% | 34.63% | - |
| 4 | P1 | 35.00% | 30.99% | 41.53% | 38.09% | 35.28% | 30.99% | 40.25% | 35.19% | 0.38% |
| 5 | P2 | 35.00% | 30.99% | 41.29% | 37.91% | 35.62% | 29.68% | 39.75% | 34.76% | 0.33% |
| 6 | P2 | 35.00% | 30.99% | 41.41% | 38.00% | 35.70% | 29.99% | 39.11% | 34.21% | 0.23% |
| 7 | P2 | 35.00% | 30.99% | 41.47% | 38.05% | 35.42% | 30.81% | 40.17% | 34.22% | 0.19% |
| 8 | P2 | 35.00% | 30.99% | 41.50% | 38.07% | 35.45% | 30.36% | 40.36% | 35.02% | 0.03% |