Supplementary Information for

Ecologically Inspired Water Network Optimization of Steel Manufacture Using Constructed Wetlands as a Wastewater Treatment Process

Kaili Zhang a, Stephen M. Malone b, Bert Bras b, Marc Weissburg c, Yuehong Zhao a,*, Hongbin Cao a

a Institute of Process Engineering, Chinese Academy of Sciences, Beijing 100190, China

b The George W. Woodruff School of Mechanical Engineering, Georgia Institute of Technology, Georgia 30332, USA

c School of Biological Sciences, Georgia Institute of Technology, Georgia 30332, USA

* Corresponding author.

E-mail address: yhzhao@ipe.ac.cn

S1. Mathematical models

S1.1. Freshwater sources

Freshwater sources can be supplied to indirect open circulating cooling water systems (IOs), indirect closed circulating cooling water systems (ICs), direct open circulating cooling water systems (DOs), once-through process systems (OPs), or water demand systems (WDs), as shown in Fig. S1.

The water balance at the splitting point is given by Eq. (S1).

,       (S1)

For each of the flowrates between the splitter point of the freshwater source and the mixing points in the network, the lower and upper bound constraints formulated with 0–1 variables that denote the existence of these streams are given as follows:

, ,                    (S2)

, ,                    (S3)

, ,                  (S4)

, ,                   (S5)

, ,                  (S6)

, ,                (S7)

Fig. S1. Splitting the streams of freshwater source.

S1.2. Once-through process water systems

Fig. S2 shows a schematic representation of an OP, where the balances on flows and mass loads of contaminant j at the mixing point of the process unit are given by Eqs. (S8) and (S9), respectively.

,

(S8)

,

(S9)

The flow balance at the splitting point of the process unit is expressed in Eq. (S10).

,

(S10)

In addition, the balances on the flowrates of the OP are formulated as Eq. (S11):

,                            (S11)

Considering that the inlet concentration cannot be greater than the maximum inlet concentration of contaminant j, a constraint is defined as Eq. S13.

,                          (S12)

The lower and upper bound constraints that formulate flows between the splitter point of the process unit and the mixing points with binary variables are similar to the formulations in Section S1.1.

Fig. S2. Inlet and outlet streams of the OP.

S1.3. Wastewater treatment systems

Fig. S3 shows a representation of a wastewater treatment system (WT). The outlet stream can be used by an OP, IO, DO, WD, desalination system (DS), and another WT, or can be discharged. The inlet stream can receive water from thewater source systems (WSs), an OP, another WT, the outlet water and backwash wastewater of the IO and DO, and the backwash wastewater of the DS.

The balances on flows and mass loads of contaminant j at the mixing point of the WT are given by Eq. (S13) and Eq. (S14), respectively.

,         (S13)

,

,      (S14)

The flow balance at the splitting point of the system is expressed by Eq. (S15).

,     (S15)

The flowrate balance and inlet concentration limit of the WT are shown below.

(S16)

, ,                    (S17)

The lower and upper bound constraints that formulate the flows illustrated in Fig. S3 are similar to the formulations in Section S1.1.

Fig. S3. Inlet and outlet streams of the WT.

S1.4. Indirect open circulating cooling water systems

Fig. S4 provides a diagram of an IO. The process has two outflows, and outlet water can be used by an OP, WD, WT, DO, and IO. The backwash wastewater can also be used by those systems, except for the IO. In addition, the system can receive water from the S, WS, OP, WT, and the outlet water of the IO, as well as the soft water, desalination water, and concentrate from the DS.

The balances on the flows and mass loads of contaminant j at the mixing point before the system are given by Eq. (S18) and Eq. (S19), respectively.

,        (S18)

,

,     (S19)

The flow balances at the two splitting points after the system are expressed by Eq. (S20) and Eq. (S21).

,

(S20)

, ,         (S21)

The flowrate balance and inlet concentration limit of WT are shown below.

,                       (S22)

, ,                      (S23)

The lower and upper bound constraints are similar to the formulations in Section S1.1.

Fig. S4. Inlet and outlet streams of the IO.

S1.5 Direct open circulating cooling water systems

Fig. S5 provides a diagram of a DO. The process has two outflows, and outlet water can be used by the OP, WD, WT, DO, and IO. The backwash wastewater can also be used by those systems, except for the IO and DO. The system can receive water from the S, WS, OP, WT, and both the outflows of the IO, as well as the soft water, desalination water, and concentrate from the DS.

The balances of the flows and mass loads of contaminant j at the mixing point before the system are given by Eq. (S24) and Eq. (S25), respectively.

,     (S24)

,

,     (S25)

The flow balances at the two splitting points after the process unit are expressed by Eq. (S26) and Eq. (S27).

,           (S26)

,                    (S27)

The flowrate balance and inlet concentration limit of the WT are shown below.

,                   (S28)

, ,                     (S29)

The lower and upper bound constraints are similar to the formulations in Section S1.1.

Fig. S5. Inlet and outlet streams of the DO.

S1.6. Indirect closed circulating cooling water systems

Fig. S6 provides a diagram of an IC. The system can receive water from the S, WS, and soft water and desalination water from the DS.

The balances of the flows and mass loads of contaminant j at the mixing point before the system are given by Eq. (S30) and Eq. (S31), respectively.

,                   (S30)

, ,  (S31)

The inlet concentration limit is shown below.

, ,                 (S32)

The lower and upper bound constraints are similar to the formulations in Section S1.1.

Fig. S6. The inlet streams of the IC.

S1.7. Water demand system

Fig. S7 provides a diagram of a WD. The system can receive water from the S, WS, OP, and WT; from both the outflows of the IO and DO; and the four outlet waters from the DS.

The balances on the flows and mass loads of contaminant j at the mixing point before the system are given by Eq. (S33) and Eq. (S34), respectively.

,

(S33)

,       (S34)

The inlet concentration limit is expressed as Eq. (S35).

, ,                   (S35)

Fig. S7 The inlet streams of WD.

S1. 8 Water source system

The water from WSs can be supplied to the IO, IC, DO, OP, WD, or WT, as shown in Fig. S8.

The water balance at the splitting point is given by Eq. (S36).

,

(S36)

Fig. S8. The outlet streams of the WS.

S1.9. Desalination system

Fig. S9 provides an illustration of a DS with four outlets, of which the soft water, labeled as , can be used by the IC, OP, IO, DO, and WD; the desalination water, labeled as , can be used by the IC, OP, IO, DO, and WD; the concentrate, labeled as , can be used by the OP, DO, or discharge; and the backwash wastewater, labeled as , can only be sent to the WT for treatment. The system can only receive water from the S or WT.

The balances of the flows at the mixing point of the DS are given below.

,                  (S37)

,   (S38)

,   (S39)

,             (S40)

,                   (S41)

Fig. S9. The inlet and outlet streams of the DS.

S1.10. Discharge constraints

The streams from the OP and WT, and the concentrate of the DS, can be discharged to the environment, as shown in Fig. 10. The balances on the flows and contaminants can be represented by Eq. (S42) and Eq. (S43).

(S42)

,          (S43)

The discharge limit is described as Eq. (S44).

,                            (S44)

Fig. 10. Streams for discharge.

S1.11. Objective function

The objective function is formulated to minimize the total annual cost. The formulation is given by Eq. (S45).

(S45)

where is the cost of freshwater,  is the cost of treatment units,  is the cost of pumping, and is the cost of discharge.

The annualized expressions for the four cost components are defined as follows:

(S46)

(S47)

,

,    (S48)

(S49)

Parameters in the objective function

Hours of plant operation time per year

Unit cost of freshwater source s

Cost coefficient for wastewater treatment system wt

Cost coefficient for soft water in desalination system ds

Operating cost coefficient for desalination water in desalination system ds

Cost coefficient for pumping

Cost coefficient for discharge

Parameters

Water flowrate of inlet stream of WD system

Maximum concentration of contaminant j in inlet stream of WD system

Water flowrate of WS system

Concentration of contaminant j of WS system

Water flowrate of inlet stream of OP system

Water flowrate of outlet stream of OP system

Water flowrate of evaporation of OP system

Water flowrate of losses of WT system

Maximum concentration of contaminant j in inlet stream of WT system

Concentration of contaminant j in outlet stream of OP system

Concentration of contaminant j in outlet stream of WT system

Variables

Concentration of contaminant j in inlet stream of WD system

Concentration of contaminant j in inlet stream of OP system

Water flowrate of inlet stream of WT system

Water flowrate of outlet stream of WT system

Concentration of contaminant j in inlet stream of WT system

Superscripts

Inlet stream

Outlet stream

Maximal

Lower bound

Upper bound

S2. Data of the steel industry water network

Table S2.1

Water flowrate of all IOs and Dos.

| All IOs and DOs | (m3·h−1) | (m3·h−1) | (m3·h−1) |
| --- | --- | --- | --- |
| The IO in SI | 740 | 8 | 5 |
| The IO in CO | 11358 | 150 | 57 |
| The IO in IM | 2448 | 22 | 10 |
| The IO in SM(I) & CC(I) & HR(I) | 15810 | 150 | 240 |
| The DO of secondary cooling zone in SM(I) & CC(I) & HR(I) | 2200 | 160 | 100 |
| The DO of roller cooling in SM(I) & CC(I) & HR(I) | 8127 | 60 | 75 |
| The DO of laminar flow cooling in SM(I) & CC(I) & HR(I) | 7240 | 60 | 20 |
| The IO in SM(II) & CC(II) | 6453 | 86 | 25 |
| The DO of steel making in SM(II) & CC(II) | 6453 | 57 | 10 |
| The DO of secondary cooling zone in SM(II) & CC(II) | 3255 | 50 | 67 |
| The IO in CR | 5800 | 40 | 10 |
| The IO in SS | 1700 | 22 | 10 |
| The DO in SS | 2044 | 23 | 20 |
| The IO in WR | 2140 | 20 | 5 |
| The DO in WR | 2450 | 22 | 20 |
| The IO in PP | 41000 | 450 | 0 |

SI: sintering; CO: coking; IM: iron-making; SM: steel-making; CC: continuous casting; HR: hot rolling; CR: cold rolling; SS: section steel; WR: wire rod; PP: power plant.

Table S2.2

Contaminant concentration data of IOs and DOs.

|  | Cl− (mg·L−1) | TSS (mg·L−1) |
| --- | --- | --- |
| Inlet concentration limit of IOs | 297 | 19.5 |
| Concentration of outlet water of IOs | 300 | 20 |
| Concentration of backwash wastewater of IOs | 300 | 150 |
| Inlet concentration limit of DOs | 396 | 49 |
| Concentration of outlet water of DOs | 400 | 50 |
| Concentration of backwash wastewater of DOs | 400 | 300 |

Table S2.3

Cost data.

| Types | Cost (CNY·(m3·h)−1) |
| --- | --- |
| Freshwater | 2 |
| Soft water | 1 |
| Desalination water | 1.5 |
| Water treatment in WT | 0.3 |
| Discharge cost of concentrate | 2 |