Supplementary data for

Bank Filtration as A Robust Pretreatment of Gravity-Driven Membrane Filtration: Performance Enhancement and Mechanistic Insights

Na Lia, Chu Zhoua, Fang Xub, Danting Shia, Fanxi Zenga, Liang Luoa, Zheng Fanga, Senlin Shaoa,*

a School of Civil Engineering, Wuhan University, Wuhan 430072, PR China

b Faculty of Resources and Environmental Science, Hubei University, Wuhan 430062, PR China

* Corresponding author:

E-mail address: shaosenlin@whu.edu.cn (S. Shao)

Number of Pages: 17

Number of Tables: 3

Number of Figures: 6

S1. AOC standard curve

Fig. S1. The relationship between acetate-C and net growth of natural microbial consortium.

S2.	Additional information for the GDM in the previous studies

Table S1. Overview of membrane filtration performance in the reported GDM systems.

| Water source | Stable flux | TOC or DOC (mg L-1) | Membrane pore size | Applied pressure (cm) | Ref. |
| --- | --- | --- | --- | --- | --- |
| River water | 2.0 | 3.5 | 150KDa | 10 | Du et al., 2022[1] |
| Lake water | 7.8 | 2.6 | 150KDa | 40 | Shi et al., 2022[2] |
| Surface water | 3.5 | 2.7 | 150KDa | 60 | Li et al., 2022[3] |
| Surface water | 1.5 | 5.7 | 100 kDa | 50 | Li et al., 2022[4] |
| River water | 3.9 | 2.1 | 150KDa | 65 | Huang et al., 2021[5] |
| River water | 5.5 | 2.3 | 150KDa | 50 | Tang et al., 2021[6] |
| Lake water | 2.4 | 6.6 | 150KDa | 55 | Shi et al., 2020[7] |
| River water | 2.3 | 3.7 | 100KDa | 10 | Du et al., 2020[8] |
| Surface water | 2.8 | 6.9 | 150KDa | 60 | Tang et al., 2020[9] |
| Surface water | 3.5 | 7.8 | 150KDa | 60 | Shao et al., 2019[10] |

S3.	Additional information for the properties of micropollutants.

Table S2. Characteristics of micropollutants.

| Micropollutants | Molecular structure | MW a (Da) | Electrical nature | Water solubility | Log Kow |
| --- | --- | --- | --- | --- | --- |
| Diclofenac |  | 296.15 | Negative | Slightly soluble | 4.5 |
| Carbamazepine |  | 236.27 | Neutral | Pract. insoluble | 2.45 |
| Acetamidophenol |  | 151.16 | Neutral | 14 g·L-1 (20 ºC) | 0.46 |
| Bisphenol A |  | 228.29 | Neutral | Insoluble | 3.4 |

S4.	The relevant information for the GDM in the study.

The normalization of flux at different temperatures was achieved through the following formula, and the corresponding hydraulic resistance was calculated.

JS=Jmµmµs              (R1)

Rtotal=TMPµs×JS       (R2)

Where Jm: flux at measured temperature, L/m2 ∙h

JS : flux at standard temperature (20℃), L/m2 ∙h

µm: dynamic viscosity of water at measured temperature, kg/m∙s

µs : dynamic viscosity of water at standard temperature (20℃), kg/m∙s

Rtotal: Total hydraulic resistance, m-1

TMP: Transmembrane pressure, pa

Table S3. The effect of different temperatures on the permeate flux and fouling resistance.

| Time (d) | T (℃) | µ | Permeate flux (L m-2h-1) |  | Fouling resistance (×1012 m-1) |  | Permeate flux (L m-2h-1) (20℃) |  | Fouling resistance (×1012 m-1) (20℃) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | BF-GDM | GDM | BF-GDM | GDM | BF-GDM | GDM | BF-GDM | GDM |
| 1 | 20 | 0.00099 | 39.48 | 48.76 | 0.55 | 0.45 | 39.48 | 48.76 | 0.55 | 0.45 |
| 2 | 19 | 0.00103 | 32.12 | 32.93 | 0.65 | 0.64 | 33.42 | 34.26 | 0.65 | 0.64 |
| 3 | 20 | 0.00099 | 19.84 | 23.17 | 1.10 | 0.94 | 19.84 | 23.17 | 1.10 | 0.94 |
| 4 | 20 | 0.00099 | 13.22 | 15.46 | 1.65 | 1.41 | 13.22 | 15.46 | 1.65 | 1.41 |
| 5 | 22 | 0.00096 | 12.40 | 13.76 | 1.82 | 1.64 | 12.02 | 13.34 | 1.81 | 1.64 |
| 6 | 19 | 0.00103 | 11.82 | 8.48 | 1.77 | 2.47 | 12.30 | 8.82 | 1.77 | 2.47 |
| 7 | 19 | 0.00103 | 9.47 | 6.29 | 2.21 | 3.33 | 9.85 | 6.54 | 2.21 | 3.33 |
| 8 | 19 | 0.00103 | 8.14 | 5.33 | 2.58 | 3.93 | 8.47 | 5.55 | 2.58 | 3.93 |
| 9 | 19 | 0.00103 | 7.24 | 4.81 | 2.90 | 4.36 | 7.53 | 5.00 | 2.90 | 4.36 |
| 10 | 20 | 0.00099 | 6.86 | 4.37 | 3.18 | 4.99 | 6.86 | 4.37 | 3.18 | 4.99 |
| 11 | 20 | 0.00099 | 6.39 | 4.04 | 3.41 | 5.40 | 6.39 | 4.04 | 3.41 | 5.40 |
| 12 | 19 | 0.00103 | 6.02 | 4.02 | 3.49 | 5.21 | 6.26 | 4.18 | 3.48 | 5.22 |
| 13 | 19 | 0.00103 | 5.97 | 4.06 | 3.43 | 5.17 | 6.21 | 4.22 | 3.51 | 5.17 |
| 14 | 19 | 0.00103 | 5.77 | 3.99 | 3.46 | 5.25 | 6.00 | 4.15 | 3.63 | 5.26 |
| 15 | 19 | 0.00103 | 5.59 | 3.80 | 3.66 | 5.51 | 5.82 | 3.95 | 3.75 | 5.52 |
| 16 | 19 | 0.00103 | 5.71 | 3.67 | 3.68 | 5.71 | 5.94 | 3.82 | 3.67 | 5.71 |
| 17 | 19 | 0.00103 | 5.39 | 3.63 | 3.79 | 5.77 | 5.61 | 3.78 | 3.89 | 5.78 |
| 18 | 19 | 0.00103 | 5.49 | 3.40 | 3.73 | 6.16 | 5.71 | 3.54 | 3.82 | 6.17 |
| 19 | 19 | 0.00103 | 5.64 | 3.41 | 3.72 | 6.15 | 5.87 | 3.55 | 3.72 | 6.15 |
| 20 | 19 | 0.00103 | 5.43 | 3.30 | 3.77 | 6.36 | 5.65 | 3.43 | 3.86 | 6.35 |
| 21 | 19 | 0.00103 | 5.56 | 3.33 | 3.68 | 6.29 | 5.78 | 3.46 | 3.77 | 6.30 |
| 22 | 19 | 0.00103 | 5.48 | 3.18 | 3.82 | 6.60 | 5.70 | 3.31 | 3.83 | 6.59 |
| 23 | 19 | 0.00103 | 5.57 | 3.10 | 3.68 | 6.77 | 5.80 | 3.23 | 3.76 | 6.76 |
| 24 | 19 | 0.00103 | 5.48 | 3.02 | 3.83 | 6.95 | 5.70 | 3.14 | 3.83 | 6.94 |
| 25 | 20 | 0.00099 | 5.62 | 3.08 | 3.88 | 7.08 | 5.62 | 3.08 | 3.88 | 7.08 |
| 26 | 20 | 0.00099 | 5.70 | 3.10 | 3.82 | 7.05 | 5.70 | 3.10 | 3.83 | 7.04 |
| 27 | 20 | 0.00099 | 6.00 | 3.02 | 3.64 | 7.22 | 6.00 | 3.02 | 3.64 | 7.22 |
| 28 | 20 | 0.00099 | 6.13 | 3.00 | 3.56 | 7.26 | 6.13 | 3.00 | 3.56 | 7.27 |
| 29 | 20 | 0.00099 | 6.20 | 3.04 | 3.52 | 7.18 | 6.20 | 3.04 | 3.52 | 7.18 |
| 30 | 19 | 0.00103 | 6.16 | 3.00 | 3.32 | 6.98 | 6.41 | 3.12 | 3.40 | 6.99 |
| 31 | 20 | 0.00099 | 6.14 | 3.03 | 3.55 | 7.20 | 6.14 | 3.03 | 3.55 | 7.20 |
| 32 | 20 | 0.00099 | 6.14 | 3.05 | 3.55 | 7.15 | 6.14 | 3.05 | 3.55 | 7.15 |
| 33 | 20 | 0.00099 | 6.32 | 3.13 | 3.45 | 6.97 | 6.32 | 3.13 | 3.45 | 6.97 |
| 34 | 20 | 0.00099 | 6.47 | 3.21 | 3.37 | 6.79 | 6.47 | 3.21 | 3.37 | 6.80 |
| 35 | 19 | 0.00103 | 6.28 | 3.10 | 3.18 | 6.77 | 6.53 | 3.23 | 3.34 | 6.76 |
| 36 | 19 | 0.00103 | 6.08 | 3.05 | 3.28 | 6.88 | 6.33 | 3.17 | 3.45 | 6.88 |
| 37 | 19 | 0.00103 | 6.26 | 3.06 | 3.19 | 6.86 | 6.51 | 3.18 | 3.35 | 6.85 |
| 38 | 19 | 0.00103 | 6.37 | 3.14 | 3.13 | 6.68 | 6.63 | 3.27 | 3.29 | 6.68 |
| 39 | 19 | 0.00103 | 6.50 | 3.25 | 3.07 | 6.46 | 6.76 | 3.38 | 3.23 | 6.45 |
| 40 | 19 | 0.00103 | 6.33 | 3.18 | 3.15 | 6.60 | 6.59 | 3.31 | 3.31 | 6.59 |
| 41 | 19 | 0.00103 | 6.46 | 3.27 | 3.09 | 6.42 | 6.72 | 3.40 | 3.25 | 6.41 |
| 42 | 20 | 0.00099 | 6.42 | 3.24 | 3.19 | 6.74 | 6.42 | 3.24 | 3.40 | 6.73 |
| 43 | 20 | 0.00099 | 6.59 | 3.25 | 3.11 | 6.71 | 6.59 | 3.25 | 3.31 | 6.71 |
| 44 | 20 | 0.00099 | 6.55 | 3.25 | 3.12 | 6.71 | 6.55 | 3.25 | 3.33 | 6.71 |
| 45 | 20 | 0.00099 | 6.82 | 3.30 | 3.20 | 6.62 | 6.82 | 3.30 | 3.20 | 6.61 |
| 46 | 20 | 0.00099 | 6.62 | 3.13 | 3.01 | 6.96 | 6.62 | 3.13 | 3.30 | 6.97 |
| 47 | 20 | 0.00099 | 6.73 | 3.21 | 3.24 | 6.80 | 6.73 | 3.21 | 3.24 | 6.80 |
| 48 | 20 | 0.00099 | 6.90 | 3.26 | 3.17 | 6.70 | 6.90 | 3.26 | 3.16 | 6.69 |
| 49 | 22 | 0.00096 | 6.85 | 3.21 | 3.29 | 7.01 | 6.64 | 3.11 | 3.28 | 7.01 |
| 50 | 23 | 0.00094 | 7.01 | 3.28 | 3.29 | 7.03 | 6.66 | 3.11 | 3.28 | 7.01 |
| 51 | 23 | 0.00094 | 7.24 | 3.37 | 3.19 | 6.85 | 6.87 | 3.20 | 3.17 | 6.82 |
| 52 | 21 | 0.00098 | 7.46 | 3.39 | 2.95 | 6.49 | 7.38 | 3.36 | 2.95 | 6.50 |
| 53 | 22 | 0.00096 | 7.25 | 3.34 | 3.11 | 6.74 | 7.03 | 3.24 | 3.10 | 6.74 |
| 54 | 20 | 0.00099 | 7.17 | 3.24 | 3.04 | 6.73 | 7.17 | 3.24 | 3.04 | 6.73 |
| 55 | 20 | 0.00099 | 7.28 | 3.22 | 3.00 | 6.78 | 7.28 | 3.22 | 3.00 | 6.78 |
| 56 | 20 | 0.00099 | 6.85 | 3.04 | 3.06 | 7.19 | 6.85 | 3.04 | 3.19 | 7.18 |
| 57 | 20 | 0.00099 | 7.00 | 3.11 | 3.12 | 7.02 | 7.00 | 3.11 | 3.12 | 7.02 |
| 58 | 21 | 0.00098 | 6.98 | 3.07 | 3.16 | 7.17 | 6.91 | 3.04 | 3.16 | 7.18 |
| 59 | 21 | 0.00098 | 6.97 | 3.14 | 3.16 | 7.02 | 6.90 | 3.11 | 3.16 | 7.02 |
| 60 | 22 | 0.00096 | 7.18 | 3.22 | 3.14 | 7.01 | 6.96 | 3.12 | 3.13 | 6.99 |
| 61 | 21 | 0.00098 | 7.00 | 3.17 | 3.17 | 6.94 | 6.93 | 3.14 | 3.15 | 6.95 |
| 62 | 21 | 0.00098 | 7.18 | 3.20 | 3.07 | 6.88 | 7.11 | 3.17 | 3.07 | 6.89 |
| 63 | 23 | 0.00094 | 7.26 | 3.23 | 3.18 | 7.15 | 6.89 | 3.07 | 3.17 | 7.11 |
| 64 | 22 | 0.00096 | 7.10 | 3.12 | 3.18 | 7.23 | 6.88 | 3.03 | 3.17 | 7.21 |
| 65 | 21 | 0.00098 | 6.97 | 3.05 | 3.16 | 7.22 | 6.90 | 3.02 | 3.16 | 7.23 |
| 66 | 20 | 0.00099 | 6.94 | 3.08 | 3.14 | 7.08 | 6.94 | 3.08 | 3.14 | 7.08 |
| 67 | 21 | 0.00098 | 6.85 | 3.07 | 3.21 | 7.16 | 6.78 | 3.04 | 3.22 | 7.18 |
| 68 | 21 | 0.00098 | 6.73 | 3.05 | 3.27 | 7.23 | 6.66 | 3.02 | 3.28 | 7.23 |
| 69 | 22 | 0.00096 | 6.58 | 2.93 | 3.43 | 7.69 | 6.38 | 2.84 | 3.42 | 7.68 |
| 70 | 22 | 0.00096 | 6.59 | 2.92 | 3.42 | 7.71 | 6.39 | 2.83 | 3.41 | 7.71 |
| 71 | 22 | 0.00096 | 6.77 | 2.97 | 3.33 | 7.58 | 6.56 | 2.88 | 3.32 | 7.58 |
| 72 | 21 | 0.00098 | 6.60 | 2.87 | 3.34 | 7.67 | 6.53 | 2.84 | 3.34 | 7.68 |
| 73 | 22 | 0.00096 | 6.38 | 2.73 | 3.53 | 8.27 | 6.19 | 2.65 | 3.53 | 8.24 |
| 74 | 20 | 0.00099 | 6.23 | 2.61 | 3.50 | 8.37 | 6.23 | 2.61 | 3.50 | 8.36 |
| 75 | 21 | 0.00098 | 6.43 | 2.70 | 3.43 | 8.15 | 6.37 | 2.67 | 3.43 | 8.16 |
| 76 | 20 | 0.00099 | 6.29 | 2.62 | 3.47 | 8.31 | 6.29 | 2.62 | 3.47 | 8.33 |
| 77 | 21 | 0.00098 | 6.35 | 2.61 | 3.46 | 8.45 | 6.29 | 2.58 | 3.47 | 8.44 |
| 78 | 21 | 0.00098 | 6.41 | 2.58 | 3.43 | 8.52 | 6.35 | 2.55 | 3.44 | 8.54 |
| 79 | 22 | 0.00096 | 6.56 | 2.61 | 3.44 | 8.63 | 6.36 | 2.53 | 3.43 | 8.62 |
| 80 | 23 | 0.00094 | 6.59 | 2.61 | 3.50 | 8.85 | 6.26 | 2.48 | 3.49 | 8.80 |
| 81 | 23 | 0.00094 | 6.70 | 2.62 | 3.45 | 8.82 | 6.36 | 2.49 | 3.43 | 8.77 |
| 82 | 23 | 0.00094 | 6.78 | 2.62 | 3.40 | 8.82 | 6.44 | 2.49 | 3.39 | 8.77 |
| 83 | 24 | 0.00091 | 6.81 | 2.59 | 3.47 | 9.12 | 6.26 | 2.38 | 3.49 | 9.16 |
| 84 | 23 | 0.00094 | 6.74 | 2.56 | 3.42 | 9.03 | 6.40 | 2.43 | 3.41 | 8.98 |
| 85 | 22 | 0.00096 | 6.89 | 2.58 | 3.27 | 8.74 | 6.68 | 2.50 | 3.27 | 8.72 |
| 86 | 22 | 0.00096 | 6.88 | 2.55 | 3.28 | 8.84 | 6.67 | 2.47 | 3.27 | 8.82 |
| 87 | 23 | 0.00094 | 6.93 | 2.55 | 3.33 | 9.05 | 6.58 | 2.42 | 3.32 | 9.01 |
| 88 | 24 | 0.00091 | 7.10 | 2.56 | 3.33 | 9.23 | 6.53 | 2.35 | 3.34 | 9.27 |
| 89 | 23 | 0.00094 | 6.92 | 2.48 | 3.33 | 9.31 | 6.57 | 2.35 | 3.32 | 9.27 |
| 90 | 24 | 0.00091 | 6.98 | 2.49 | 3.38 | 9.48 | 6.42 | 2.29 | 3.40 | 9.53 |
| 91 | 24 | 0.00091 | 7.01 | 2.46 | 3.37 | 9.62 | 6.44 | 2.26 | 3.39 | 9.65 |
| 92 | 24 | 0.00091 | 7.11 | 2.42 | 3.32 | 9.76 | 6.54 | 2.22 | 3.34 | 9.81 |
| 93 | 23 | 0.00094 | 6.98 | 2.36 | 3.30 | 9.76 | 6.63 | 2.24 | 3.29 | 9.74 |
| 94 | 23 | 0.00094 | 6.98 | 2.43 | 3.31 | 9.51 | 6.63 | 2.31 | 3.29 | 9.46 |
| 95 | 22 | 0.00096 | 6.91 | 2.47 | 3.26 | 9.14 | 6.70 | 2.40 | 3.26 | 9.11 |
| 96 | 22 | 0.00096 | 6.82 | 2.36 | 3.31 | 9.56 | 6.61 | 2.29 | 3.30 | 9.53 |
| 97 | 23 | 0.00094 | 7.03 | 2.26 | 3.28 | 10.23 | 6.67 | 2.15 | 3.27 | 10.17 |
| 98 | 24 | 0.00091 | 7.18 | 2.30 | 3.29 | 10.29 | 6.60 | 2.11 | 3.31 | 10.32 |
| 99 | 24 | 0.00091 | 7.34 | 2.29 | 3.22 | 10.31 | 6.75 | 2.10 | 3.23 | 10.37 |
| 100 | 23 | 0.00094 | 7.41 | 2.29 | 3.11 | 10.06 | 7.04 | 2.17 | 3.10 | 10.03 |
| 101 | 23 | 0.00094 | 7.64 | 2.30 | 3.02 | 10.05 | 7.25 | 2.18 | 3.01 | 9.99 |
| 102 | 24 | 0.00091 | 7.63 | 2.31 | 3.09 | 10.23 | 7.01 | 2.12 | 3.11 | 10.28 |
| 103 | 22 | 0.00096 | 7.65 | 2.31 | 2.95 | 9.77 | 7.42 | 2.24 | 2.94 | 9.74 |
| 104 | 24 | 0.00091 | 7.61 | 2.28 | 3.10 | 10.37 | 7.00 | 2.10 | 3.12 | 10.41 |
| 105 | 23 | 0.00094 | 7.65 | 2.31 | 3.02 | 9.97 | 7.26 | 2.19 | 3.00 | 9.95 |
| 106 | 24 | 0.00091 | 7.41 | 2.26 | 3.19 | 10.44 | 6.81 | 2.08 | 3.20 | 10.50 |
| 107 | 23 | 0.00094 | 7.40 | 2.28 | 3.12 | 10.15 | 7.03 | 2.16 | 3.11 | 10.08 |
| 108 | 22 | 0.00096 | 7.34 | 2.30 | 3.07 | 9.82 | 7.12 | 2.23 | 3.07 | 9.78 |
| 109 | 22 | 0.00096 | 7.50 | 2.31 | 3.01 | 9.76 | 7.27 | 2.24 | 3.00 | 9.74 |
| 110 | 22 | 0.00096 | 7.58 | 2.30 | 2.98 | 9.78 | 7.35 | 2.23 | 2.97 | 9.78 |
| 111 | 22 | 0.00096 | 7.65 | 2.34 | 2.95 | 9.62 | 7.42 | 2.27 | 2.94 | 9.62 |
| 112 | 22 | 0.00096 | 7.59 | 2.34 | 2.97 | 9.63 | 7.36 | 2.27 | 2.96 | 9.62 |
| 113 | 23 | 0.00094 | 7.63 | 2.35 | 3.02 | 9.82 | 7.24 | 2.23 | 3.01 | 9.78 |
| 114 | 22 | 0.00096 | 7.28 | 2.27 | 3.10 | 9.91 | 7.06 | 2.20 | 3.09 | 9.91 |
| 115 | 22 | 0.00096 | 7.48 | 2.32 | 3.02 | 9.73 | 7.25 | 2.25 | 3.01 | 9.70 |
| 116 | 22 | 0.00096 | 7.52 | 2.35 | 3.00 | 9.60 | 7.29 | 2.28 | 2.99 | 9.57 |
| 117 | 21 | 0.00098 | 7.46 | 2.39 | 2.95 | 9.22 | 7.38 | 2.37 | 2.95 | 9.22 |
| 118 | 23 | 0.00094 | 7.47 | 2.46 | 3.09 | 9.39 | 7.09 | 2.34 | 3.08 | 9.34 |
| 119 | 22 | 0.00096 | 7.43 | 2.54 | 3.04 | 8.89 | 7.20 | 2.46 | 3.03 | 8.86 |
| 120 | 21 | 0.00098 | 7.47 | 2.56 | 2.95 | 8.60 | 7.39 | 2.53 | 2.95 | 8.61 |
| 121 | 23 | 0.00094 | 7.57 | 2.51 | 3.05 | 9.21 | 7.19 | 2.38 | 3.04 | 9.15 |
| 122 | 24 | 0.00091 | 7.74 | 2.75 | 3.05 | 8.58 | 7.11 | 2.53 | 3.07 | 8.63 |
| 123 | 23 | 0.00094 | 7.79 | 2.86 | 2.96 | 8.07 | 7.40 | 2.72 | 2.95 | 8.03 |
| 124 | 25 | 0.00089 | 7.70 | 2.82 | 3.14 | 8.58 | 6.92 | 2.54 | 3.15 | 8.61 |
| 125 | 24 | 0.00091 | 7.77 | 2.95 | 3.04 | 8.02 | 7.14 | 2.71 | 3.05 | 8.05 |
| 126 | 23 | 0.00094 | 7.68 | 2.99 | 3.01 | 7.73 | 7.29 | 2.84 | 2.99 | 7.69 |
| 127 | 22 | 0.00096 | 7.68 | 2.90 | 2.94 | 7.77 | 7.45 | 2.81 | 2.93 | 7.76 |
| 128 | 24 | 0.00091 | 7.79 | 2.95 | 3.03 | 8.02 | 7.16 | 2.71 | 3.05 | 8.05 |
| 129 | 23 | 0.00094 | 7.91 | 2.84 | 2.92 | 8.13 | 7.51 | 2.70 | 2.91 | 8.09 |
| 130 | 22 | 0.00096 | 7.96 | 2.75 | 2.83 | 8.20 | 7.72 | 2.67 | 2.83 | 8.18 |
| 131 | 22 | 0.00096 | 7.88 | 2.89 | 2.86 | 7.81 | 7.64 | 2.80 | 2.86 | 7.79 |
| 132 | 23 | 0.00094 | 7.70 | 2.76 | 3.00 | 8.37 | 7.31 | 2.62 | 2.98 | 8.33 |
| 133 | 24 | 0.00091 | 7.81 | 2.97 | 3.02 | 7.95 | 7.18 | 2.73 | 3.04 | 7.99 |
| 134 | 23 | 0.00094 | 7.77 | 2.94 | 2.97 | 7.85 | 7.38 | 2.79 | 2.96 | 7.82 |
| 135 | 22 | 0.00096 | 7.97 | 2.85 | 2.83 | 7.91 | 7.73 | 2.76 | 2.82 | 7.89 |
| 136 | 23 | 0.00094 | 7.85 | 2.90 | 2.94 | 7.95 | 7.45 | 2.75 | 2.93 | 7.92 |
| 137 | 24 | 0.00091 | 7.73 | 2.93 | 3.06 | 8.06 | 7.11 | 2.69 | 3.07 | 8.10 |
| 138 | 25 | 0.00089 | 7.95 | 2.98 | 3.04 | 8.11 | 7.15 | 2.68 | 3.05 | 8.14 |
| 139 | 23 | 0.00094 | 7.93 | 3.01 | 2.91 | 7.66 | 7.53 | 2.86 | 2.90 | 7.63 |
| 140 | 22 | 0.00096 | 7.80 | 2.96 | 2.89 | 7.61 | 7.56 | 2.87 | 2.88 | 7.60 |
| 141 | 24 | 0.00091 | 7.90 | 2.96 | 2.99 | 7.99 | 7.26 | 2.72 | 3.00 | 8.02 |
| 142 | 23 | 0.00094 | 7.88 | 2.97 | 2.93 | 7.77 | 7.48 | 2.82 | 2.92 | 7.74 |
| 143 | 22 | 0.00096 | 7.84 | 2.86 | 2.88 | 7.87 | 7.60 | 2.77 | 2.87 | 7.87 |
| 144 | 21 | 0.00098 | 7.61 | 2.79 | 2.89 | 7.89 | 7.53 | 2.76 | 2.90 | 7.90 |
| 145 | 23 | 0.00094 | 7.26 | 2.66 | 3.18 | 8.69 | 6.89 | 2.53 | 3.17 | 8.64 |
| 146 | 21 | 0.00098 | 5.64 | 2.53 | 3.91 | 8.71 | 5.58 | 2.50 | 3.91 | 8.71 |
| 147 | 21 | 0.00098 | 4.96 | 2.42 | 4.44 | 9.12 | 4.91 | 2.40 | 4.44 | 9.11 |
| 148 | 21 | 0.00098 | 4.18 | 2.23 | 5.26 | 9.89 | 4.14 | 2.21 | 5.27 | 9.88 |
| 149 | 22 | 0.00096 | 3.72 | 2.04 | 6.06 | 11.05 | 3.61 | 1.98 | 6.05 | 11.03 |
| 150 | 21 | 0.00098 | 3.54 | 2.03 | 6.22 | 10.83 | 3.50 | 2.01 | 6.23 | 10.86 |
| 151 | 21 | 0.00098 | 3.29 | 2.09 | 6.68 | 10.55 | 3.26 | 2.07 | 6.70 | 10.55 |
| 152 | 21 | 0.00098 | 3.10 | 2.11 | 7.11 | 10.42 | 3.07 | 2.09 | 7.11 | 10.45 |
| 153 | 21 | 0.00098 | 2.97 | 2.25 | 7.41 | 9.77 | 2.94 | 2.23 | 7.42 | 9.80 |
| 154 | 21 | 0.00098 | 2.97 | 2.39 | 7.41 | 9.22 | 2.94 | 2.37 | 7.42 | 9.22 |
| 155 | 21 | 0.00098 | 3.06 | 2.53 | 7.20 | 8.69 | 3.03 | 2.50 | 7.20 | 8.71 |
| 156 | 21 | 0.00098 | 3.34 | 2.53 | 6.59 | 8.71 | 3.31 | 2.50 | 6.60 | 8.71 |
| 157 | 21 | 0.00098 | 3.60 | 2.52 | 6.12 | 8.73 | 3.56 | 2.49 | 6.12 | 8.75 |
| 158 | 21 | 0.00098 | 4.02 | 2.61 | 5.48 | 8.45 | 3.98 | 2.58 | 5.48 | 8.44 |
| 159 | 22 | 0.00096 | 4.39 | 2.74 | 5.13 | 8.22 | 4.26 | 2.66 | 5.13 | 8.21 |
| 160 | 21 | 0.00098 | 4.52 | 2.73 | 4.87 | 8.08 | 4.47 | 2.70 | 4.88 | 8.07 |
| 161 | 21 | 0.00098 | 4.80 | 2.77 | 4.58 | 7.96 | 4.75 | 2.74 | 4.59 | 7.96 |
| 162 | 21 | 0.00098 | 5.13 | 2.83 | 4.29 | 7.78 | 5.08 | 2.80 | 4.30 | 7.79 |
| 163 | 21 | 0.00098 | 5.39 | 2.85 | 4.08 | 7.72 | 5.34 | 2.82 | 4.09 | 7.73 |
| 164 | 22 | 0.00096 | 5.61 | 2.85 | 4.02 | 7.90 | 5.44 | 2.76 | 4.01 | 7.89 |
| 165 | 22 | 0.00096 | 5.82 | 2.85 | 3.87 | 7.92 | 5.64 | 2.76 | 3.87 | 7.89 |
| 166 | 22 | 0.00096 | 5.78 | 2.74 | 3.90 | 8.23 | 5.60 | 2.66 | 3.89 | 8.21 |
| 167 | 22 | 0.00096 | 5.82 | 2.70 | 3.88 | 8.35 | 5.64 | 2.62 | 3.87 | 8.33 |
| 168 | 22 | 0.00096 | 5.96 | 2.67 | 3.78 | 8.44 | 5.78 | 2.59 | 3.78 | 8.43 |
| 169 | 22 | 0.00096 | 6.01 | 2.65 | 3.75 | 8.52 | 5.83 | 2.57 | 3.74 | 8.49 |
| 170 | 22 | 0.00096 | 6.10 | 2.66 | 3.70 | 8.48 | 5.92 | 2.58 | 3.69 | 8.46 |
| 171 | 25 | 0.00089 | 6.51 | 2.71 | 3.71 | 8.91 | 5.85 | 2.44 | 3.73 | 8.96 |
| 172 | 24 | 0.00091 | 6.53 | 2.61 | 3.62 | 9.05 | 6.00 | 2.40 | 3.63 | 9.09 |
| 173 | 24 | 0.00091 | 6.77 | 2.63 | 3.49 | 8.98 | 6.22 | 2.42 | 3.51 | 9.03 |
| 174 | 23 | 0.00094 | 6.72 | 2.62 | 3.44 | 8.82 | 6.38 | 2.49 | 3.42 | 8.77 |
| 175 | 23 | 0.00094 | 6.72 | 2.56 | 3.43 | 9.00 | 6.38 | 2.43 | 3.42 | 8.98 |
| 176 | 23 | 0.00094 | 6.89 | 2.54 | 3.35 | 9.08 | 6.54 | 2.41 | 3.34 | 9.05 |
| 177 | 23 | 0.00094 | 6.86 | 2.53 | 3.37 | 9.11 | 6.51 | 2.40 | 3.35 | 9.08 |
| 178 | 23 | 0.00094 | 6.92 | 2.53 | 3.33 | 9.12 | 6.57 | 2.40 | 3.32 | 9.08 |
| 179 | 23 | 0.00094 | 7.04 | 2.42 | 3.28 | 9.54 | 6.68 | 2.30 | 3.26 | 9.50 |
| 180 | 23 | 0.00094 | 6.96 | 2.43 | 3.31 | 9.51 | 6.61 | 2.31 | 3.30 | 9.46 |
| 181 | 23 | 0.00094 | 7.05 | 2.47 | 3.27 | 9.35 | 6.69 | 2.35 | 3.26 | 9.30 |
| 182 | 23 | 0.00094 | 6.85 | 2.46 | 3.37 | 9.40 | 6.50 | 2.34 | 3.35 | 9.34 |
| 183 | 22 | 0.00096 | 6.71 | 2.48 | 3.36 | 9.08 | 6.51 | 2.40 | 3.35 | 9.07 |
| 184 | 22 | 0.00096 | 6.97 | 2.42 | 3.23 | 9.31 | 6.76 | 2.35 | 3.23 | 9.30 |
| 185 | 22 | 0.00096 | 7.17 | 2.58 | 3.14 | 8.76 | 6.95 | 2.50 | 3.14 | 8.72 |
| 186 | 22 | 0.00096 | 7.18 | 2.52 | 3.14 | 8.96 | 6.96 | 2.44 | 3.13 | 8.93 |
| 187 | 22 | 0.00096 | 6.96 | 2.45 | 3.24 | 9.20 | 6.75 | 2.38 | 3.23 | 9.18 |
| 188 | 22 | 0.00096 | 6.71 | 2.47 | 3.36 | 9.12 | 6.51 | 2.40 | 3.35 | 9.11 |

Fig. S2. Membrane performance in the control-GDM and the BF-GDM. (a) Permeate flux at different temperature; (b) permeate flux at 20℃; (c) fouling resistance at different temperature; (d) fouling resistance at 20℃.

S5. The thickness and roughness of bio-cake layer

Fig. S3. Thickness (a) and roughness (b) of the bio-cake layer during the operation of the control-GDM and BF-GDM systems. (n =10, and error bars show the standard deviation).

S6. Top-view pictures of the bio-cake layer

Fig. S4. Top-view pictures of the fouling layer after 188 days of continuous operation without flushing (a) control-GDM; (b) BF-GDM.

S7. The relative roughness of bio-cake layer

Fig. S5. The relative roughness of the bio-cake layers in control-GDM and BF-GDM systems. (n = 10, and error bars show the standard deviation).

S8. Shifts of microbial genera during filtration process

Fig. S6. The bacterial community correlation heat map of the relative abundance at genus level. The total of 15 dominant microbial genera was listed in the graphs.

In the BF-GDM reactor, functional microorganisms involved in the degradation of organic compounds were effectively enriched. As for the genus Nitrospira, the relative abundance in BF (2.78%) and BF-GDM (1.35%) was higher than that in GDM (0.71%). Nitrospira has a substantial metabolic versatility, which accelerated the degradation of NOM and improved the permeate water quality[11].

References

[1] Du P, Li X, Yang YL, Zhou ZW, Fan XY, Chang HQ, et al. Regulated-biofilms enhance the permeate flux and quality of gravity-driven membrane (GDM) by <i>in situ</i> coagulation combined with activated alumina filtration. Water Res. 2022;209.

[2] Shi DT, Zeng FX, Gong TJ, Li JY, Shao S. Iron amended gravity-driven membrane (IGDM) system for heavy-metal-containing groundwater treatment. Journal of Membrane Science. 2022;643.

[3] Li K, Xu WH, Han M, Cheng Y, Wen G, Huang TL. Integration of iron-manganese co-oxide (FMO) with gravity-driven membrane (GDM) for efficient treatment of surface water containing manganese and ammonium. Separation and Purification Technology. 2022;282.

[4] Li WH, Siddique MS, Graham N, Yu WZ. Influence of Temperature on Biofilm Formation Mechanisms Using a Gravity-Driven Membrane (GDM) System: Insights from Microbial Community Structures and Metabolomics. Environmental Science & Technology. 2022;56:8908-19.

[5] Huang YD, Cheng P, Tan FJ, Huang YJ, Li P, Xia SJ. Effect of coagulation pretreatment on the performance of gravity-driven membrane filtration with Yangtze River water. Journal of Cleaner Production. 2021;297.

[6] Tang XB, Pronk W, Traber J, Liang H, Li GB, Morgenroth E. Integrating granular activated carbon (GAC) to gravity-driven membrane (GDM) to improve its flux stabilization: Respective roles of adsorption and biodegradation by GAC. Science of the Total Environment. 2021;768.

[7] Shi DT, Liu Y, Fu WW, Li JY, Fang Z, Shao SL. A combination of membrane relaxation and shear stress significantly improve the flux of gravity-driven membrane system. Water Res. 2020;175.

[8] Du P, Li X, Yang YL, Zhou ZW, Fan XY, Feng JY. Algae-Laden Fouling Control by Gravity-Driven Membrane Ultrafiltration with Aluminum Sulfate-Chitosan: The Property of Floc and Cake Layer. Water. 2020;12.

[9] Tang XB, Xie BH, Chen R, Wang JL, Huang KJ, Zhu XW, et al. Gravity-driven membrane filtration treating manganese-contaminated surface water: Flux stabilization and removal performance. Chemical Engineering Journal. 2020;397.

[10] Shao SL, Shi DT, Li YQ, Liu Y, Lu ZY, Fang Z, et al. Effects of water temperature and light intensity on the performance of gravity-driven membrane system. Chemosphere. 2019;216:324-30.

[11] Feng JY, Li X, Li H, Yang YL. Enhanced filtration performance of biocarriers facilitated gravity-driven membrane (GDM) by vacuum ultraviolet (VUV) pretreatment: Membrane biofouling characteristics and bacterial investigation. Journal of Membrane Science. 2022;660.