Supplementary data for

Mass Spectrometry Analysis of Newly Emerging Coronavirus HCoV-19 Spike Protein and Human ACE2 Reveals Camouflaging Glycans and Unique Post-Translational Modifications

Zeyu Sun a, Keyi Ren a, Xing Zhang b, Jinghua Chen b, Zhengyi Jiang a, Jing Jiang a, Feiyang Ji a, Xiaoxi Ouyang a, Lanjuan Li a,*

a State Key Laboratory for Diagnosis and Treatment of Infectious Diseases, National Clinical Research Center for Infectious Diseases, Collaborative Innovation Center for Diagnosis and Treatment of Infectious Disease, The First Affiliated Hospital, School of Medicine, Zhejiang University, Hangzhou 310011, China

b Department of Biophysics & Center of Cryo-Electron Microscopy, Zhejiang University School of Medicine, Hangzhou 310011, China

* Corresponding author.

E-mail address: ljli@zju.edu.cn (L. Li)

Fig. S1. Example mass spectra showing the identification of intact glycopeptide containing 343N glycan in S protein (A) and 103N glycan in hACE2 (B).

Fig. S2. Binding model of HCoV-19 S-protein (olive) in complexed with hACE2 (cyan) showing the backbond amino acids (A) and complex surface (B). The relevant residues in the binding site were presented in red. Methylated residues were presented in green.

Table S1

Chromatography parameters for NanoLC-MSMS analysis.

| Column dimension | Loading: Acclaim PepMap 100 reversed-phase pre-column (164535, Thermo Scientific), 20 mm × 75 μm, 5 μm |
| --- | --- |
|  | Analyzing: Acclaim PepMap 100 reversed-phase column (164941, Thermo Scientific), 250 mm × 75 μm, 2 μm |
| Mobile Phase A | 2% ACN, 0.1% FA |
| Mobile Phase B | 98% ACN, 0.1% FA |
| Flow rate | 400 nL∙min−1 |
| Total LC time | 120 min |
| Gradient | 0–6 min: 3% B; 6–7 min: 3%–5% B; 7–70 min: 5%–18% B; 70–90 min: 18%–32% B; 90–100 min: 32%–80% B; 100–110 min: 80% B; 110–120 min: 80%–3% B. |

Table S2

Mass spectrometry parameters for LC-MS analysis

|  | Peptide analysis | Glycopeptide analysis |
| --- | --- | --- |
| Electrospray voltage | 2.2 kV |  |
| Total run time | 120 min |  |
| MS1 resolution | 120000 |  |
| MS1 AGC | 1E6 | 3E6 |
| MS1 MIT | 60 ms | 120 ms |
| MS1 range | 350–1800 Th | 800–2300 Th |
| MS2 resolution | 15000 |  |
| MS2 AGC | 1E5 | 5E5 |
| MS2 MIT | 60 ms | 250 ms |
| TopN | 20 |  |
| Isolation window | 1 Th | 2 Th |
| NCE | 27 | 21,28,38 |
| Min AGC target | 1E3 |  |
| Charge exclusion | 1, >7, unknown |  |
| Peptide match | Preferred |  |
| Dynamic Exclusion | 30 s |  |

Table S3

Summary of BLI affinity assay.

|  | ACE2 binds to S | ACE2 binds to deglyco- S | S binds to ACE2 | S bind to deglyco-ACE2 |
| --- | --- | --- | --- | --- |
| Conc. (nM) | Response equilibrium (nm) |  |  |  |
| 200 | 0.4764 | 0.4602 | 0.3306 | 0.4086 |
| 100 | 0.4624 | 0.4663 | 0.2237 | 0.2579 |
| 50 | 0.5147 | 0.4809 | 0.1408 | 0.179 |
| 25 | 0.5412 | 0.5208 | 0.1003 | 0.1251 |
| 12.5 | 0.5352 | 0.4861 | 0.0599 | 0.0866 |
| 6.25 | 0.5378 | 0.485 | 0.036 | 0.0505 |
| Kinetics summary |  |  |  |  |
| KD (M) | 1.77E-09 | 1.50E-09 | 1.82E-08 | 1.67E-08 |
| kon(1/Ms) | 1.04E+05 | 9.00E+04 | 1.12E+05 | 1.49E+05 |
| kdis(1/s) | 1.85E-04 | 1.35E-04 | 2.03E-03 | 2.49E-03 |
| Full R^2 | 0.999 | 0.9986 | 0.9826 | 0.9772 |